## EPlus-ExtSolRad
EnergyPlus Results for ASHRAE 1052RP Analytical Test ExtSolRad
South oriented opaque surface exposed to solar radiation
Date | Time | Outdoor Dry Bulb Temperature | Environment:Diffuse Solar [W/m2](TimeStep) | Environment:Direct Solar [W/m2](TimeStep) | Environment:Ground Reflected Solar [W/m2](TimeStep) | ZONE ONE:Zone/Sys Sensible Heating Energy[J](TimeStep) | ZONE ONE:Zone/Sys Sensible Cooling Energy[J](TimeStep) | ZONE ONE:Mean Air Temperature[C](TimeStep) | ZONE ONE:Zone Transmitted Solar[W](TimeStep) | EnergyPlus-ZONE SURFACE SOUTH:Surface Inside Temperature[C](TimeStep) | EnergyPlus-ZONE SURFACE SOUTH:Surface Outside Temperature[C](TimeStep) | ZONE SURFACE SOUTH:Surface Int Convection Coeff[W/m2-K](TimeStep) | ZONE SURFACE SOUTH:Surface Ext Convection Coeff[W/m2-K](TimeStep) | EnergyPlus-ZONE SURFACE SOUTH:Surface Ext Solar Incident[W/m2](TimeStep) | EnergyPlus-ZONE ONE:Zone/Sys Sensible Cooling Energy[W/m2](TimeStep)
2001-08-21 | 6:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:20 | 20 | 0 | 23 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:30 | 20 | 0 | 120 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:40 | 20 | 0 | 233 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:50 | 20 | 0 | 332 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:00 | 20 | 0 | 415 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:10 | 20 | 0 | 487 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:20 | 20 | 0 | 543 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:30 | 20 | 0 | 592 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:40 | 20 | 0 | 633 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:50 | 20 | 0 | 666 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 8:00 | 20 | 0 | 696 | 0 | 0 | 1135.6269 | 20 | 0 | 20.0684 | 20.1273 | 3.076 | 10.22 | 3.7977 | 0.2103
2001-08-21 | 8:10 | 20 | 0 | 722 | 0 | 0 | 6031.5739 | 20 | 0 | 20.3631 | 20.6676 | 3.076 | 10.22 | 19.9076 | 1.117
2001-08-21 | 8:20 | 20 | 0 | 744 | 0 | 0 | 11150.6422 | 20 | 0 | 20.6713 | 21.2311 | 3.076 | 10.22 | 36.6776 | 2.0649
2001-08-21 | 8:30 | 20 | 0 | 763 | 0 | 0 | 16396.6291 | 20 | 0 | 20.9871 | 21.8085 | 3.076 | 10.22 | 53.8604 | 3.0364
2001-08-21 | 8:40 | 20 | 0 | 780 | 0 | 0 | 21721.3342 | 20 | 0 | 21.3077 | 22.3945 | 3.076 | 10.22 | 71.2994 | 4.0225
2001-08-21 | 8:50 | 20 | 0 | 796 | 0 | 0 | 27103.4739 | 20 | 0 | 21.6317 | 22.9869 | 3.076 | 10.22 | 88.9258 | 5.0192
2001-08-21 | 9:00 | 20 | 0 | 809 | 0 | 0 | 32427.9751 | 20 | 0 | 21.9523 | 23.5728 | 3.076 | 10.22 | 106.3597 | 6.0052
2001-08-21 | 9:10 | 20 | 0 | 821 | 0 | 0 | 37715.2464 | 20 | 0 | 22.2706 | 24.1546 | 3.076 | 10.22 | 123.6725 | 6.9843
2001-08-21 | 9:20 | 20 | 0 | 832 | 0 | 0 | 42932.5071 | 20 | 0 | 22.5847 | 24.7287 | 3.076 | 10.22 | 140.7549 | 7.9505
2001-08-21 | 9:30 | 20 | 0 | 841 | 0 | 0 | 47990.8175 | 20 | 0 | 22.8892 | 25.2852 | 3.076 | 10.22 | 157.3139 | 8.8872
2001-08-21 | 9:40 | 20 | 0 | 850 | 0 | 0 | 52966.2827 | 20 | 0 | 23.1887 | 25.8326 | 3.076 | 10.22 | 173.6041 | 9.8086
2001-08-21 | 9:50 | 20 | 0 | 858 | 0 | 0 | 57778.7272 | 20 | 0 | 23.4785 | 26.3621 | 3.076 | 10.22 | 189.3579 | 10.6998
2001-08-21 | 10:00 | 20 | 0 | 864 | 0 | 0 | 62327.4732 | 20 | 0 | 23.7523 | 26.8625 | 3.076 | 10.22 | 204.245 | 11.5421
2001-08-21 | 10:10 | 20 | 0 | 871 | 0 | 0 | 66799.087 | 20 | 0 | 24.0215 | 27.3545 | 3.076 | 10.22 | 218.8855 | 12.3702
2001-08-21 | 10:20 | 20 | 0 | 876 | 0 | 0 | 70941.7199 | 20 | 0 | 24.2709 | 27.8116 | 3.076 | 10.22 | 232.4864 | 13.1374
2001-08-21 | 10:30 | 20 | 0 | 882 | 0 | 0 | 74997.3633 | 20 | 0 | 24.5151 | 28.2578 | 3.076 | 10.22 | 245.7633 | 13.8884
2001-08-21 | 10:40 | 20 | 0 | 886 | 0 | 0 | 78691.6465 | 20 | 0 | 24.7375 | 28.664 | 3.076 | 10.22 | 257.8452 | 14.5725
2001-08-21 | 10:50 | 20 | 0 | 890 | 0 | 0 | 82171.5729 | 20 | 0 | 24.947 | 29.0467 | 3.076 | 10.22 | 269.2315 | 15.217
2001-08-21 | 11:00 | 20 | 0 | 894 | 0 | 0 | 85429.9461 | 20 | 0 | 25.1432 | 29.405 | 3.076 | 10.22 | 279.892 | 15.8204
2001-08-21 | 11:10 | 20 | 0 | 897 | 0 | 0 | 88360.64 | 20 | 0 | 25.3196 | 29.7271 | 3.076 | 10.22 | 289.4749 | 16.3631
2001-08-21 | 11:20 | 20 | 0 | 900 | 0 | 0 | 91045.9425 | 20 | 0 | 25.4813 | 30.0223 | 3.076 | 10.22 | 298.2578 | 16.8604
2001-08-21 | 11:30 | 20 | 0 | 902 | 0 | 0 | 93377.631 | 20 | 0 | 25.6216 | 30.2785 | 3.076 | 10.22 | 305.878 | 17.2922
2001-08-21 | 11:40 | 20 | 0 | 904 | 0 | 0 | 95445.8107 | 20 | 0 | 25.7461 | 30.5058 | 3.076 | 10.22 | 312.6393 | 17.6752
2001-08-21 | 11:50 | 20 | 0 | 906 | 0 | 0 | 97246.3805 | 20 | 0 | 25.8545 | 30.7037 | 3.076 | 10.22 | 318.524 | 18.0086
2001-08-21 | 12:00 | 20 | 0 | 907 | 0 | 0 | 98655.8848 | 20 | 0 | 25.9394 | 30.8596 | 3.076 | 10.22 | 323.1601 | 18.2696
2001-08-21 | 12:10 | 20 | 0 | 908 | 0 | 0 | 99798.1893 | 20 | 0 | 26.0082 | 30.9847 | 3.076 | 10.22 | 326.882 | 18.4811
2001-08-21 | 12:20 | 20 | 0 | 909 | 0 | 0 | 100658.733 | 20 | 0 | 26.06 | 31.0788 | 3.076 | 10.22 | 329.6805 | 18.6405
2001-08-21 | 12:30 | 20 | 0 | 910 | 0 | 0 | 101224.1244 | 20 | 0 | 26.094 | 31.1417 | 3.076 | 10.22 | 331.5478 | 18.7452
2001-08-21 | 12:40 | 20 | 0 | 910 | 0 | 0 | 101403.595 | 20 | 0 | 26.1048 | 31.1608 | 3.076 | 10.22 | 332.1128 | 18.7784
2001-08-21 | 12:50 | 20 | 0 | 910 | 0 | 0 | 101323.3314 | 20 | 0 | 26.1 | 31.1482 | 3.076 | 10.22 | 331.7374 | 18.7636
2001-08-21 | 13:00 | 20 | 0 | 909 | 0 | 0 | 100813.2027 | 20 | 0 | 26.0693 | 31.092 | 3.076 | 10.22 | 330.059 | 18.6691
2001-08-21 | 13:10 | 20 | 0 | 908 | 0 | 0 | 100012.1283 | 20 | 0 | 26.021 | 31.0043 | 3.076 | 10.22 | 327.4483 | 18.5208
2001-08-21 | 13:20 | 20 | 0 | 907 | 0 | 0 | 98938.1955 | 20 | 0 | 25.9564 | 30.8856 | 3.076 | 10.22 | 323.9125 | 18.3219
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 0 | 97584.674 | 20 | 0 | 25.8749 | 30.736 | 3.076 | 10.22 | 319.4609 | 18.0712
2001-08-21 | 13:40 | 20 | 0 | 904 | 0 | 0 | 95850.9151 | 20 | 0 | 25.7705 | 30.5445 | 3.076 | 10.22 | 313.7571 | 17.7502
2001-08-21 | 13:50 | 20 | 0 | 902 | 0 | 0 | 93830.3154 | 20 | 0 | 25.6489 | 30.3233 | 3.076 | 10.22 | 307.1739 | 17.376
2001-08-21 | 14:00 | 20 | 0 | 900 | 0 | 0 | 91559.9619 | 20 | 0 | 25.5122 | 30.0732 | 3.076 | 10.22 | 299.7284 | 16.9555
2001-08-21 | 14:10 | 20 | 0 | 897 | 0 | 0 | 88934.2493 | 20 | 0 | 25.3541 | 29.7838 | 3.076 | 10.22 | 291.1149 | 16.4693
2001-08-21 | 14:20 | 20 | 0 | 894 | 0 | 0 | 86061.4972 | 20 | 0 | 25.1812 | 29.4674 | 3.076 | 10.22 | 281.6971 | 15.9373
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 0 | 82950.5433 | 20 | 0 | 24.9939 | 29.1248 | 3.076 | 10.22 | 271.4996 | 15.3612
2001-08-21 | 14:40 | 20 | 0 | 887 | 0 | 0 | 79520.8965 | 20 | 0 | 24.7874 | 28.747 | 3.076 | 10.22 | 260.2551 | 14.7261
2001-08-21 | 14:50 | 20 | 0 | 882 | 0 | 0 | 75790.773 | 20 | 0 | 24.5628 | 28.3362 | 3.076 | 10.22 | 248.0274 | 14.0353
2001-08-21 | 15:00 | 20 | 0 | 877 | 0 | 0 | 71862.455 | 20 | 0 | 24.3263 | 27.9036 | 3.076 | 10.22 | 235.1551 | 13.3079
2001-08-21 | 15:10 | 20 | 0 | 872 | 0 | 0 | 67747.7664 | 20 | 0 | 24.0786 | 27.4506 | 3.076 | 10.22 | 221.673 | 12.5459
2001-08-21 | 15:20 | 20 | 0 | 865 | 0 | 0 | 63298.4413 | 20 | 0 | 23.8108 | 26.9622 | 3.076 | 10.22 | 207.1379 | 11.7219
2001-08-21 | 15:30 | 20 | 0 | 858 | 0 | 0 | 58715.9215 | 20 | 0 | 23.5349 | 26.4578 | 3.076 | 10.22 | 192.1274 | 10.8733
2001-08-21 | 15:40 | 20 | 0 | 851 | 0 | 0 | 54000.9577 | 20 | 0 | 23.251 | 25.9389 | 3.076 | 10.22 | 176.6833 | 10.0002
2001-08-21 | 15:50 | 20 | 0 | 843 | 0 | 0 | 49108.7534 | 20 | 0 | 22.9565 | 25.4004 | 3.076 | 10.22 | 160.6575 | 9.0942
2001-08-21 | 16:00 | 20 | 0 | 833 | 0 | 0 | 44015.5734 | 20 | 0 | 22.6499 | 24.8397 | 3.076 | 10.22 | 143.9727 | 8.151
2001-08-21 | 16:10 | 20 | 0 | 822 | 0 | 0 | 38814.8354 | 20 | 0 | 22.3368 | 24.2673 | 3.076 | 10.22 | 126.9388 | 7.1879
2001-08-21 | 16:20 | 20 | 0 | 811 | 0 | 0 | 33580.3416 | 20 | 0 | 22.0216 | 23.6913 | 3.076 | 10.22 | 109.7966 | 6.2186
2001-08-21 | 16:30 | 20 | 0 | 797 | 0 | 0 | 28222.8783 | 20 | 0 | 21.6991 | 23.1016 | 3.076 | 10.22 | 92.249 | 5.2265
2001-08-21 | 16:40 | 20 | 0 | 783 | 0 | 0 | 22898.1145 | 20 | 0 | 21.3785 | 22.5157 | 3.076 | 10.22 | 74.8133 | 4.2404
2001-08-21 | 16:50 | 20 | 0 | 765 | 0 | 0 | 17533.0877 | 20 | 0 | 21.0555 | 21.9252 | 3.076 | 10.22 | 57.2435 | 3.2469
2001-08-21 | 17:00 | 20 | 0 | 746 | 0 | 0 | 12268.2974 | 20 | 0 | 20.7386 | 21.3459 | 3.076 | 10.22 | 40.0064 | 2.2719
2001-08-21 | 17:10 | 20 | 0 | 725 | 0 | 0 | 7131.8261 | 20 | 0 | 20.4294 | 20.7808 | 3.076 | 10.22 | 23.1904 | 1.3207
2001-08-21 | 17:20 | 20 | 0 | 700 | 0 | 0 | 2174.3417 | 20 | 0 | 20.1309 | 20.2354 | 3.076 | 10.22 | 6.9622 | 0.40266
2001-08-21 | 17:30 | 20 | 0 | 670 | 0 | 0 | 28.0446 | 20 | 0 | 20.0017 | 20.0006 | 3.076 | 10.22 | 0 | 0.0051934
2001-08-21 | 17:40 | 20 | 0 | 636 | 0 | 0 | 11.9302 | 20 | 0 | 20.0007 | 20 | 3.076 | 10.22 | 0 | 0.0022093
2001-08-21 | 17:50 | 20 | 0 | 598 | 0 | 0 | 5.0638 | 20 | 0 | 20.0003 | 20 | 3.076 | 10.22 | 0 | 0.00093775
2001-08-21 | 18:00 | 20 | 0 | 550 | 0 | 0 | 2.1434 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.00039693
2001-08-21 | 18:10 | 20 | 0 | 493 | 0 | 0 | 0.90131 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.00016691
2001-08-21 | 18:20 | 20 | 0 | 426 | 0 | 0 | 0.37301 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 6.9076e-05
2001-08-21 | 18:30 | 20 | 0 | 341 | 0 | 0 | 0.14831 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 2.7465e-05
2001-08-21 | 18:40 | 20 | 0 | 243 | 0 | 0 | 0.052738 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 9.7662e-06
2001-08-21 | 18:50 | 20 | 0 | 131 | 0 | 0 | 0.012086 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 2.2382e-06
2001-08-21 | 19:00 | 20 | 0 | 34 | 0 | 0.0052054 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:10 | 20 | 0 | 0 | 0 | 0.012561 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 0 | 0 | 0.01569 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 0 | 0 | 0.017021 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0 | 0.017588 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0 | 0.017829 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0 | 0.017932 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0 | 0.017975 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0 | 0.017994 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0 | 0.018002 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0 | 0.018005 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
[9 empty] | Average for cooling hours |  |  | 3.076 | 10.22

## ASHRAE-ExtSolRad
ASHRAE 1052RP Toolkit Test ExtSolRad
Data taken from D:\ASHRAE 1052RP OUTPUTS
Time | ASHRAE 1052RP Ts_in | ASHRAE 1052RP Ts_out | H_in | H_out | ASHRAE 1052RP Solar_flux | ASHRAE 1052RP Flux_in | Flux_out | Load
6:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
8:00 | 20.1232 | 20.2252 | 3.076 | 10.22 | 6.7023 | 0.379 | 0.379 | 3.4112
8:10 | 20.419 | 20.7658 | 3.076 | 10.22 | 22.7881 | 1.2887 | 1.2887 | 11.5983
8:20 | 20.7209 | 21.3178 | 3.076 | 10.22 | 39.2142 | 2.2176 | 2.2176 | 19.9585
8:30 | 21.0447 | 21.9097 | 3.076 | 10.22 | 56.8256 | 3.2136 | 3.2136 | 28.9221
8:40 | 21.3649 | 22.4949 | 3.076 | 10.22 | 74.2398 | 4.1984 | 4.1984 | 37.7853
8:50 | 21.6767 | 23.0648 | 3.076 | 10.22 | 91.1987 | 5.1574 | 5.1574 | 46.4167
9:00 | 22.0189 | 23.6903 | 3.076 | 10.22 | 109.8119 | 6.21 | 6.21 | 55.8901
9:10 | 22.3232 | 24.2466 | 3.076 | 10.22 | 126.365 | 7.1461 | 7.1461 | 64.315
9:20 | 22.6502 | 24.8444 | 3.076 | 10.22 | 144.1547 | 8.1521 | 8.1521 | 73.3692
9:30 | 22.9543 | 25.4001 | 3.076 | 10.22 | 160.6917 | 9.0873 | 9.0873 | 81.786
9:40 | 23.2514 | 25.9433 | 3.076 | 10.22 | 176.854 | 10.0013 | 10.0013 | 90.0119
9:50 | 23.5372 | 26.4657 | 3.076 | 10.22 | 192.3992 | 10.8804 | 10.8804 | 97.9238
10:00 | 23.8129 | 26.9696 | 3.076 | 10.22 | 207.3946 | 11.7284 | 11.7284 | 105.5559
10:10 | 24.0801 | 27.4581 | 3.076 | 10.22 | 221.9318 | 12.5505 | 12.5505 | 112.9548
10:20 | 24.3368 | 27.9273 | 3.076 | 10.22 | 235.8934 | 13.3401 | 13.3401 | 120.0607
10:30 | 24.5728 | 28.3587 | 3.076 | 10.22 | 248.7289 | 14.0659 | 14.0659 | 126.5935
10:40 | 24.8124 | 28.7965 | 3.076 | 10.22 | 261.7586 | 14.8028 | 14.8028 | 133.2251
10:50 | 25.0113 | 29.1603 | 3.076 | 10.22 | 272.582 | 15.4149 | 15.4149 | 138.7338
11:00 | 25.2168 | 29.5358 | 3.076 | 10.22 | 283.7557 | 16.0468 | 16.0468 | 144.4208
11:10 | 25.3823 | 29.8383 | 3.076 | 10.22 | 292.7578 | 16.5558 | 16.5558 | 149.0026
11:20 | 25.5436 | 30.1332 | 3.076 | 10.22 | 301.5324 | 17.0521 | 17.0521 | 153.4685
11:30 | 25.6911 | 30.4027 | 3.076 | 10.22 | 309.5538 | 17.5057 | 17.5057 | 157.5511
11:40 | 25.817 | 30.633 | 3.076 | 10.22 | 316.4054 | 17.8931 | 17.8931 | 161.0383
11:50 | 25.9358 | 30.8502 | 3.076 | 10.22 | 322.8687 | 18.2587 | 18.2587 | 164.3279
12:00 | 26.0168 | 30.9981 | 3.076 | 10.22 | 327.2707 | 18.5076 | 18.5076 | 166.5683
12:10 | 26.0884 | 31.129 | 3.076 | 10.22 | 331.1653 | 18.7278 | 18.7278 | 168.5505
12:20 | 26.1377 | 31.2192 | 3.076 | 10.22 | 333.8488 | 18.8796 | 18.8796 | 169.9163
12:30 | 26.1624 | 31.2643 | 3.076 | 10.22 | 335.1922 | 18.9556 | 18.9556 | 170.6001
12:40 | 26.1835 | 31.3029 | 3.076 | 10.22 | 336.341 | 19.0205 | 19.0205 | 171.1847
12:50 | 26.1749 | 31.2871 | 3.076 | 10.22 | 335.8698 | 18.9939 | 18.9939 | 170.9449
13:00 | 26.1372 | 31.2182 | 3.076 | 10.22 | 333.82 | 18.878 | 18.878 | 169.9017
13:10 | 26.1011 | 31.1523 | 3.076 | 10.22 | 331.8597 | 18.7671 | 18.7671 | 168.9039
13:20 | 26.0197 | 31.0035 | 3.076 | 10.22 | 327.4299 | 18.5166 | 18.5166 | 166.6493
13:30 | 25.9415 | 30.8605 | 3.076 | 10.22 | 323.1753 | 18.276 | 18.276 | 164.4839
13:40 | 25.8352 | 30.6662 | 3.076 | 10.22 | 317.3948 | 17.9491 | 17.9491 | 161.5419
13:50 | 25.7219 | 30.4591 | 3.076 | 10.22 | 311.2319 | 17.6006 | 17.6006 | 158.4052
14:00 | 25.5773 | 30.1947 | 3.076 | 10.22 | 303.3651 | 17.1557 | 17.1557 | 154.4013
14:10 | 25.4269 | 29.9198 | 3.076 | 10.22 | 295.1848 | 16.6931 | 16.6931 | 150.2378
14:20 | 25.2467 | 29.5905 | 3.076 | 10.22 | 285.3836 | 16.1388 | 16.1388 | 145.2494
14:30 | 25.0642 | 29.2569 | 3.076 | 10.22 | 275.4568 | 15.5774 | 15.5774 | 140.197
14:40 | 24.8494 | 28.8643 | 3.076 | 10.22 | 263.7741 | 14.9168 | 14.9168 | 134.2509
14:50 | 24.6336 | 28.4699 | 3.076 | 10.22 | 252.0376 | 14.2531 | 14.2531 | 128.2775
15:00 | 24.3913 | 28.027 | 3.076 | 10.22 | 238.8589 | 13.5078 | 13.5078 | 121.5701
15:10 | 24.1494 | 27.5847 | 3.076 | 10.22 | 225.6971 | 12.7635 | 12.7635 | 114.8712
15:20 | 23.8826 | 27.097 | 3.076 | 10.22 | 211.184 | 11.9427 | 11.9427 | 107.4846
15:30 | 23.6003 | 26.581 | 3.076 | 10.22 | 195.8312 | 11.0745 | 11.0745 | 99.6706
15:40 | 23.3151 | 26.0597 | 3.076 | 10.22 | 180.3196 | 10.1973 | 10.1973 | 91.7758
15:50 | 23.023 | 25.5257 | 3.076 | 10.22 | 164.4282 | 9.2986 | 9.2986 | 83.6877
16:00 | 22.7233 | 24.978 | 3.076 | 10.22 | 148.1302 | 8.377 | 8.377 | 75.3926
16:10 | 22.4018 | 24.3902 | 3.076 | 10.22 | 130.6403 | 7.3879 | 7.3879 | 66.4909
16:20 | 22.0783 | 23.7989 | 3.076 | 10.22 | 113.0429 | 6.3927 | 6.3927 | 57.5345
16:30 | 21.7599 | 23.217 | 3.076 | 10.22 | 95.7282 | 5.4136 | 5.4136 | 48.722
16:40 | 21.4282 | 22.6106 | 3.076 | 10.22 | 77.685 | 4.3932 | 4.3932 | 39.5387
16:50 | 21.109 | 22.0272 | 3.076 | 10.22 | 60.3242 | 3.4114 | 3.4114 | 30.7027
17:00 | 20.8063 | 21.4739 | 3.076 | 10.22 | 43.8586 | 2.4803 | 2.4803 | 22.3224
17:10 | 20.4828 | 20.8826 | 3.076 | 10.22 | 26.2627 | 1.4852 | 1.4852 | 13.3667
17:20 | 20.1854 | 20.339 | 3.076 | 10.22 | 10.0872 | 0.5704 | 0.5704 | 5.134
17:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0

## EPlus-ExtSolRad-East
EnergyPlus Results for ASHRAE 1052RP Analytical Test ExtSolRad
East oriented opaque surface exposed to solar radiation
Date | Time | Outdoor Dry Bulb Temperature | Environment:Diffuse Solar [W/m2](TimeStep) | Environment:Direct Solar [W/m2](TimeStep) | Environment:Ground Reflected Solar [W/m2](TimeStep) | ZONE ONE:Zone/Sys Sensible Heating Energy[J](TimeStep) | ZONE ONE:Zone/Sys Sensible Cooling Energy[J](TimeStep) | ZONE ONE:Mean Air Temperature[C](TimeStep) | ZONE ONE:Zone Transmitted Solar[W](TimeStep) | EnergyPlus - Surface Inside Temperature | EnergyPlus - Surface Outside Temperature | ZONE SURFACE EAST:Surface Int Convection Coeff[W/m2-K](TimeStep) | ZONE SURFACE EAST:Surface Ext Convection Coeff[W/m2-K](TimeStep) | EnergyPlus - Incident Solar | EnergyPlus - Zone Sensible Cooling Load
2001-08-21 | 6:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:20 | 20 | 0 | 23 | 0 | 0 | 6765.8618 | 20 | 0 | 20.4073 | 20.7499 | 3.076 | 10.22 | 22.3722 | 1.2529
2001-08-21 | 6:30 | 20 | 0 | 120 | 0 | 0 | 35531.4495 | 20 | 0 | 22.1391 | 23.9264 | 3.076 | 10.22 | 117.0814 | 6.5799
2001-08-21 | 6:40 | 20 | 0 | 233 | 0 | 0 | 69241.3927 | 20 | 0 | 24.1686 | 27.6388 | 3.076 | 10.22 | 227.5933 | 12.8225
2001-08-21 | 6:50 | 20 | 0 | 332 | 0 | 0 | 98729.7372 | 20 | 0 | 25.9438 | 30.8815 | 3.076 | 10.22 | 324.0496 | 18.2833
2001-08-21 | 7:00 | 20 | 0 | 415 | 0 | 0 | 123178.4794 | 20 | 0 | 27.4157 | 33.5691 | 3.076 | 10.22 | 403.9829 | 22.8108
2001-08-21 | 7:10 | 20 | 0 | 487 | 0 | 0 | 143935.66 | 20 | 0 | 28.6654 | 35.8526 | 3.076 | 10.22 | 471.9028 | 26.6548
2001-08-21 | 7:20 | 20 | 0 | 543 | 0 | 0 | 159505.5983 | 20 | 0 | 29.6027 | 37.5628 | 3.076 | 10.22 | 522.7471 | 29.5381
2001-08-21 | 7:30 | 20 | 0 | 592 | 0 | 0 | 172462.8203 | 20 | 0 | 30.3828 | 38.987 | 3.076 | 10.22 | 565.1063 | 31.9376
2001-08-21 | 7:40 | 20 | 0 | 633 | 0 | 0 | 182515.7973 | 20 | 0 | 30.988 | 40.0915 | 3.076 | 10.22 | 597.947 | 33.7992
2001-08-21 | 7:50 | 20 | 0 | 666 | 0 | 0 | 189660.405 | 20 | 0 | 31.4182 | 40.877 | 3.076 | 10.22 | 621.2971 | 35.1223
2001-08-21 | 8:00 | 20 | 0 | 696 | 0 | 0 | 195347.1491 | 20 | 0 | 31.7605 | 41.5016 | 3.076 | 10.22 | 639.8726 | 36.1754
2001-08-21 | 8:10 | 20 | 0 | 722 | 0 | 0 | 199283.3611 | 20 | 0 | 31.9975 | 41.9349 | 3.076 | 10.22 | 652.7499 | 36.9043
2001-08-21 | 8:20 | 20 | 0 | 744 | 0 | 0 | 201518.9519 | 20 | 0 | 32.1321 | 42.1789 | 3.076 | 10.22 | 659.9975 | 37.3183
2001-08-21 | 8:30 | 20 | 0 | 763 | 0 | 0 | 202325.4936 | 20 | 0 | 32.1806 | 42.2667 | 3.076 | 10.22 | 662.5987 | 37.4677
2001-08-21 | 8:40 | 20 | 0 | 780 | 0 | 0 | 202033.6694 | 20 | 0 | 32.1631 | 42.2302 | 3.076 | 10.22 | 661.5011 | 37.4136
2001-08-21 | 8:50 | 20 | 0 | 796 | 0 | 0 | 200841.0184 | 20 | 0 | 32.0913 | 42.0993 | 3.076 | 10.22 | 657.5994 | 37.1928
2001-08-21 | 9:00 | 20 | 0 | 809 | 0 | 0 | 198317.6858 | 20 | 0 | 31.9393 | 41.8211 | 3.076 | 10.22 | 649.3105 | 36.7255
2001-08-21 | 9:10 | 20 | 0 | 821 | 0 | 0 | 194989.3159 | 20 | 0 | 31.739 | 41.4539 | 3.076 | 10.22 | 638.3767 | 36.1091
2001-08-21 | 9:20 | 20 | 0 | 832 | 0 | 0 | 190871.2814 | 20 | 0 | 31.4911 | 40.9998 | 3.076 | 10.22 | 624.8578 | 35.3465
2001-08-21 | 9:30 | 20 | 0 | 841 | 0 | 0 | 185750.8759 | 20 | 0 | 31.1828 | 40.4371 | 3.076 | 10.22 | 608.1039 | 34.3983
2001-08-21 | 9:40 | 20 | 0 | 850 | 0 | 0 | 180128.5855 | 20 | 0 | 30.8443 | 39.818 | 3.076 | 10.22 | 589.6768 | 33.3571
2001-08-21 | 9:50 | 20 | 0 | 858 | 0 | 0 | 173798.1195 | 20 | 0 | 30.4632 | 39.1208 | 3.076 | 10.22 | 568.9242 | 32.1848
2001-08-21 | 10:00 | 20 | 0 | 864 | 0 | 0 | 166600.1325 | 20 | 0 | 30.0299 | 38.328 | 3.076 | 10.22 | 545.3257 | 30.8519
2001-08-21 | 10:10 | 20 | 0 | 871 | 0 | 0 | 159142.6676 | 20 | 0 | 29.5809 | 37.5071 | 3.076 | 10.22 | 520.897 | 29.4709
2001-08-21 | 10:20 | 20 | 0 | 876 | 0 | 0 | 150899.2003 | 20 | 0 | 29.0846 | 36.5994 | 3.076 | 10.22 | 493.8775 | 27.9443
2001-08-21 | 10:30 | 20 | 0 | 882 | 0 | 0 | 142418.3919 | 20 | 0 | 28.574 | 35.6659 | 3.076 | 10.22 | 466.0984 | 26.3738
2001-08-21 | 10:40 | 20 | 0 | 886 | 0 | 0 | 133239.2787 | 20 | 0 | 28.0214 | 34.6552 | 3.076 | 10.22 | 436.0178 | 24.6739
2001-08-21 | 10:50 | 20 | 0 | 890 | 0 | 0 | 123713.3453 | 20 | 0 | 27.4479 | 33.6067 | 3.076 | 10.22 | 404.8128 | 22.9099
2001-08-21 | 11:00 | 20 | 0 | 894 | 0 | 0 | 113859.7981 | 20 | 0 | 26.8547 | 32.5221 | 3.076 | 10.22 | 372.5355 | 21.0851
2001-08-21 | 11:10 | 20 | 0 | 897 | 0 | 0 | 103566.6389 | 20 | 0 | 26.235 | 31.3906 | 3.076 | 10.22 | 338.8631 | 19.179
2001-08-21 | 11:20 | 20 | 0 | 900 | 0 | 0 | 93017.0485 | 20 | 0 | 25.5999 | 30.2295 | 3.076 | 10.22 | 304.3098 | 17.2254
2001-08-21 | 11:30 | 20 | 0 | 902 | 0 | 0 | 82127.0191 | 20 | 0 | 24.9443 | 29.0309 | 3.076 | 10.22 | 268.6396 | 15.2087
2001-08-21 | 11:40 | 20 | 0 | 904 | 0 | 0 | 71030.1447 | 20 | 0 | 24.2762 | 27.8096 | 3.076 | 10.22 | 232.2958 | 13.1537
2001-08-21 | 11:50 | 20 | 0 | 906 | 0 | 0 | 59747.8481 | 20 | 0 | 23.597 | 26.5679 | 3.076 | 10.22 | 195.3453 | 11.0644
2001-08-21 | 12:00 | 20 | 0 | 907 | 0 | 0 | 48248.4099 | 20 | 0 | 22.9047 | 25.3023 | 3.076 | 10.22 | 157.6828 | 8.9349
2001-08-21 | 12:10 | 20 | 0 | 908 | 0 | 0 | 36630.8757 | 20 | 0 | 22.2053 | 24.0237 | 3.076 | 10.22 | 119.6364 | 6.7835
2001-08-21 | 12:20 | 20 | 0 | 909 | 0 | 0 | 24917.8255 | 20 | 0 | 21.5001 | 22.7347 | 3.076 | 10.22 | 81.2778 | 4.6144
2001-08-21 | 12:30 | 20 | 0 | 910 | 0 | 0 | 13131.4303 | 20 | 0 | 20.7906 | 21.4376 | 3.076 | 10.22 | 42.6796 | 2.4317
2001-08-21 | 12:40 | 20 | 0 | 910 | 0 | 0 | 1292.7449 | 20 | 0 | 20.0778 | 20.1348 | 3.076 | 10.22 | 3.9108 | 0.2394
2001-08-21 | 12:50 | 20 | 0 | 910 | 0 | 0 | 26.5556 | 20 | 0 | 20.0016 | 20.0004 | 3.076 | 10.22 | 0 | 0.0049177
2001-08-21 | 13:00 | 20 | 0 | 909 | 0 | 0 | 11.2915 | 20 | 0 | 20.0007 | 20 | 3.076 | 10.22 | 0 | 0.002091
2001-08-21 | 13:10 | 20 | 0 | 908 | 0 | 0 | 4.7922 | 20 | 0 | 20.0003 | 20 | 3.076 | 10.22 | 0 | 0.00088744
2001-08-21 | 13:20 | 20 | 0 | 907 | 0 | 0 | 2.0279 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.00037554
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 0 | 0.85218 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.00015781
2001-08-21 | 13:40 | 20 | 0 | 904 | 0 | 0 | 0.35211 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 6.5206e-05
2001-08-21 | 13:50 | 20 | 0 | 902 | 0 | 0 | 0.13942 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 2.5819e-05
2001-08-21 | 14:00 | 20 | 0 | 900 | 0 | 0 | 0.048958 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 9.0664e-06
2001-08-21 | 14:10 | 20 | 0 | 897 | 0 | 0 | 0.010479 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 1.9406e-06
2001-08-21 | 14:20 | 20 | 0 | 894 | 0 | 0.0058887 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 0.012851 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 14:40 | 20 | 0 | 887 | 0 | 0.015813 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 14:50 | 20 | 0 | 882 | 0 | 0.017074 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:00 | 20 | 0 | 877 | 0 | 0.01761 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:10 | 20 | 0 | 872 | 0 | 0.017838 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:20 | 20 | 0 | 865 | 0 | 0.017936 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:30 | 20 | 0 | 858 | 0 | 0.017977 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:40 | 20 | 0 | 851 | 0 | 0.017995 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:50 | 20 | 0 | 843 | 0 | 0.018002 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:00 | 20 | 0 | 833 | 0 | 0.018005 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:10 | 20 | 0 | 822 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:20 | 20 | 0 | 811 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:30 | 20 | 0 | 797 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:40 | 20 | 0 | 783 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:50 | 20 | 0 | 765 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:00 | 20 | 0 | 746 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:10 | 20 | 0 | 725 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:20 | 20 | 0 | 700 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:30 | 20 | 0 | 670 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:40 | 20 | 0 | 636 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:50 | 20 | 0 | 598 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:00 | 20 | 0 | 550 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:10 | 20 | 0 | 493 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:20 | 20 | 0 | 426 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:30 | 20 | 0 | 341 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:40 | 20 | 0 | 243 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:50 | 20 | 0 | 131 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:00 | 20 | 0 | 34 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
[9 empty] | Average for cooling hours |  |  | 3.076 | 10.22
[15 empty] | 931.5484 | w-h/m2
[15 empty] | 37.4677 | w-m2

## ASHRAE-ExtSolRad-East
ASHRAE 1052RP Toolkit Test ExtSolRad
Data taken from D:\ASHRAE 1052RP OUTPUTS
Time | ASHRAE 1052RP - Surface Inside Temperature | ASHRAE 1052RP - Surface Outside Temperature | H_in | H_out | ASHRAE 1052RP - Incident Solar | ASHRAE 1052RP - Zone Sensible Cooling Load | Flux_out | Load
6:10 | 20.0002 | 20.0003 | 3.076 | 10.22 | 0.01 | 0.0006 | 0.0006 | 0.0051
6:20 | 20.4156 | 20.7598 | 3.076 | 10.22 | 22.6083 | 1.2785 | 1.2785 | 11.5068
6:30 | 22.1545 | 23.9382 | 3.076 | 10.22 | 117.1904 | 6.6273 | 6.6273 | 59.6454
6:40 | 24.1774 | 27.636 | 3.076 | 10.22 | 227.2242 | 12.8498 | 12.8498 | 115.6485
6:50 | 25.9646 | 30.9027 | 3.076 | 10.22 | 324.4321 | 18.3471 | 18.3471 | 165.1236
7:00 | 27.4345 | 33.5896 | 3.076 | 10.22 | 404.3848 | 22.8685 | 22.8685 | 205.8165
7:10 | 28.6714 | 35.8506 | 3.076 | 10.22 | 471.6652 | 26.6733 | 26.6733 | 240.0596
7:20 | 29.6106 | 37.5673 | 3.076 | 10.22 | 522.7489 | 29.5621 | 29.5621 | 266.0592
7:30 | 30.387 | 38.9865 | 3.076 | 10.22 | 564.9797 | 31.9503 | 31.9503 | 287.5531
7:40 | 30.9898 | 40.0883 | 3.076 | 10.22 | 597.7665 | 33.8045 | 33.8045 | 304.2403
7:50 | 31.4279 | 40.8892 | 3.076 | 10.22 | 621.601 | 35.1524 | 35.1524 | 316.3712
8:00 | 31.7662 | 41.5075 | 3.076 | 10.22 | 639.9978 | 36.1927 | 36.1927 | 325.7345
8:10 | 31.9972 | 41.9298 | 3.076 | 10.22 | 652.5643 | 36.9034 | 36.9034 | 332.1304
8:20 | 32.1348 | 42.1813 | 3.076 | 10.22 | 660.0493 | 37.3267 | 37.3267 | 335.9399
8:30 | 32.1862 | 42.2752 | 3.076 | 10.22 | 662.8422 | 37.4846 | 37.4846 | 337.3614
8:40 | 32.1681 | 42.2423 | 3.076 | 10.22 | 661.8629 | 37.4292 | 37.4292 | 336.863
8:50 | 32.083 | 42.0867 | 3.076 | 10.22 | 657.2336 | 37.1674 | 37.1674 | 334.5069
9:00 | 31.9362 | 41.8183 | 3.076 | 10.22 | 649.2467 | 36.7158 | 36.7158 | 330.4418
9:10 | 31.7329 | 41.4467 | 3.076 | 10.22 | 638.1897 | 36.0905 | 36.0905 | 324.8142
9:20 | 31.4794 | 40.9834 | 3.076 | 10.22 | 624.4025 | 35.3108 | 35.3108 | 317.7971
9:30 | 31.1815 | 40.4387 | 3.076 | 10.22 | 608.1937 | 34.3942 | 34.3942 | 309.5474
9:40 | 30.8375 | 39.81 | 3.076 | 10.22 | 589.4849 | 33.3361 | 33.3361 | 300.0253
9:50 | 30.4502 | 39.102 | 3.076 | 10.22 | 568.4188 | 32.1448 | 32.1448 | 289.3035
10:00 | 30.0375 | 38.3476 | 3.076 | 10.22 | 545.97 | 30.8753 | 30.8753 | 277.8779
10:10 | 29.5658 | 37.4854 | 3.076 | 10.22 | 520.3117 | 29.4243 | 29.4243 | 264.8188
10:20 | 29.0923 | 36.62 | 3.076 | 10.22 | 494.5607 | 27.9681 | 27.9681 | 251.7125
10:30 | 28.5641 | 35.6544 | 3.076 | 10.22 | 465.8279 | 26.3432 | 26.3432 | 237.0886
10:40 | 28.0091 | 34.6399 | 3.076 | 10.22 | 435.6394 | 24.636 | 24.636 | 221.7238
10:50 | 27.4296 | 33.5807 | 3.076 | 10.22 | 404.1194 | 22.8535 | 22.8535 | 205.6814
11:00 | 26.848 | 32.5175 | 3.076 | 10.22 | 372.4826 | 21.0644 | 21.0644 | 189.5794
11:10 | 26.2135 | 31.3576 | 3.076 | 10.22 | 337.9689 | 19.1126 | 19.1126 | 172.0133
11:20 | 25.5824 | 30.2042 | 3.076 | 10.22 | 303.6449 | 17.1715 | 17.1715 | 154.5437
11:30 | 24.9297 | 29.0111 | 3.076 | 10.22 | 268.1439 | 15.1639 | 15.1639 | 136.475
11:40 | 24.2574 | 27.7822 | 3.076 | 10.22 | 231.5737 | 13.0958 | 13.0958 | 117.8622
11:50 | 23.5807 | 26.5452 | 3.076 | 10.22 | 194.7669 | 11.0143 | 11.0143 | 99.1289
12:00 | 22.8957 | 25.293 | 3.076 | 10.22 | 157.5048 | 8.9071 | 8.9071 | 80.1639
12:10 | 22.1919 | 24.0067 | 3.076 | 10.22 | 119.2269 | 6.7424 | 6.7424 | 60.6819
12:20 | 21.4849 | 22.7142 | 3.076 | 10.22 | 80.7666 | 4.5675 | 4.5675 | 41.1071
12:30 | 20.7676 | 21.403 | 3.076 | 10.22 | 41.7504 | 2.361 | 2.361 | 21.2494
12:40 | 20.054 | 20.0986 | 3.076 | 10.22 | 2.9352 | 0.166 | 0.166 | 1.4939
12:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
[5 empty] | Total Load | 931.0775
[5 empty] | max | 37.4846