## EPlus-SolRadGlazing-East
Date | Time | Environment:Site Outdoor Air Drybulb Temperature [C](TimeStep) | Environment:Site Diffuse Solar Radiation Rate per Area [W/m2](TimeStep) | Environment:Site Direct Solar Radiation Rate per Area [W/m2](TimeStep) | ZONE ONE:Zone Air System Sensible Heating Energy [J](TimeStep) | ZONE ONE:Zone Air System Sensible Cooling Energy [J](TimeStep) | ZONE ONE:Zone Mean Air Temperature [C](TimeStep) | ZONE ONE:Zone Windows Total Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | EnergyPlus - Incident Solar | ZONE SURFACE SOUTH:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Window Total Glazing Layers Absorbed Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Heat Gain Rate [W](TimeStep) | EnergyPlus - Window Heat Gain | ZONE ONE:Zone Transmitted Solar[W/m2](TimeStep) | ZONE SUBSURFACE 1:Window Heat Gain[W/m2](TimeStep)
2001-08-21 | 0:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:20 | 20 | 0 | 23 | 0 | 105672.4301 | 20 | 173.2687 | 20.1059 | 20.1051 | 3.076 | 8.23 | 22.3722 | 0 | 12.2529 | 173.2687 | 176.2014 | 19.569 | 19.2521 | 19.5779
2001-08-21 | 6:30 | 20 | 0 | 120 | 0 | 554324.9572 | 20 | 906.8952 | 20.6163 | 20.6116 | 3.076 | 8.23 | 117.0814 | 0 | 64.0263 | 906.8952 | 923.9556 | 102.6528 | 100.7661 | 102.6617
2001-08-21 | 6:40 | 20 | 0 | 233 | 0 | 1077840.1567 | 20 | 1762.9943 | 21.2101 | 21.2009 | 3.076 | 8.23 | 227.5933 | 0 | 124.387 | 1762.9943 | 1796.4933 | 199.6 | 195.8883 | 199.6104
2001-08-21 | 6:50 | 20 | 0 | 332 | 0 | 1534803.5217 | 20 | 2510.0836 | 21.734 | 21.7208 | 3.076 | 8.23 | 324.0496 | 0 | 177.1728 | 2510.0836 | 2558.0854 | 284.2229 | 278.8982 | 284.2317
2001-08-21 | 7:00 | 20 | 0 | 415 | 0 | 1913334.2981 | 20 | 3128.8812 | 22.1716 | 22.1551 | 3.076 | 8.23 | 403.9829 | 0 | 221.1719 | 3128.8812 | 3188.9967 | 354.3212 | 347.6535 | 354.333
2001-08-21 | 7:10 | 20 | 0 | 487 | 0 | 2234781.8905 | 20 | 3654.2267 | 22.5467 | 22.5273 | 3.076 | 8.23 | 471.9028 | 0 | 258.9217 | 3654.2267 | 3724.7249 | 413.8485 | 406.0252 | 413.8583
2001-08-21 | 7:20 | 20 | 0 | 543 | 0 | 2474988.0272 | 20 | 4046.9081 | 22.8242 | 22.8026 | 3.076 | 8.23 | 522.7471 | 0 | 287.6461 | 4046.9081 | 4125.0869 | 458.3311 | 449.6565 | 458.343
2001-08-21 | 7:30 | 20 | 0 | 592 | 0 | 2674976.904 | 20 | 4373.4729 | 23.0673 | 23.0439 | 3.076 | 8.23 | 565.1063 | 0 | 312.0168 | 4373.4729 | 4458.3819 | 495.3661 | 485.9414 | 495.3758
2001-08-21 | 7:40 | 20 | 0 | 633 | 0 | 2829708.8066 | 20 | 4625.9446 | 23.2621 | 23.2373 | 3.076 | 8.23 | 597.947 | 0 | 331.4047 | 4625.9446 | 4716.2464 | 524.0201 | 513.9938 | 524.0274
2001-08-21 | 7:50 | 20 | 0 | 666 | 0 | 2939128.2154 | 20 | 4804.5382 | 23.3976 | 23.3717 | 3.076 | 8.23 | 621.2971 | 0 | 345.7584 | 4804.5382 | 4898.5902 | 544.283 | 533.8376 | 544.2878
2001-08-21 | 8:00 | 20 | 0 | 696 | 0 | 3025793.9526 | 20 | 4945.6515 | 23.5175 | 23.4907 | 3.076 | 8.23 | 639.8726 | 0 | 357.661 | 4945.6515 | 5043.0213 | 560.3322 | 549.5168 | 560.3357
2001-08-21 | 8:10 | 20 | 0 | 722 | 0 | 3085123.3647 | 20 | 5041.9661 | 23.6098 | 23.5823 | 3.076 | 8.23 | 652.7499 | 0 | 366.6019 | 5041.9661 | 5141.8908 | 571.3191 | 560.2185 | 571.3212
2001-08-21 | 8:20 | 20 | 0 | 744 | 0 | 3117117.5406 | 20 | 5093.7613 | 23.6645 | 23.6366 | 3.076 | 8.23 | 659.9975 | 0 | 372.6486 | 5093.7613 | 5195.2005 | 577.244 | 565.9735 | 577.2445
2001-08-21 | 8:30 | 20 | 0 | 763 | 0 | 3126547.2596 | 20 | 5108.3185 | 23.706 | 23.6778 | 3.076 | 8.23 | 662.5987 | 0 | 376.4046 | 5108.3185 | 5210.9069 | 578.9902 | 567.5909 | 578.9897
2001-08-21 | 8:40 | 20 | 0 | 780 | 0 | 3117402.9415 | 20 | 5092.5952 | 23.7231 | 23.6947 | 3.076 | 8.23 | 661.5011 | 0 | 378.4623 | 5092.5952 | 5195.6567 | 577.2968 | 565.8439 | 577.2952
2001-08-21 | 8:50 | 20 | 0 | 796 | 0 | 3093937.3723 | 20 | 5053.1194 | 23.7361 | 23.7077 | 3.076 | 8.23 | 657.5994 | 0 | 379.3715 | 5053.1194 | 5156.5416 | 572.9514 | 561.4577 | 572.9491
2001-08-21 | 9:00 | 20 | 0 | 809 | 0 | 3048539.8249 | 20 | 4977.4225 | 23.7369 | 23.7084 | 3.076 | 8.23 | 649.3105 | 0 | 378.2067 | 4977.4225 | 5080.8659 | 564.5444 | 553.0469 | 564.5407
2001-08-21 | 9:10 | 20 | 0 | 821 | 0 | 2989108.0009 | 20 | 4878.6702 | 23.7259 | 23.6974 | 3.076 | 8.23 | 638.3767 | 0 | 375.8927 | 4878.6702 | 4981.8075 | 553.5385 | 542.0745 | 553.5342
2001-08-21 | 9:20 | 20 | 0 | 832 | 0 | 2915628.3377 | 20 | 4757.1602 | 23.6911 | 23.6629 | 3.076 | 8.23 | 624.8578 | 0 | 372.3193 | 4757.1602 | 4859.3348 | 539.9312 | 528.5734 | 539.9261
2001-08-21 | 9:30 | 20 | 0 | 841 | 0 | 2825253.798 | 20 | 4607.8863 | 23.6421 | 23.6143 | 3.076 | 8.23 | 608.1039 | 0 | 366.8825 | 4607.8863 | 4708.7046 | 523.1951 | 511.9874 | 523.1894
2001-08-21 | 9:40 | 20 | 0 | 850 | 0 | 2724937.0736 | 20 | 4442.6668 | 23.5706 | 23.5434 | 3.076 | 8.23 | 589.6768 | 0 | 360.2663 | 4442.6668 | 4541.5057 | 504.618 | 493.6296 | 504.6117
2001-08-21 | 9:50 | 20 | 0 | 858 | 0 | 2611882.7528 | 20 | 4256.4714 | 23.4887 | 23.4621 | 3.076 | 8.23 | 568.9242 | 0 | 351.826 | 4256.4714 | 4353.0423 | 483.682 | 472.9413 | 483.6714
2001-08-21 | 10:00 | 20 | 0 | 864 | 0 | 2483457.9294 | 20 | 4045.3264 | 23.385 | 23.3592 | 3.076 | 8.23 | 545.3257 | 0 | 341.0179 | 4045.3264 | 4139.027 | 459.8996 | 449.4807 | 459.8919
2001-08-21 | 10:10 | 20 | 0 | 871 | 0 | 2348697.6357 | 20 | 3823.9663 | 23.2678 | 23.2429 | 3.076 | 8.23 | 520.897 | 0 | 328.968 | 3823.9663 | 3914.424 | 434.944 | 424.8851 | 434.936
2001-08-21 | 10:20 | 20 | 0 | 876 | 0 | 2199415.0358 | 20 | 3579.0106 | 23.1285 | 23.1047 | 3.076 | 8.23 | 493.8775 | 0 | 314.5553 | 3579.0106 | 3665.6132 | 407.2991 | 397.6678 | 407.2904
2001-08-21 | 10:30 | 20 | 0 | 882 | 0 | 2043343.1934 | 20 | 3323.3825 | 22.9661 | 22.9435 | 3.076 | 8.23 | 466.0984 | 0 | 299.044 | 3323.3825 | 3405.4908 | 378.3969 | 369.2647 | 378.3879
2001-08-21 | 10:40 | 20 | 0 | 886 | 0 | 1873875.1242 | 20 | 3045.6718 | 22.7948 | 22.7735 | 3.076 | 8.23 | 436.0178 | 0 | 281.6489 | 3045.6718 | 3123.038 | 347.0139 | 338.408 | 347.0042
2001-08-21 | 10:50 | 20 | 0 | 890 | 0 | 1696072.8566 | 20 | 2754.3166 | 22.6147 | 22.5948 | 3.076 | 8.23 | 404.8128 | 0 | 263.3652 | 2754.3166 | 2826.6974 | 314.0876 | 306.0352 | 314.0775
2001-08-21 | 11:00 | 20 | 0 | 894 | 0 | 1510525.6238 | 20 | 2450.2365 | 22.428 | 22.4095 | 3.076 | 8.23 | 372.5355 | 0 | 244.4272 | 2450.2365 | 2517.4489 | 279.727 | 272.2485 | 279.7165
2001-08-21 | 11:10 | 20 | 0 | 897 | 0 | 1316960.3067 | 20 | 2133.0125 | 22.2333 | 22.2163 | 3.076 | 8.23 | 338.8631 | 0 | 224.6771 | 2133.0125 | 2194.8367 | 243.8815 | 237.0014 | 243.8707
2001-08-21 | 11:20 | 20 | 0 | 900 | 0 | 1119316.3433 | 20 | 1809.1744 | 22.0321 | 22.0166 | 3.076 | 8.23 | 304.3098 | 0 | 204.2721 | 1809.1744 | 1865.4287 | 207.2808 | 201.0194 | 207.2699
2001-08-21 | 11:30 | 20 | 0 | 902 | 0 | 919670.525 | 20 | 1482.3402 | 21.8187 | 21.8048 | 3.076 | 8.23 | 268.6396 | 0 | 182.5892 | 1482.3402 | 1532.6854 | 170.3094 | 164.7045 | 170.2984
2001-08-21 | 11:40 | 20 | 0 | 904 | 0 | 723785.7749 | 20 | 1162.2324 | 21.5887 | 21.5766 | 3.076 | 8.23 | 232.2958 | 0 | 159.2141 | 1162.2324 | 1206.2133 | 134.0344 | 129.1369 | 134.0237
2001-08-21 | 11:50 | 20 | 0 | 906 | 0 | 537235.948 | 20 | 858.3392 | 21.3352 | 21.3251 | 3.076 | 8.23 | 195.3453 | 0 | 133.4021 | 858.3392 | 895.3022 | 99.4881 | 95.371 | 99.478
2001-08-21 | 12:00 | 20 | 0 | 907 | 0 | 366381.111 | 20 | 581.4255 | 21.0522 | 21.0441 | 3.076 | 8.23 | 157.6828 | 0 | 104.5598 | 581.4255 | 610.5525 | 67.8484 | 64.6028 | 67.8392
2001-08-21 | 12:10 | 20 | 0 | 908 | 0 | 219477.0521 | 20 | 345.364 | 20.734 | 20.7284 | 3.076 | 8.23 | 119.6364 | 0 | 73.2346 | 345.364 | 365.6829 | 40.6439 | 38.3738 | 40.6314
2001-08-21 | 12:20 | 20 | 0 | 909 | 0 | 104769.7066 | 20 | 162.9041 | 20.42 | 20.4168 | 3.076 | 8.23 | 81.2778 | 0 | 41.4715 | 162.9041 | 174.5296 | 19.4018 | 18.1005 | 19.3922
2001-08-21 | 12:30 | 20 | 0 | 910 | 0 | 29866.6002 | 20 | 45.345 | 20.1569 | 20.1557 | 3.076 | 8.23 | 42.6796 | 0 | 14.1036 | 45.345 | 49.6883 | 5.5309 | 5.0383 | 5.5209
2001-08-21 | 12:40 | 20 | 0 | 910 | 0 | 626.9051 | 20 | 0.37878 | 20.0209 | 20.0207 | 3.076 | 8.23 | 3.9108 | 0 | 0.14655 | 0.37878 | 0.95621 | 0.11609 | 0.042086 | 0.10625
2001-08-21 | 12:50 | 20 | 0 | 910 | 0 | 239.6275 | 20 | 0 | 20.0104 | 20.0103 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.28848 | 0.044375 | 0 | 0.032053
2001-08-21 | 13:00 | 20 | 0 | 909 | 0 | 127.5678 | 20 | 0 | 20.0052 | 20.0052 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.14395 | 0.023624 | 0 | 0.015995
2001-08-21 | 13:10 | 20 | 0 | 908 | 0 | 68.5191 | 20 | 0 | 20.0026 | 20.0026 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.071688 | 0.012689 | 0 | 0.0079653
2001-08-21 | 13:20 | 20 | 0 | 907 | 0 | 37.1257 | 20 | 0 | 20.0013 | 20.0013 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.035556 | 0.0068751 | 0 | 0.0039507
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 20.2719 | 20 | 0 | 20.0006 | 20.0006 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.017491 | 0.003754 | 0 | 0.0019434
2001-08-21 | 13:40 | 20 | 0 | 904 | 0 | 11.1285 | 20 | 0 | 20.0003 | 20.0003 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.0084579 | 0.0020608 | 0 | 0.00093976
2001-08-21 | 13:50 | 20 | 0 | 902 | 0 | 6.1133 | 20 | 0 | 20.0001 | 20.0001 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.0039415 | 0.0011321 | 0 | 0.00043795
2001-08-21 | 14:00 | 20 | 0 | 900 | 0 | 3.331 | 20 | 0 | 20.0001 | 20.0001 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.0016833 | 0.00061686 | 0 | 0.00018704
2001-08-21 | 14:10 | 20 | 0 | 897 | 0 | 1.7699 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.00055426 | 0.00032776 | 0 | 6.1584e-05
2001-08-21 | 14:20 | 20 | 0 | 894 | 0 | 0.88405 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0.00016371 | 0 | 0
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 0.37597 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 6.9624e-05 | 0 | 0
2001-08-21 | 14:40 | 20 | 0 | 887 | 0 | 0.081577 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 1.5107e-05 | 0 | 0
2001-08-21 | 14:50 | 20 | 0 | 882 | 0.090599 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:00 | 20 | 0 | 877 | 0.19215 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:10 | 20 | 0 | 872 | 0.2525 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:20 | 20 | 0 | 865 | 0.28861 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:30 | 20 | 0 | 858 | 0.31033 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:40 | 20 | 0 | 851 | 0.32346 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:50 | 20 | 0 | 843 | 0.33144 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:00 | 20 | 0 | 833 | 0.33629 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:10 | 20 | 0 | 822 | 0.33926 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:20 | 20 | 0 | 811 | 0.34108 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:30 | 20 | 0 | 797 | 0.3422 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:40 | 20 | 0 | 783 | 0.34288 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:50 | 20 | 0 | 765 | 0.3433 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:00 | 20 | 0 | 746 | 0.34356 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:10 | 20 | 0 | 725 | 0.34372 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:20 | 20 | 0 | 700 | 0.34382 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:30 | 20 | 0 | 670 | 0.34388 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:40 | 20 | 0 | 636 | 0.34392 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:50 | 20 | 0 | 598 | 0.34395 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:00 | 20 | 0 | 550 | 0.34396 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:10 | 20 | 0 | 493 | 0.34397 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:20 | 20 | 0 | 426 | 0.34397 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:30 | 20 | 0 | 341 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:40 | 20 | 0 | 243 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:50 | 20 | 0 | 131 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:00 | 20 | 0 | 34 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 56739 | [8 empty] | 16471.8547 |  |  |  |  | 13613.8566
[8 empty] | Average during solar hours |  |  | 3.076 |  |  | 0
578.9902

## ASHRAE-SolRadGlazing-East
ASHRAE 1052RP Toolkit Output
Data taken from D:\ASHRAE 1052RP OUTPUTS
Test SolRadGlazing-East
|  |  |  | Solar_flux | Flux_Tol
Time | Ts | H_in | H_out | ASHRAE 1052RP - Incident Solar | ASHRAE 1052RP - Window Heat Gain | Load
6:10 | 20 | 3.076 | 8.23 | 0.01 | 0.009 | 0.0808
6:20 | 20.0459 | 3.076 | 8.23 | 22.6083 | 20.3903 | 183.5128
6:30 | 20.2378 | 3.076 | 8.23 | 117.1904 | 105.6975 | 951.2771
6:40 | 20.4609 | 3.076 | 8.23 | 227.2242 | 204.9425 | 1844.4828
6:50 | 20.6583 | 3.076 | 8.23 | 324.4321 | 292.616 | 2633.5444
7:00 | 20.8214 | 3.076 | 8.23 | 404.3848 | 364.7158 | 3282.4423
7:10 | 20.96 | 3.076 | 8.23 | 471.6652 | 425.3684 | 3828.316
7:20 | 21.0666 | 3.076 | 8.23 | 522.7489 | 471.3951 | 4242.5555
7:30 | 21.1569 | 3.076 | 8.23 | 564.9797 | 509.404 | 4584.6356
7:40 | 21.2292 | 3.076 | 8.23 | 597.7665 | 538.8575 | 4849.7175
7:50 | 21.2843 | 3.076 | 8.23 | 621.601 | 560.1966 | 5041.7693
8:00 | 21.3299 | 3.076 | 8.23 | 639.9978 | 576.5614 | 5189.053
8:10 | 21.3648 | 3.076 | 8.23 | 652.5643 | 587.5892 | 5288.3029
8:20 | 21.3904 | 3.076 | 8.23 | 660.0493 | 593.9365 | 5345.4285
8:30 | 21.4067 | 3.076 | 8.23 | 662.8422 | 595.9553 | 5363.5975
8:40 | 21.4166 | 3.076 | 8.23 | 661.8629 | 594.4059 | 5349.6532
8:50 | 21.4194 | 3.076 | 8.23 | 657.2336 | 589.3907 | 5304.5161
9:00 | 21.4153 | 3.076 | 8.23 | 649.2467 | 581.169 | 5230.5214
9:10 | 21.4054 | 3.076 | 8.23 | 638.1897 | 569.9025 | 5129.1228
9:20 | 21.3894 | 3.076 | 8.23 | 624.4025 | 555.9248 | 5003.3235
9:30 | 21.3679 | 3.076 | 8.23 | 608.1937 | 539.449 | 4855.0409
9:40 | 21.3406 | 3.076 | 8.23 | 589.4849 | 520.3377 | 4683.0396
9:50 | 21.3075 | 3.076 | 8.23 | 568.4188 | 498.6646 | 4487.9813
10:00 | 21.2701 | 3.076 | 8.23 | 545.97 | 475.3793 | 4278.4139
10:10 | 21.2249 | 3.076 | 8.23 | 520.3117 | 448.4989 | 4036.4903
10:20 | 21.1772 | 3.076 | 8.23 | 494.5607 | 421.2571 | 3791.314
10:30 | 21.1217 | 3.076 | 8.23 | 465.8279 | 390.5303 | 3514.7728
10:40 | 21.0607 | 3.076 | 8.23 | 435.6394 | 357.9355 | 3221.4193
10:50 | 20.9946 | 3.076 | 8.23 | 404.1194 | 323.5954 | 2912.3585
11:00 | 20.9257 | 3.076 | 8.23 | 372.4826 | 288.9602 | 2600.6417
11:10 | 20.8478 | 3.076 | 8.23 | 337.9689 | 251.1275 | 2260.1475
11:20 | 20.7679 | 3.076 | 8.23 | 303.6449 | 213.7839 | 1924.0553
11:30 | 20.6828 | 3.076 | 8.23 | 268.1439 | 175.8818 | 1582.9364
11:40 | 20.5927 | 3.076 | 8.23 | 231.5737 | 138.2429 | 1244.1858
11:50 | 20.4999 | 3.076 | 8.23 | 194.7669 | 102.6745 | 924.0702
12:00 | 20.4041 | 3.076 | 8.23 | 157.5048 | 70.1191 | 631.0719
12:10 | 20.3041 | 3.076 | 8.23 | 119.2269 | 41.6488 | 374.8393
12:20 | 20.2025 | 3.076 | 8.23 | 80.7666 | 19.5663 | 176.0968
12:30 | 20.099 | 3.076 | 8.23 | 41.7504 | 5.2263 | 47.0371
12:40 | 20.0029 | 3.076 | 8.23 | 2.9352 | 0.0199 | 0.1792
12:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
|  |  |  | 16464.2914 | 14021.327
595.9553