## EPlus-SolRadGlazing
Date | Time | Environment:Site Outdoor Air Drybulb Temperature [C](TimeStep) | Environment:Site Diffuse Solar Radiation Rate per Area [W/m2](TimeStep) | Environment:Site Direct Solar Radiation Rate per Area [W/m2](TimeStep) | ZONE ONE:Zone Air System Sensible Heating Energy [J](TimeStep) | ZONE ONE:Zone Air System Sensible Cooling Energy [J](TimeStep) | ZONE ONE:Zone Mean Air Temperature [C](TimeStep) | ZONE ONE:Zone Windows Total Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Incident Solar Radiation Rate per Area [W/m2](TimeStep) | ZONE SURFACE SOUTH:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Window Total Glazing Layers Absorbed Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Heat Gain Rate [W](TimeStep) | ZONE ONE:Zone/Sys Sensible Cooling Energy[W/m2 glass] | ZONE ONE:Zone Transmitted Solar[W/m2](TimeStep) | ZONE SUBSURFACE 1:Window Heat Gain[W/m2](TimeStep)
2001-08-21 | 0:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:20 | 20 | 0 | 23 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:30 | 20 | 0 | 120 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:40 | 20 | 0 | 233 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:50 | 20 | 0 | 332 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:00 | 20 | 0 | 415 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:10 | 20 | 0 | 487 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:20 | 20 | 0 | 543 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:30 | 20 | 0 | 592 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:40 | 20 | 0 | 633 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:50 | 20 | 0 | 666 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 8:00 | 20 | 0 | 696 | 0 | 228.2166 | 20 | 0.46719 | 20.0009 | 20.0009 | 3.076 | 8.23 | 3.7977 | 8.23 | 0.17964 | 0.46719 | 0.49119 | 0.042262 | 0.05191 | 0.054576
2001-08-21 | 8:10 | 20 | 0 | 722 | 0 | 7927.6057 | 20 | 12.4327 | 20.0318 | 20.0315 | 3.076 | 8.23 | 19.9076 | 8.23 | 4.2598 | 12.4327 | 13.3123 | 1.4681 | 1.3814 | 1.4791
2001-08-21 | 8:20 | 20 | 0 | 744 | 0 | 26390.3343 | 20 | 40.9512 | 20.1128 | 20.1119 | 3.076 | 8.23 | 36.6776 | 8.23 | 12.5883 | 40.9512 | 44.0742 | 4.8871 | 4.5501 | 4.8971
2001-08-21 | 8:30 | 20 | 0 | 763 | 0 | 55062.8958 | 20 | 85.7693 | 20.22 | 20.2183 | 3.076 | 8.23 | 53.8604 | 8.23 | 23.81 | 85.7693 | 91.859 | 10.1968 | 9.5299 | 10.2066
2001-08-21 | 8:40 | 20 | 0 | 780 | 0 | 93259.4918 | 20 | 145.9729 | 20.3459 | 20.3433 | 3.076 | 8.23 | 71.2994 | 8.23 | 36.8288 | 145.9729 | 155.55 | 17.2703 | 16.2192 | 17.2833
2001-08-21 | 8:50 | 20 | 0 | 796 | 0 | 140127.8164 | 20 | 220.3254 | 20.4828 | 20.4791 | 3.076 | 8.23 | 88.9258 | 8.23 | 50.836 | 220.3254 | 233.6915 | 25.9496 | 24.4806 | 25.9657
2001-08-21 | 9:00 | 20 | 0 | 809 | 0 | 194139.2994 | 20 | 306.4256 | 20.6229 | 20.6181 | 3.076 | 8.23 | 106.3597 | 8.23 | 65.0547 | 306.4256 | 323.669 | 35.9517 | 34.0473 | 35.9632
2001-08-21 | 9:10 | 20 | 0 | 821 | 0 | 254211.5583 | 20 | 402.7015 | 20.7622 | 20.7564 | 3.076 | 8.23 | 123.6725 | 8.23 | 79.1405 | 402.7015 | 423.8015 | 47.0762 | 44.7446 | 47.0891
2001-08-21 | 9:20 | 20 | 0 | 832 | 0 | 319088.5038 | 20 | 507.0884 | 20.8977 | 20.8908 | 3.076 | 8.23 | 140.7549 | 8.23 | 92.796 | 507.0884 | 531.9394 | 59.0905 | 56.3432 | 59.1044
2001-08-21 | 9:30 | 20 | 0 | 841 | 0 | 387019.1379 | 20 | 616.753 | 21.0263 | 21.0184 | 3.076 | 8.23 | 157.3139 | 8.23 | 105.7064 | 616.753 | 645.1633 | 71.6702 | 68.5281 | 71.6848
2001-08-21 | 9:40 | 20 | 0 | 850 | 0 | 457608.7916 | 20 | 730.9673 | 21.1486 | 21.1399 | 3.076 | 8.23 | 173.6041 | 8.23 | 117.9988 | 730.9673 | 762.7651 | 84.7424 | 81.2186 | 84.7517
2001-08-21 | 9:50 | 20 | 0 | 858 | 0 | 529217.7416 | 20 | 847.139 | 21.2634 | 21.2538 | 3.076 | 8.23 | 189.3579 | 8.23 | 129.5049 | 847.139 | 882.1146 | 98.0033 | 94.1266 | 98.0127
2001-08-21 | 10:00 | 20 | 0 | 864 | 0 | 600061.2489 | 20 | 962.2914 | 21.3689 | 21.3584 | 3.076 | 8.23 | 204.245 | 8.23 | 140.0404 | 962.2914 | 1000.1861 | 111.1225 | 106.9213 | 111.1318
2001-08-21 | 10:10 | 20 | 0 | 871 | 0 | 671176.6525 | 20 | 1078.0468 | 21.4689 | 21.4577 | 3.076 | 8.23 | 218.8855 | 8.23 | 150.0899 | 1078.0468 | 1118.712 | 124.292 | 119.783 | 124.3013
2001-08-21 | 10:20 | 20 | 0 | 876 | 0 | 739565.3008 | 20 | 1189.5034 | 21.56 | 21.5481 | 3.076 | 8.23 | 232.4864 | 8.23 | 159.175 | 1189.5034 | 1232.6897 | 136.9565 | 132.167 | 136.9655
2001-08-21 | 10:30 | 20 | 0 | 882 | 0 | 806893.8492 | 20 | 1299.3246 | 21.6464 | 21.6339 | 3.076 | 8.23 | 245.7633 | 8.23 | 167.8497 | 1299.3246 | 1344.9025 | 149.4248 | 144.3694 | 149.4336
2001-08-21 | 10:40 | 20 | 0 | 886 | 0 | 869903.2789 | 20 | 1402.1863 | 21.724 | 21.7109 | 3.076 | 8.23 | 257.8452 | 8.23 | 175.5765 | 1402.1863 | 1449.9128 | 161.0932 | 155.7985 | 161.1014
2001-08-21 | 10:50 | 20 | 0 | 890 | 0 | 929807.3231 | 20 | 1500.0375 | 21.7957 | 21.782 | 3.076 | 8.23 | 269.2315 | 8.23 | 182.747 | 1500.0375 | 1549.7489 | 172.1865 | 166.6708 | 172.1943
2001-08-21 | 11:00 | 20 | 0 | 894 | 0 | 986063.4358 | 20 | 1592.2193 | 21.8526 | 21.8385 | 3.076 | 8.23 | 279.892 | 8.23 | 189.3816 | 1592.2193 | 1643.5047 | 182.6043 | 176.9133 | 182.6116
2001-08-21 | 11:10 | 20 | 0 | 897 | 0 | 1037476.2797 | 20 | 1676.2984 | 21.9105 | 21.8959 | 3.076 | 8.23 | 289.4749 | 8.23 | 195.2757 | 1676.2984 | 1729.1865 | 192.1252 | 186.2554 | 192.1318
2001-08-21 | 11:20 | 20 | 0 | 900 | 0 | 1084701.6651 | 20 | 1753.5001 | 21.9648 | 21.9498 | 3.076 | 8.23 | 298.2578 | 8.23 | 200.643 | 1753.5001 | 1807.8902 | 200.8707 | 194.8333 | 200.8767
2001-08-21 | 11:30 | 20 | 0 | 902 | 0 | 1126248.5443 | 20 | 1821.4151 | 22.0125 | 21.9972 | 3.076 | 8.23 | 305.878 | 8.23 | 205.2595 | 1821.4151 | 1877.1279 | 208.5645 | 202.3795 | 208.5698
2001-08-21 | 11:40 | 20 | 0 | 904 | 0 | 1163068.6242 | 20 | 1881.6073 | 22.0548 | 22.0391 | 3.076 | 8.23 | 312.6393 | 8.23 | 209.3442 | 1881.6073 | 1938.4888 | 215.3831 | 209.0675 | 215.3876
2001-08-21 | 11:50 | 20 | 0 | 906 | 0 | 1195013.6048 | 20 | 1933.8221 | 22.0916 | 22.0757 | 3.076 | 8.23 | 318.524 | 8.23 | 212.8954 | 1933.8221 | 1991.7243 | 221.2988 | 214.8691 | 221.3027
2001-08-21 | 12:00 | 20 | 0 | 907 | 0 | 1220456.3814 | 20 | 1975.6689 | 22.1115 | 22.0954 | 3.076 | 8.23 | 323.1601 | 8.23 | 215.6722 | 1975.6689 | 2034.121 | 226.0104 | 219.5188 | 226.0134
2001-08-21 | 12:10 | 20 | 0 | 908 | 0 | 1241029.596 | 20 | 2009.081 | 22.1429 | 22.1266 | 3.076 | 8.23 | 326.882 | 8.23 | 217.9034 | 2009.081 | 2068.4033 | 229.8203 | 223.2312 | 229.8226
2001-08-21 | 12:20 | 20 | 0 | 909 | 0 | 1256167.6841 | 20 | 2033.941 | 22.1565 | 22.1401 | 3.076 | 8.23 | 329.6805 | 8.23 | 219.5861 | 2033.941 | 2093.6385 | 232.6236 | 225.9934 | 232.6265
2001-08-21 | 12:30 | 20 | 0 | 910 | 0 | 1266110.2516 | 20 | 2050.1591 | 22.1689 | 22.1523 | 3.076 | 8.23 | 331.5478 | 8.23 | 220.7173 | 2050.1591 | 2110.1989 | 234.4649 | 227.7955 | 234.4665
2001-08-21 | 12:40 | 20 | 0 | 910 | 0 | 1269399.6851 | 20 | 2055.4113 | 22.1767 | 22.1601 | 3.076 | 8.23 | 332.1128 | 8.23 | 221.0513 | 2055.4113 | 2115.6679 | 235.074 | 228.379 | 235.0742
2001-08-21 | 12:50 | 20 | 0 | 910 | 0 | 1267360.7245 | 20 | 2051.9217 | 22.1795 | 22.1629 | 3.076 | 8.23 | 331.7374 | 8.23 | 220.8294 | 2051.9217 | 2112.2562 | 234.6964 | 227.9913 | 234.6951
2001-08-21 | 13:00 | 20 | 0 | 909 | 0 | 1258628.5715 | 20 | 2037.4577 | 22.1759 | 22.1593 | 3.076 | 8.23 | 330.059 | 8.23 | 219.81 | 2037.4577 | 2097.6919 | 233.0794 | 226.3842 | 233.0769
2001-08-21 | 13:10 | 20 | 0 | 908 | 0 | 1244604.3948 | 20 | 2014.3386 | 22.1663 | 22.1498 | 3.076 | 8.23 | 327.4483 | 8.23 | 218.2386 | 2014.3386 | 2074.3077 | 230.4823 | 223.8154 | 230.4786
2001-08-21 | 13:20 | 20 | 0 | 907 | 0 | 1225334.6664 | 20 | 1982.6493 | 22.151 | 22.1346 | 3.076 | 8.23 | 323.9125 | 8.23 | 216.1181 | 1982.6493 | 2042.1958 | 226.9138 | 220.2944 | 226.9106
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 1200731.0628 | 20 | 1942.501 | 22.1198 | 22.1037 | 3.076 | 8.23 | 319.4609 | 8.23 | 213.4517 | 1942.501 | 2001.1835 | 222.3576 | 215.8334 | 222.3537
2001-08-21 | 13:40 | 20 | 0 | 904 | 0 | 1169847.3643 | 20 | 1891.9426 | 22.0865 | 22.0706 | 3.076 | 8.23 | 313.7571 | 8.23 | 210.0097 | 1891.9426 | 1949.7029 | 216.6384 | 210.2158 | 216.6337
2001-08-21 | 13:50 | 20 | 0 | 902 | 0 | 1134076.3208 | 20 | 1833.3645 | 22.0487 | 22.0331 | 3.076 | 8.23 | 307.1739 | 8.23 | 206.034 | 1833.3645 | 1890.0785 | 210.0141 | 203.7072 | 210.0087
2001-08-21 | 14:00 | 20 | 0 | 900 | 0 | 1093556.4627 | 20 | 1767.012 | 22.0059 | 21.9906 | 3.076 | 8.23 | 299.7284 | 8.23 | 201.5265 | 1767.012 | 1822.5397 | 202.5105 | 196.3347 | 202.5044
2001-08-21 | 14:10 | 20 | 0 | 897 | 0 | 1047304.2627 | 20 | 1691.2935 | 21.9562 | 21.9413 | 3.076 | 8.23 | 291.1149 | 8.23 | 196.2679 | 1691.2935 | 1745.4457 | 193.9452 | 187.9215 | 193.9384
2001-08-21 | 14:20 | 20 | 0 | 894 | 0 | 996784.2101 | 20 | 1608.6189 | 21.9009 | 21.8864 | 3.076 | 8.23 | 281.6971 | 8.23 | 190.4841 | 1608.6189 | 1661.2405 | 184.5897 | 178.7354 | 184.5823
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 942100.2996 | 20 | 1519.4327 | 21.8301 | 21.8162 | 3.076 | 8.23 | 271.4996 | 8.23 | 184.1676 | 1519.4327 | 1570.0959 | 174.463 | 168.8259 | 174.4551
2001-08-21 | 14:40 | 20 | 0 | 887 | 0 | 883041.9743 | 20 | 1422.6555 | 21.7702 | 21.7567 | 3.076 | 8.23 | 260.2551 | 8.23 | 177.1051 | 1422.6555 | 1471.6598 | 163.5263 | 158.0728 | 163.5178
2001-08-21 | 14:50 | 20 | 0 | 882 | 0 | 819577.8409 | 20 | 1319.2295 | 21.6852 | 21.6724 | 3.076 | 8.23 | 248.0274 | 8.23 | 169.2991 | 1319.2295 | 1365.8814 | 151.7737 | 146.5811 | 151.7646
2001-08-21 | 15:00 | 20 | 0 | 877 | 0 | 753637.4872 | 20 | 1211.6229 | 21.6022 | 21.59 | 3.076 | 8.23 | 235.1551 | 8.23 | 160.9317 | 1211.6229 | 1255.9779 | 139.5625 | 134.6248 | 139.5531
2001-08-21 | 15:10 | 20 | 0 | 872 | 0 | 685634.9331 | 20 | 1100.7152 | 21.5144 | 21.5028 | 3.076 | 8.23 | 221.673 | 8.23 | 151.9708 | 1100.7152 | 1142.638 | 126.9694 | 122.3017 | 126.9598
2001-08-21 | 15:20 | 20 | 0 | 865 | 0 | 614743.0409 | 20 | 985.2377 | 21.4176 | 21.4068 | 3.076 | 8.23 | 207.1379 | 8.23 | 142.0496 | 985.2377 | 1024.4816 | 113.8413 | 109.4709 | 113.8313
2001-08-21 | 15:30 | 20 | 0 | 858 | 0 | 543358.7924 | 20 | 869.1242 | 21.3143 | 21.3043 | 3.076 | 8.23 | 192.1274 | 8.23 | 131.4989 | 869.1242 | 905.5076 | 100.622 | 96.5694 | 100.612
2001-08-21 | 15:40 | 20 | 0 | 851 | 0 | 472269.6764 | 20 | 753.6849 | 21.2044 | 21.1952 | 3.076 | 8.23 | 176.6833 | 8.23 | 120.2855 | 753.6849 | 787.0264 | 87.4573 | 83.7428 | 87.4474
2001-08-21 | 15:50 | 20 | 0 | 843 | 0 | 401870.6987 | 20 | 639.6134 | 21.0867 | 21.0784 | 3.076 | 8.23 | 160.6575 | 8.23 | 108.2599 | 639.6134 | 669.6961 | 74.4205 | 71.0682 | 74.4107
2001-08-21 | 16:00 | 20 | 0 | 833 | 0 | 332977.8968 | 20 | 528.2396 | 20.9604 | 20.953 | 3.076 | 8.23 | 143.9727 | 8.23 | 95.3538 | 528.2396 | 554.8254 | 61.6626 | 58.6933 | 61.6473
2001-08-21 | 16:10 | 20 | 0 | 822 | 0 | 267321.8283 | 20 | 422.4998 | 20.8274 | 20.8211 | 3.076 | 8.23 | 126.9388 | 8.23 | 81.8071 | 422.4998 | 445.4057 | 49.504 | 46.9444 | 49.4895
2001-08-21 | 16:20 | 20 | 0 | 811 | 0 | 206470.956 | 20 | 324.8867 | 20.6903 | 20.6851 | 3.076 | 8.23 | 109.7966 | 8.23 | 67.8755 | 324.8867 | 343.9977 | 38.2354 | 36.0985 | 38.222
2001-08-21 | 16:30 | 20 | 0 | 797 | 0 | 150788.5662 | 20 | 236.2685 | 20.5395 | 20.5354 | 3.076 | 8.23 | 92.249 | 8.23 | 53.5808 | 236.2685 | 251.2049 | 27.9238 | 26.2521 | 27.9117
2001-08-21 | 16:40 | 20 | 0 | 783 | 0 | 102749.9955 | 20 | 159.8141 | 20.4097 | 20.4066 | 3.076 | 8.23 | 74.8133 | 8.23 | 39.5811 | 159.8141 | 171.1557 | 19.0278 | 17.7571 | 19.0173
2001-08-21 | 16:50 | 20 | 0 | 765 | 0 | 62605.8463 | 20 | 96.5125 | 20.2783 | 20.2762 | 3.076 | 8.23 | 57.2435 | 8.23 | 26.2675 | 96.5125 | 104.2176 | 11.5937 | 10.7236 | 11.5797
2001-08-21 | 17:00 | 20 | 0 | 746 | 0 | 31874.1368 | 20 | 48.5666 | 20.1612 | 20.1599 | 3.076 | 8.23 | 40.0064 | 8.23 | 14.6179 | 48.5666 | 53.0285 | 5.9026 | 5.3963 | 5.8921
2001-08-21 | 17:10 | 20 | 0 | 725 | 0 | 11288.1817 | 20 | 16.8071 | 20.0688 | 20.0683 | 3.076 | 8.23 | 23.1904 | 8.23 | 5.6309 | 16.8071 | 18.7122 | 2.0904 | 1.8675 | 2.0791
2001-08-21 | 17:20 | 20 | 0 | 700 | 0 | 1342.9991 | 20 | 1.5633 | 20.0215 | 20.0214 | 3.076 | 8.23 | 6.9622 | 8.23 | 0.58697 | 1.5633 | 2.1596 | 0.2487 | 0.1737 | 0.23995
2001-08-21 | 17:30 | 20 | 0 | 670 | 0 | 234.2077 | 20 | 0 | 20.0108 | 20.0107 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.29787 | 0.043372 | 0 | 0.033096
2001-08-21 | 17:40 | 20 | 0 | 636 | 0 | 123.5412 | 20 | 0 | 20.0054 | 20.0053 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.14865 | 0.022878 | 0 | 0.016516
2001-08-21 | 17:50 | 20 | 0 | 598 | 0 | 65.6906 | 20 | 0 | 20.0027 | 20.0027 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.074035 | 0.012165 | 0 | 0.0082261
2001-08-21 | 18:00 | 20 | 0 | 550 | 0 | 35.2067 | 20 | 0 | 20.0013 | 20.0013 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.03673 | 0.0065198 | 0 | 0.0040811
2001-08-21 | 18:10 | 20 | 0 | 493 | 0 | 18.9999 | 20 | 0 | 20.0007 | 20.0006 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.018078 | 0.0035185 | 0 | 0.0020086
2001-08-21 | 18:20 | 20 | 0 | 426 | 0 | 10.2991 | 20 | 0 | 20.0003 | 20.0003 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.0087513 | 0.0019072 | 0 | 0.00097237
2001-08-21 | 18:30 | 20 | 0 | 341 | 0 | 5.5788 | 20 | 0 | 20.0001 | 20.0001 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.0040882 | 0.0010331 | 0 | 0.00045425
2001-08-21 | 18:40 | 20 | 0 | 243 | 0 | 2.9896 | 20 | 0 | 20.0001 | 20.0001 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.0017567 | 0.00055363 | 0 | 0.00019519
2001-08-21 | 18:50 | 20 | 0 | 131 | 0 | 1.5533 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.00059094 | 0.00028764 | 0 | 6.566e-05
2001-08-21 | 19:00 | 20 | 0 | 34 | 0 | 0.74732 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 8.0603e-06 | 0.00013839 | 0 | 8.9559e-07
2001-08-21 | 19:10 | 20 | 0 | 0 | 0 | 0.29001 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 5.3705e-05 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 0 | 0 | 0.027701 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 5.1299e-06 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 0 | 0.12428 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0.21317 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0.2656 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0.29676 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0.31539 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0.32661 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0.33339 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0.33751 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0.34001 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0.34155 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0.34249 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0.34306 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0.34342 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0.34363 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0.34377 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0.34385 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0.3439 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0.34393 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0.34395 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0.34396 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0.34397 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 56739 | [8 empty] | 11816.5166 |  |  |  |  | 7194.4087
[8 empty] | Average during solar hours |  |  | 3.076 |  |  | 8.23

## ASHRAE-SolRadGlazing
ASHRAE 1052RP Toolkit Output
Data taken from D:\ASHRAE 1052RP OUTPUTS
Test SolRadGlazing
|  |  |  | Solar_flux | Flux_Tol
Time | Ts | H_in | H_out | ASHRAE Solar_flux | ASHRAE 1052RP Flux_Tol | Load
6:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
8:00 | 20.0189 | 3.076 | 8.23 | 6.7023 | 0.1374 | 1.2369
8:10 | 20.1099 | 3.076 | 8.23 | 22.7881 | 1.7788 | 16.009
8:20 | 20.2174 | 3.076 | 8.23 | 39.2142 | 5.3091 | 47.7816
8:30 | 20.3373 | 3.076 | 8.23 | 56.8256 | 11.0072 | 99.065
8:40 | 20.4574 | 3.076 | 8.23 | 74.2398 | 18.3606 | 165.2452
8:50 | 20.5749 | 3.076 | 8.23 | 91.1987 | 26.9862 | 242.876
9:00 | 20.7041 | 3.076 | 8.23 | 109.8119 | 38.0209 | 342.1882
9:10 | 20.8186 | 3.076 | 8.23 | 126.365 | 48.9181 | 440.2633
9:20 | 20.9413 | 3.076 | 8.23 | 144.1547 | 61.7794 | 556.015
9:30 | 21.0548 | 3.076 | 8.23 | 160.6917 | 74.5723 | 671.1507
9:40 | 21.1651 | 3.076 | 8.23 | 176.854 | 87.7757 | 789.9811
9:50 | 21.2705 | 3.076 | 8.23 | 192.3992 | 101.0336 | 909.302
10:00 | 21.3715 | 3.076 | 8.23 | 207.3946 | 114.3057 | 1028.7513
10:10 | 21.4688 | 3.076 | 8.23 | 221.9318 | 127.5107 | 1147.5965
10:20 | 21.5615 | 3.076 | 8.23 | 235.8934 | 140.5442 | 1264.8978
10:30 | 21.6462 | 3.076 | 8.23 | 248.7289 | 152.6923 | 1374.2311
10:40 | 21.7315 | 3.076 | 8.23 | 261.7586 | 165.2658 | 1487.3923
10:50 | 21.8019 | 3.076 | 8.23 | 272.582 | 175.769 | 1581.9214
11:00 | 21.874 | 3.076 | 8.23 | 283.7557 | 186.796 | 1681.1643
11:10 | 21.9319 | 3.076 | 8.23 | 292.7578 | 195.662 | 1760.9577
11:20 | 21.9879 | 3.076 | 8.23 | 301.5324 | 204.4041 | 1839.6365
11:30 | 22.0388 | 3.076 | 8.23 | 309.5538 | 212.4388 | 1911.949
11:40 | 22.0821 | 3.076 | 8.23 | 316.4054 | 219.3161 | 1973.8447
11:50 | 22.1228 | 3.076 | 8.23 | 322.8687 | 225.8542 | 2032.6876
12:00 | 22.1504 | 3.076 | 8.23 | 327.2707 | 230.2774 | 2072.4963
12:10 | 22.1747 | 3.076 | 8.23 | 331.1653 | 234.2157 | 2107.9416
12:20 | 22.1915 | 3.076 | 8.23 | 333.8488 | 236.9269 | 2132.342
12:30 | 22.1998 | 3.076 | 8.23 | 335.1922 | 238.2704 | 2144.4336
12:40 | 22.207 | 3.076 | 8.23 | 336.341 | 239.4575 | 2155.1172
12:50 | 22.204 | 3.076 | 8.23 | 335.8698 | 238.9796 | 2150.8166
13:00 | 22.1913 | 3.076 | 8.23 | 333.82 | 236.8811 | 2131.9295
13:10 | 22.179 | 3.076 | 8.23 | 331.8597 | 234.9257 | 2114.3314
13:20 | 22.1514 | 3.076 | 8.23 | 327.4299 | 230.4101 | 2073.6906
13:30 | 22.1247 | 3.076 | 8.23 | 323.1753 | 226.1388 | 2035.2492
13:40 | 22.0884 | 3.076 | 8.23 | 317.3948 | 220.3096 | 1982.7863
13:50 | 22.0494 | 3.076 | 8.23 | 311.2319 | 214.1435 | 1927.2911
14:00 | 21.9995 | 3.076 | 8.23 | 303.3651 | 206.2608 | 1856.3468
14:10 | 21.9474 | 3.076 | 8.23 | 295.1848 | 198.1216 | 1783.094
14:20 | 21.8845 | 3.076 | 8.23 | 285.3836 | 188.3955 | 1695.5598
14:30 | 21.8205 | 3.076 | 8.23 | 275.4568 | 178.6486 | 1607.8377
14:40 | 21.7446 | 3.076 | 8.23 | 263.7741 | 167.2215 | 1504.9939
14:50 | 21.6679 | 3.076 | 8.23 | 252.0376 | 155.9108 | 1403.1975
15:00 | 21.5811 | 3.076 | 8.23 | 238.8589 | 143.3724 | 1290.3515
15:10 | 21.4938 | 3.076 | 8.23 | 225.6971 | 131.0849 | 1179.7643
15:20 | 21.3969 | 3.076 | 8.23 | 211.184 | 117.7832 | 1060.0489
15:30 | 21.2937 | 3.076 | 8.23 | 195.8312 | 104.1086 | 936.9777
15:40 | 21.1887 | 3.076 | 8.23 | 180.3196 | 90.7322 | 816.5902
15:50 | 21.0804 | 3.076 | 8.23 | 164.4282 | 77.6181 | 698.5631
16:00 | 20.9687 | 3.076 | 8.23 | 148.1302 | 64.839 | 583.5512
16:10 | 20.8482 | 3.076 | 8.23 | 130.6403 | 51.9955 | 467.9592
16:20 | 20.7265 | 3.076 | 8.23 | 113.0429 | 40.0965 | 360.8685
16:30 | 20.6065 | 3.076 | 8.23 | 95.7282 | 29.6003 | 266.4029
16:40 | 20.4813 | 3.076 | 8.23 | 77.685 | 20.0246 | 180.2217
16:50 | 20.3614 | 3.076 | 8.23 | 60.3242 | 12.3699 | 111.329
17:00 | 20.249 | 3.076 | 8.23 | 43.8586 | 6.6582 | 59.9237
17:10 | 20.1321 | 3.076 | 8.23 | 26.2627 | 2.3808 | 21.427
17:20 | 20.0354 | 3.076 | 8.23 | 10.0872 | 0.3276 | 2.9488
17:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
|  |  |  | 12018.288 | 7364.7251