## EPlus-ExtSolRad
EnergyPlus Results for ASHRAE 1052RP Analytical Test ExtSolRad
South oriented opaque surface exposed to solar radiation
Date | Time | Outdoor Dry Bulb Temperature | Environment:Diffuse Solar [W/m2](TimeStep) | Environment:Direct Solar [W/m2](TimeStep) | Environment:Ground Reflected Solar [W/m2](TimeStep) | ZONE ONE:Zone/Sys Sensible Heating Energy[J](TimeStep) | ZONE ONE:Zone/Sys Sensible Cooling Energy[J](TimeStep) | ZONE ONE:Mean Air Temperature[C](TimeStep) | ZONE ONE:Zone Transmitted Solar[W](TimeStep) | EnergyPlus - Surface Inside Temperature | EnergyPlus - Surface Outside Temperature | ZONE SURFACE SOUTH:Surface Int Convection Coeff[W/m2-K](TimeStep) | ZONE SURFACE SOUTH:Surface Ext Convection Coeff[W/m2-K](TimeStep) | EnergyPlus - Incident Solar | EnergyPlus - Zone Sensible Cooling Load
2001-08-21 | 6:10 | 20 | 0 | 78.6667 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:20 | 20 | 0 | 98.3333 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:30 | 20 | 0 | 118 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:40 | 20 | 0 | 190.8333 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 6:50 | 20 | 0 | 263.6667 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:00 | 20 | 0 | 336.5 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:10 | 20 | 0 | 409.3333 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:20 | 20 | 0 | 482.1667 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:30 | 20 | 0 | 555 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:40 | 20 | 0 | 587.5 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 7:50 | 20 | 0 | 620 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 8:00 | 20 | 0 | 652.5 | 0 | 0 | 1064.6491 | 20 | 0 | 20.0641 | 20.1193 | 3.076 | 10.22 | 3.5603 | 0.19716
2001-08-21 | 8:10 | 20 | 0 | 685 | 0 | 0 | 5722.3511 | 20 | 0 | 20.3445 | 20.6334 | 3.076 | 10.22 | 18.8874 | 1.0597
2001-08-21 | 8:20 | 20 | 0 | 717.5 | 0 | 0 | 10752.5601 | 20 | 0 | 20.6473 | 21.1872 | 3.076 | 10.22 | 35.3712 | 1.9912
2001-08-21 | 8:30 | 20 | 0 | 750 | 0 | 0 | 16115.2502 | 20 | 0 | 20.9702 | 21.7776 | 3.076 | 10.22 | 52.9427 | 2.9843
2001-08-21 | 8:40 | 20 | 0 | 764.1667 | 0 | 0 | 21280.9134 | 20 | 0 | 21.2812 | 22.3459 | 3.076 | 10.22 | 69.8521 | 3.9409
2001-08-21 | 8:50 | 20 | 0 | 778.3333 | 0 | 0 | 26502.3326 | 20 | 0 | 21.5955 | 22.9206 | 3.076 | 10.22 | 86.9521 | 4.9078
2001-08-21 | 9:00 | 20 | 0 | 792.5 | 0 | 0 | 31766.1192 | 20 | 0 | 21.9124 | 23.4999 | 3.076 | 10.22 | 104.1905 | 5.8826
2001-08-21 | 9:10 | 20 | 0 | 806.6667 | 0 | 0 | 37055.874 | 20 | 0 | 22.2309 | 24.082 | 3.076 | 10.22 | 121.5133 | 6.8622
2001-08-21 | 9:20 | 20 | 0 | 820.8333 | 0 | 0 | 42354.81 | 20 | 0 | 22.5499 | 24.6651 | 3.076 | 10.22 | 138.8657 | 7.8435
2001-08-21 | 9:30 | 20 | 0 | 835 | 0 | 0 | 47645.812 | 20 | 0 | 22.8684 | 25.2474 | 3.076 | 10.22 | 156.1916 | 8.8233
2001-08-21 | 9:40 | 20 | 0 | 842.1667 | 0 | 0 | 52479.1105 | 20 | 0 | 23.1594 | 25.7789 | 3.076 | 10.22 | 172.0043 | 9.7184
2001-08-21 | 9:50 | 20 | 0 | 849.3333 | 0 | 0 | 57195.5636 | 20 | 0 | 23.4434 | 26.2979 | 3.076 | 10.22 | 187.4452 | 10.5918
2001-08-21 | 10:00 | 20 | 0 | 856.5 | 0 | 0 | 61785.6451 | 20 | 0 | 23.7197 | 26.8029 | 3.076 | 10.22 | 202.4721 | 11.4418
2001-08-21 | 10:10 | 20 | 0 | 863.6667 | 0 | 0 | 66236.5131 | 20 | 0 | 23.9876 | 27.2926 | 3.076 | 10.22 | 217.0426 | 12.266
2001-08-21 | 10:20 | 20 | 0 | 870.8333 | 0 | 0 | 70535.4401 | 20 | 0 | 24.2465 | 27.7655 | 3.076 | 10.22 | 231.1152 | 13.0621
2001-08-21 | 10:30 | 20 | 0 | 878 | 0 | 0 | 74656.0921 | 20 | 0 | 24.4945 | 28.2204 | 3.076 | 10.22 | 244.6487 | 13.8252
2001-08-21 | 10:40 | 20 | 0 | 881.6667 | 0 | 0 | 78307.1086 | 20 | 0 | 24.7143 | 28.6216 | 3.076 | 10.22 | 256.5841 | 14.5013
2001-08-21 | 10:50 | 20 | 0 | 885.3333 | 0 | 0 | 81741.0738 | 20 | 0 | 24.9211 | 28.9992 | 3.076 | 10.22 | 267.8198 | 15.1372
2001-08-21 | 11:00 | 20 | 0 | 889 | 0 | 0 | 84952.5259 | 20 | 0 | 25.1144 | 29.3524 | 3.076 | 10.22 | 278.3266 | 15.7319
2001-08-21 | 11:10 | 20 | 0 | 892.6667 | 0 | 0 | 87932.9362 | 20 | 0 | 25.2938 | 29.6801 | 3.076 | 10.22 | 288.0765 | 16.2839
2001-08-21 | 11:20 | 20 | 0 | 896.3333 | 0 | 0 | 90674.1387 | 20 | 0 | 25.4589 | 29.9815 | 3.076 | 10.22 | 297.0427 | 16.7915
2001-08-21 | 11:30 | 20 | 0 | 900 | 0 | 0 | 93168.3836 | 20 | 0 | 25.609 | 30.2557 | 3.076 | 10.22 | 305.1998 | 17.2534
2001-08-21 | 11:40 | 20 | 0 | 901.3333 | 0 | 0 | 95165.1254 | 20 | 0 | 25.7292 | 30.4748 | 3.076 | 10.22 | 311.717 | 17.6232
2001-08-21 | 11:50 | 20 | 0 | 902.6667 | 0 | 0 | 96875.8924 | 20 | 0 | 25.8322 | 30.6643 | 3.076 | 10.22 | 317.3521 | 17.94
2001-08-21 | 12:00 | 20 | 0 | 904 | 0 | 0 | 98328.6067 | 20 | 0 | 25.9197 | 30.8236 | 3.076 | 10.22 | 322.0912 | 18.209
2001-08-21 | 12:10 | 20 | 0 | 905.3333 | 0 | 0 | 99504.3201 | 20 | 0 | 25.9905 | 30.9524 | 3.076 | 10.22 | 325.922 | 18.4267
2001-08-21 | 12:20 | 20 | 0 | 906.6667 | 0 | 0 | 100399.5697 | 20 | 0 | 26.0444 | 31.0504 | 3.076 | 10.22 | 328.8343 | 18.5925
2001-08-21 | 12:30 | 20 | 0 | 908 | 0 | 0 | 101000.1707 | 20 | 0 | 26.0805 | 31.1172 | 3.076 | 10.22 | 330.8191 | 18.7037
2001-08-21 | 12:40 | 20 | 0 | 907.6667 | 0 | 0 | 101146.5318 | 20 | 0 | 26.0893 | 31.1322 | 3.076 | 10.22 | 331.2613 | 18.7308
2001-08-21 | 12:50 | 20 | 0 | 907.3333 | 0 | 0 | 101019.6343 | 20 | 0 | 26.0817 | 31.1156 | 3.076 | 10.22 | 330.7653 | 18.7073
2001-08-21 | 13:00 | 20 | 0 | 907 | 0 | 0 | 100588.2551 | 20 | 0 | 26.0557 | 31.0675 | 3.076 | 10.22 | 329.3328 | 18.6275
2001-08-21 | 13:10 | 20 | 0 | 906.6667 | 0 | 0 | 99877.2983 | 20 | 0 | 26.0129 | 30.9881 | 3.076 | 10.22 | 326.9674 | 18.4958
2001-08-21 | 13:20 | 20 | 0 | 906.3333 | 0 | 0 | 98864.1521 | 20 | 0 | 25.9519 | 30.8775 | 3.076 | 10.22 | 323.6745 | 18.3082
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 0 | 97583.1412 | 20 | 0 | 25.8748 | 30.736 | 3.076 | 10.22 | 319.4609 | 18.071
2001-08-21 | 13:40 | 20 | 0 | 903.5 | 0 | 0 | 95784.7974 | 20 | 0 | 25.7665 | 30.5387 | 3.076 | 10.22 | 313.5836 | 17.7379
2001-08-21 | 13:50 | 20 | 0 | 901 | 0 | 0 | 93726.864 | 20 | 0 | 25.6427 | 30.3119 | 3.076 | 10.22 | 306.8334 | 17.3568
2001-08-21 | 14:00 | 20 | 0 | 898.5 | 0 | 0 | 91408.0467 | 20 | 0 | 25.5031 | 30.0564 | 3.076 | 10.22 | 299.2289 | 16.9274
2001-08-21 | 14:10 | 20 | 0 | 896 | 0 | 0 | 88834.4543 | 20 | 0 | 25.3481 | 29.7729 | 3.076 | 10.22 | 290.7904 | 16.4508
2001-08-21 | 14:20 | 20 | 0 | 893.5 | 0 | 0 | 86012.7172 | 20 | 0 | 25.1782 | 29.4621 | 3.076 | 10.22 | 281.5396 | 15.9283
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 0 | 82949.9128 | 20 | 0 | 24.9938 | 29.1248 | 3.076 | 10.22 | 271.4996 | 15.3611
2001-08-21 | 14:40 | 20 | 0 | 886 | 0 | 0 | 79432.4517 | 20 | 0 | 24.7821 | 28.7372 | 3.076 | 10.22 | 259.9617 | 14.7097
2001-08-21 | 14:50 | 20 | 0 | 881 | 0 | 0 | 75704.8608 | 20 | 0 | 24.5577 | 28.3267 | 3.076 | 10.22 | 247.7462 | 14.0194
2001-08-21 | 15:00 | 20 | 0 | 876 | 0 | 0 | 71780.5203 | 20 | 0 | 24.3214 | 27.8946 | 3.076 | 10.22 | 234.887 | 13.2927
2001-08-21 | 15:10 | 20 | 0 | 871 | 0 | 0 | 67670.0802 | 20 | 0 | 24.074 | 27.4421 | 3.076 | 10.22 | 221.4188 | 12.5315
2001-08-21 | 15:20 | 20 | 0 | 866 | 0 | 0 | 63370.1103 | 20 | 0 | 23.8151 | 26.9702 | 3.076 | 10.22 | 207.3773 | 11.7352
2001-08-21 | 15:30 | 20 | 0 | 861 | 0 | 0 | 58919.7793 | 20 | 0 | 23.5472 | 26.4804 | 3.076 | 10.22 | 192.7991 | 10.9111
2001-08-21 | 15:40 | 20 | 0 | 851 | 0 | 0 | 54002.9331 | 20 | 0 | 23.2511 | 25.9389 | 3.076 | 10.22 | 176.6833 | 10.0005
2001-08-21 | 15:50 | 20 | 0 | 841 | 0 | 0 | 48993.4959 | 20 | 0 | 22.9496 | 25.3876 | 3.076 | 10.22 | 160.2763 | 9.0729
2001-08-21 | 16:00 | 20 | 0 | 831 | 0 | 0 | 43909.9157 | 20 | 0 | 22.6435 | 24.8281 | 3.076 | 10.22 | 143.6271 | 8.1315
2001-08-21 | 16:10 | 20 | 0 | 821 | 0 | 0 | 38767.1115 | 20 | 0 | 22.3339 | 24.2621 | 3.076 | 10.22 | 126.7844 | 7.1791
2001-08-21 | 16:20 | 20 | 0 | 811 | 0 | 0 | 33579.8817 | 20 | 0 | 22.0216 | 23.6912 | 3.076 | 10.22 | 109.7966 | 6.2185
2001-08-21 | 16:30 | 20 | 0 | 801 | 0 | 0 | 28362.8916 | 20 | 0 | 21.7075 | 23.1171 | 3.076 | 10.22 | 92.7119 | 5.2524
2001-08-21 | 16:40 | 20 | 0 | 780.6667 | 0 | 0 | 22832.0493 | 20 | 0 | 21.3746 | 22.5082 | 3.076 | 10.22 | 74.5904 | 4.2282
2001-08-21 | 16:50 | 20 | 0 | 760.3333 | 0 | 0 | 17426.8371 | 20 | 0 | 21.0492 | 21.9135 | 3.076 | 10.22 | 56.8943 | 3.2272
2001-08-21 | 17:00 | 20 | 0 | 740 | 0 | 0 | 12169.9585 | 20 | 0 | 20.7327 | 21.3351 | 3.076 | 10.22 | 39.6847 | 2.2537
2001-08-21 | 17:10 | 20 | 0 | 719.6667 | 0 | 0 | 7079.2829 | 20 | 0 | 20.4262 | 20.775 | 3.076 | 10.22 | 23.0198 | 1.311
2001-08-21 | 17:20 | 20 | 0 | 699.3333 | 0 | 0 | 2171.8296 | 20 | 0 | 20.1308 | 20.2351 | 3.076 | 10.22 | 6.9556 | 0.40219
2001-08-21 | 17:30 | 20 | 0 | 679 | 0 | 0 | 28.0134 | 20 | 0 | 20.0017 | 20.0006 | 3.076 | 10.22 | 0 | 0.0051877
2001-08-21 | 17:40 | 20 | 0 | 626.5 | 0 | 0 | 11.9169 | 20 | 0 | 20.0007 | 20 | 3.076 | 10.22 | 0 | 0.0022068
2001-08-21 | 17:50 | 20 | 0 | 574 | 0 | 0 | 5.0582 | 20 | 0 | 20.0003 | 20 | 3.076 | 10.22 | 0 | 0.0009367
2001-08-21 | 18:00 | 20 | 0 | 521.5 | 0 | 0 | 2.141 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.00039648
2001-08-21 | 18:10 | 20 | 0 | 469 | 0 | 0 | 0.90029 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.00016672
2001-08-21 | 18:20 | 20 | 0 | 416.5 | 0 | 0 | 0.37258 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 6.8996e-05
2001-08-21 | 18:30 | 20 | 0 | 364 | 0 | 0 | 0.14813 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 2.7431e-05
2001-08-21 | 18:40 | 20 | 0 | 304.1667 | 0 | 0 | 0.052659 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 9.7517e-06
2001-08-21 | 18:50 | 20 | 0 | 244.3333 | 0 | 0 | 0.012053 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 2.232e-06
2001-08-21 | 19:00 | 20 | 0 | 184.5 | 0 | 0.0052196 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:10 | 20 | 0 | 124.6667 | 0 | 0.012567 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 0 | 0 | 0.015693 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 0 | 0 | 0.017022 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0 | 0.017588 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0 | 0.017829 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0 | 0.017932 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0 | 0.017975 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0 | 0.017994 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0 | 0.018002 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0 | 0.018005 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
[9 empty] | Average for cooling hours |  |  | 3.076 | 10.22 |  | 665.781 | Total Load
[15 empty] | 18.7308 | max

## ASHRAE-ExtSolRad
ASHRAE 1052RP Toolkit Test ExtSolRad
Data taken from D:\ASHRAE 1052RP OUTPUTS
Time | ASHRAE 1052RP - Surface Inside Temperature | ASHRAE 1052RP - Surface Outside Temperature | H_in | H_out | ASHRAE 1052RP - Incident Solar | ASHRAE 1052RP - Zone Sensible Cooling Load | Flux_out | Load
6:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
6:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
7:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
8:00 | 20.1232 | 20.2252 | 3.076 | 10.22 | 6.7023 | 0.379 | 0.379 | 3.4112
8:10 | 20.419 | 20.7658 | 3.076 | 10.22 | 22.7881 | 1.2887 | 1.2887 | 11.5983
8:20 | 20.7209 | 21.3178 | 3.076 | 10.22 | 39.2142 | 2.2176 | 2.2176 | 19.9585
8:30 | 21.0447 | 21.9097 | 3.076 | 10.22 | 56.8256 | 3.2136 | 3.2136 | 28.9221
8:40 | 21.3649 | 22.4949 | 3.076 | 10.22 | 74.2398 | 4.1984 | 4.1984 | 37.7853
8:50 | 21.6767 | 23.0648 | 3.076 | 10.22 | 91.1987 | 5.1574 | 5.1574 | 46.4167
9:00 | 22.0189 | 23.6903 | 3.076 | 10.22 | 109.8119 | 6.21 | 6.21 | 55.8901
9:10 | 22.3232 | 24.2466 | 3.076 | 10.22 | 126.365 | 7.1461 | 7.1461 | 64.315
9:20 | 22.6502 | 24.8444 | 3.076 | 10.22 | 144.1547 | 8.1521 | 8.1521 | 73.3692
9:30 | 22.9543 | 25.4001 | 3.076 | 10.22 | 160.6917 | 9.0873 | 9.0873 | 81.786
9:40 | 23.2514 | 25.9433 | 3.076 | 10.22 | 176.854 | 10.0013 | 10.0013 | 90.0119
9:50 | 23.5372 | 26.4657 | 3.076 | 10.22 | 192.3992 | 10.8804 | 10.8804 | 97.9238
10:00 | 23.8129 | 26.9696 | 3.076 | 10.22 | 207.3946 | 11.7284 | 11.7284 | 105.5559
10:10 | 24.0801 | 27.4581 | 3.076 | 10.22 | 221.9318 | 12.5505 | 12.5505 | 112.9548
10:20 | 24.3368 | 27.9273 | 3.076 | 10.22 | 235.8934 | 13.3401 | 13.3401 | 120.0607
10:30 | 24.5728 | 28.3587 | 3.076 | 10.22 | 248.7289 | 14.0659 | 14.0659 | 126.5935
10:40 | 24.8124 | 28.7965 | 3.076 | 10.22 | 261.7586 | 14.8028 | 14.8028 | 133.2251
10:50 | 25.0113 | 29.1603 | 3.076 | 10.22 | 272.582 | 15.4149 | 15.4149 | 138.7338
11:00 | 25.2168 | 29.5358 | 3.076 | 10.22 | 283.7557 | 16.0468 | 16.0468 | 144.4208
11:10 | 25.3823 | 29.8383 | 3.076 | 10.22 | 292.7578 | 16.5558 | 16.5558 | 149.0026
11:20 | 25.5436 | 30.1332 | 3.076 | 10.22 | 301.5324 | 17.0521 | 17.0521 | 153.4685
11:30 | 25.6911 | 30.4027 | 3.076 | 10.22 | 309.5538 | 17.5057 | 17.5057 | 157.5511
11:40 | 25.817 | 30.633 | 3.076 | 10.22 | 316.4054 | 17.8931 | 17.8931 | 161.0383
11:50 | 25.9358 | 30.8502 | 3.076 | 10.22 | 322.8687 | 18.2587 | 18.2587 | 164.3279
12:00 | 26.0168 | 30.9981 | 3.076 | 10.22 | 327.2707 | 18.5076 | 18.5076 | 166.5683
12:10 | 26.0884 | 31.129 | 3.076 | 10.22 | 331.1653 | 18.7278 | 18.7278 | 168.5505
12:20 | 26.1377 | 31.2192 | 3.076 | 10.22 | 333.8488 | 18.8796 | 18.8796 | 169.9163
12:30 | 26.1624 | 31.2643 | 3.076 | 10.22 | 335.1922 | 18.9556 | 18.9556 | 170.6001
12:40 | 26.1835 | 31.3029 | 3.076 | 10.22 | 336.341 | 19.0205 | 19.0205 | 171.1847
12:50 | 26.1749 | 31.2871 | 3.076 | 10.22 | 335.8698 | 18.9939 | 18.9939 | 170.9449
13:00 | 26.1372 | 31.2182 | 3.076 | 10.22 | 333.82 | 18.878 | 18.878 | 169.9017
13:10 | 26.1011 | 31.1523 | 3.076 | 10.22 | 331.8597 | 18.7671 | 18.7671 | 168.9039
13:20 | 26.0197 | 31.0035 | 3.076 | 10.22 | 327.4299 | 18.5166 | 18.5166 | 166.6493
13:30 | 25.9415 | 30.8605 | 3.076 | 10.22 | 323.1753 | 18.276 | 18.276 | 164.4839
13:40 | 25.8352 | 30.6662 | 3.076 | 10.22 | 317.3948 | 17.9491 | 17.9491 | 161.5419
13:50 | 25.7219 | 30.4591 | 3.076 | 10.22 | 311.2319 | 17.6006 | 17.6006 | 158.4052
14:00 | 25.5773 | 30.1947 | 3.076 | 10.22 | 303.3651 | 17.1557 | 17.1557 | 154.4013
14:10 | 25.4269 | 29.9198 | 3.076 | 10.22 | 295.1848 | 16.6931 | 16.6931 | 150.2378
14:20 | 25.2467 | 29.5905 | 3.076 | 10.22 | 285.3836 | 16.1388 | 16.1388 | 145.2494
14:30 | 25.0642 | 29.2569 | 3.076 | 10.22 | 275.4568 | 15.5774 | 15.5774 | 140.197
14:40 | 24.8494 | 28.8643 | 3.076 | 10.22 | 263.7741 | 14.9168 | 14.9168 | 134.2509
14:50 | 24.6336 | 28.4699 | 3.076 | 10.22 | 252.0376 | 14.2531 | 14.2531 | 128.2775
15:00 | 24.3913 | 28.027 | 3.076 | 10.22 | 238.8589 | 13.5078 | 13.5078 | 121.5701
15:10 | 24.1494 | 27.5847 | 3.076 | 10.22 | 225.6971 | 12.7635 | 12.7635 | 114.8712
15:20 | 23.8826 | 27.097 | 3.076 | 10.22 | 211.184 | 11.9427 | 11.9427 | 107.4846
15:30 | 23.6003 | 26.581 | 3.076 | 10.22 | 195.8312 | 11.0745 | 11.0745 | 99.6706
15:40 | 23.3151 | 26.0597 | 3.076 | 10.22 | 180.3196 | 10.1973 | 10.1973 | 91.7758
15:50 | 23.023 | 25.5257 | 3.076 | 10.22 | 164.4282 | 9.2986 | 9.2986 | 83.6877
16:00 | 22.7233 | 24.978 | 3.076 | 10.22 | 148.1302 | 8.377 | 8.377 | 75.3926
16:10 | 22.4018 | 24.3902 | 3.076 | 10.22 | 130.6403 | 7.3879 | 7.3879 | 66.4909
16:20 | 22.0783 | 23.7989 | 3.076 | 10.22 | 113.0429 | 6.3927 | 6.3927 | 57.5345
16:30 | 21.7599 | 23.217 | 3.076 | 10.22 | 95.7282 | 5.4136 | 5.4136 | 48.722
16:40 | 21.4282 | 22.6106 | 3.076 | 10.22 | 77.685 | 4.3932 | 4.3932 | 39.5387
16:50 | 21.109 | 22.0272 | 3.076 | 10.22 | 60.3242 | 3.4114 | 3.4114 | 30.7027
17:00 | 20.8063 | 21.4739 | 3.076 | 10.22 | 43.8586 | 2.4803 | 2.4803 | 22.3224
17:10 | 20.4828 | 20.8826 | 3.076 | 10.22 | 26.2627 | 1.4852 | 1.4852 | 13.3667
17:20 | 20.1854 | 20.339 | 3.076 | 10.22 | 10.0872 | 0.5704 | 0.5704 | 5.134
17:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
[5 empty] | Total Load | 679.6501
[5 empty] | max | 19.0205

## EPlus-ExtSolRad-East
EnergyPlus Results for ASHRAE 1052RP Analytical Test ExtSolRad
East oriented opaque surface exposed to solar radiation
Date | Time | Outdoor Dry Bulb Temperature | Environment:Diffuse Solar [W/m2](TimeStep) | Environment:Direct Solar [W/m2](TimeStep) | Environment:Ground Reflected Solar [W/m2](TimeStep) | ZONE ONE:Zone/Sys Sensible Heating Energy[J](TimeStep) | ZONE ONE:Zone/Sys Sensible Cooling Energy[J](TimeStep) | ZONE ONE:Mean Air Temperature[C](TimeStep) | ZONE ONE:Zone Transmitted Solar[W](TimeStep) | EnergyPlus - Surface Inside Temperature | EnergyPlus - Surface Outside Temperature | ZONE SURFACE EAST:Surface Int Convection Coeff[W/m2-K](TimeStep) | ZONE SURFACE EAST:Surface Ext Convection Coeff[W/m2-K](TimeStep) | EnergyPlus - Incident Solar | EnergyPlus - Zone Sensible Cooling Load
2001-08-21 | 6:10 | 20 | 0 | 78.6667 | 0 | 0 | 23058.9237 | 20 | 0 | 21.3882 | 22.5521 | 3.076 | 10.22 | 76.1397 | 4.2702
2001-08-21 | 6:20 | 20 | 0 | 98.3333 | 0 | 0 | 29150.1147 | 20 | 0 | 21.7549 | 23.2126 | 3.076 | 10.22 | 95.6492 | 5.3982
2001-08-21 | 6:30 | 20 | 0 | 118 | 0 | 0 | 35100.132 | 20 | 0 | 22.1131 | 23.8673 | 3.076 | 10.22 | 115.13 | 6.5
2001-08-21 | 6:40 | 20 | 0 | 190.8333 | 0 | 0 | 56743.4414 | 20 | 0 | 23.4161 | 26.2581 | 3.076 | 10.22 | 186.4051 | 10.508
2001-08-21 | 6:50 | 20 | 0 | 263.6667 | 0 | 0 | 78409.3479 | 20 | 0 | 24.7205 | 28.6423 | 3.076 | 10.22 | 257.3527 | 14.5202
2001-08-21 | 7:00 | 20 | 0 | 336.5 | 0 | 0 | 99853.0257 | 20 | 0 | 26.0115 | 31.002 | 3.076 | 10.22 | 327.5669 | 18.4913
2001-08-21 | 7:10 | 20 | 0 | 409.3333 | 0 | 0 | 120950.4378 | 20 | 0 | 27.2816 | 33.3234 | 3.076 | 10.22 | 396.6438 | 22.3982
2001-08-21 | 7:20 | 20 | 0 | 482.1667 | 0 | 0 | 141579.1781 | 20 | 0 | 28.5235 | 35.5932 | 3.076 | 10.22 | 464.1827 | 26.2184
2001-08-21 | 7:30 | 20 | 0 | 555 | 0 | 0 | 161618.1898 | 20 | 0 | 29.7299 | 37.7981 | 3.076 | 10.22 | 529.7872 | 29.9293
2001-08-21 | 7:40 | 20 | 0 | 587.5 | 0 | 0 | 169398.6211 | 20 | 0 | 30.1983 | 38.6477 | 3.076 | 10.22 | 554.9666 | 31.3701
2001-08-21 | 7:50 | 20 | 0 | 620 | 0 | 0 | 176555.8018 | 20 | 0 | 30.6292 | 39.4349 | 3.076 | 10.22 | 578.3847 | 32.6955
2001-08-21 | 8:00 | 20 | 0 | 652.5 | 0 | 0 | 183125.867 | 20 | 0 | 31.0248 | 40.1574 | 3.076 | 10.22 | 599.8806 | 33.9122
2001-08-21 | 8:10 | 20 | 0 | 685 | 0 | 0 | 189061.9175 | 20 | 0 | 31.3821 | 40.8102 | 3.076 | 10.22 | 619.2988 | 35.0115
2001-08-21 | 8:20 | 20 | 0 | 717.5 | 0 | 0 | 194318.2031 | 20 | 0 | 31.6986 | 41.3881 | 3.076 | 10.22 | 636.4895 | 35.9849
2001-08-21 | 8:30 | 20 | 0 | 750 | 0 | 0 | 198850.8727 | 20 | 0 | 31.9714 | 41.8863 | 3.076 | 10.22 | 651.3093 | 36.8242
2001-08-21 | 8:40 | 20 | 0 | 764.1667 | 0 | 0 | 197926.481 | 20 | 0 | 31.9158 | 41.7791 | 3.076 | 10.22 | 648.0732 | 36.6531
2001-08-21 | 8:50 | 20 | 0 | 778.3333 | 0 | 0 | 196391.3454 | 20 | 0 | 31.8234 | 41.6089 | 3.076 | 10.22 | 643.0044 | 36.3688
2001-08-21 | 9:00 | 20 | 0 | 792.5 | 0 | 0 | 194268.2759 | 20 | 0 | 31.6956 | 41.376 | 3.076 | 10.22 | 636.0675 | 35.9756
2001-08-21 | 9:10 | 20 | 0 | 806.6667 | 0 | 0 | 191577.5169 | 20 | 0 | 31.5336 | 41.0792 | 3.076 | 10.22 | 627.2317 | 35.4773
2001-08-21 | 9:20 | 20 | 0 | 820.8333 | 0 | 0 | 188299.2233 | 20 | 0 | 31.3362 | 40.7178 | 3.076 | 10.22 | 616.4713 | 34.8702
2001-08-21 | 9:30 | 20 | 0 | 835 | 0 | 0 | 184426.9344 | 20 | 0 | 31.1031 | 40.291 | 3.076 | 10.22 | 603.7655 | 34.1531
2001-08-21 | 9:40 | 20 | 0 | 842.1667 | 0 | 0 | 178472.3104 | 20 | 0 | 30.7446 | 39.6355 | 3.076 | 10.22 | 584.2425 | 33.0504
2001-08-21 | 9:50 | 20 | 0 | 849.3333 | 0 | 0 | 172044.1501 | 20 | 0 | 30.3576 | 38.9277 | 3.076 | 10.22 | 563.1775 | 31.86
2001-08-21 | 10:00 | 20 | 0 | 856.5 | 0 | 0 | 165151.5738 | 20 | 0 | 29.9426 | 38.1688 | 3.076 | 10.22 | 540.592 | 30.5836
2001-08-21 | 10:10 | 20 | 0 | 863.6667 | 0 | 0 | 157802.3384 | 20 | 0 | 29.5002 | 37.3597 | 3.076 | 10.22 | 516.5113 | 29.2227
2001-08-21 | 10:20 | 20 | 0 | 870.8333 | 0 | 0 | 150005.3102 | 20 | 0 | 29.0308 | 36.5013 | 3.076 | 10.22 | 490.9646 | 27.7788
2001-08-21 | 10:30 | 20 | 0 | 878 | 0 | 0 | 141770.4886 | 20 | 0 | 28.535 | 35.5948 | 3.076 | 10.22 | 463.9846 | 26.2538
2001-08-21 | 10:40 | 20 | 0 | 881.6667 | 0 | 0 | 132588.0956 | 20 | 0 | 27.9822 | 34.5836 | 3.076 | 10.22 | 433.8853 | 24.5534
2001-08-21 | 10:50 | 20 | 0 | 885.3333 | 0 | 0 | 123065.1185 | 20 | 0 | 27.4089 | 33.5353 | 3.076 | 10.22 | 402.6902 | 22.7898
2001-08-21 | 11:00 | 20 | 0 | 889 | 0 | 0 | 113223.4193 | 20 | 0 | 26.8164 | 32.452 | 3.076 | 10.22 | 370.452 | 20.9673
2001-08-21 | 11:10 | 20 | 0 | 892.6667 | 0 | 0 | 103065.6015 | 20 | 0 | 26.2049 | 31.3355 | 3.076 | 10.22 | 337.2261 | 19.0862
2001-08-21 | 11:20 | 20 | 0 | 896.3333 | 0 | 0 | 92637.4378 | 20 | 0 | 25.5771 | 30.1878 | 3.076 | 10.22 | 303.0701 | 17.1551
2001-08-21 | 11:30 | 20 | 0 | 900 | 0 | 0 | 81943.487 | 20 | 0 | 24.9333 | 29.0108 | 3.076 | 10.22 | 268.044 | 15.1747
2001-08-21 | 11:40 | 20 | 0 | 901.3333 | 0 | 0 | 70821.1059 | 20 | 0 | 24.2637 | 27.7866 | 3.076 | 10.22 | 231.6105 | 13.115
2001-08-21 | 11:50 | 20 | 0 | 902.6667 | 0 | 0 | 59528.4564 | 20 | 0 | 23.5838 | 26.5437 | 3.076 | 10.22 | 194.6266 | 11.0238
2001-08-21 | 12:00 | 20 | 0 | 904 | 0 | 0 | 48088.6418 | 20 | 0 | 22.8951 | 25.2847 | 3.076 | 10.22 | 157.1613 | 8.9053
2001-08-21 | 12:10 | 20 | 0 | 905.3333 | 0 | 0 | 36523.1471 | 20 | 0 | 22.1988 | 24.0119 | 3.076 | 10.22 | 119.285 | 6.7635
2001-08-21 | 12:20 | 20 | 0 | 906.6667 | 0 | 0 | 24853.7505 | 20 | 0 | 21.4963 | 22.7277 | 3.076 | 10.22 | 81.0692 | 4.6025
2001-08-21 | 12:30 | 20 | 0 | 908 | 0 | 0 | 13102.4933 | 20 | 0 | 20.7888 | 21.4345 | 3.076 | 10.22 | 42.5858 | 2.4264
2001-08-21 | 12:40 | 20 | 0 | 907.6667 | 0 | 0 | 1289.4694 | 20 | 0 | 20.0776 | 20.1344 | 3.076 | 10.22 | 3.9007 | 0.23879
2001-08-21 | 12:50 | 20 | 0 | 907.3333 | 0 | 0 | 26.4881 | 20 | 0 | 20.0016 | 20.0004 | 3.076 | 10.22 | 0 | 0.0049052
2001-08-21 | 13:00 | 20 | 0 | 907 | 0 | 0 | 11.2628 | 20 | 0 | 20.0007 | 20 | 3.076 | 10.22 | 0 | 0.0020857
2001-08-21 | 13:10 | 20 | 0 | 906.6667 | 0 | 0 | 4.78 | 20 | 0 | 20.0003 | 20 | 3.076 | 10.22 | 0 | 0.00088518
2001-08-21 | 13:20 | 20 | 0 | 906.3333 | 0 | 0 | 2.0227 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.00037457
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 0 | 0.84997 | 20 | 0 | 20.0001 | 20 | 3.076 | 10.22 | 0 | 0.0001574
2001-08-21 | 13:40 | 20 | 0 | 903.5 | 0 | 0 | 0.35118 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 6.5033e-05
2001-08-21 | 13:50 | 20 | 0 | 901 | 0 | 0 | 0.13902 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 2.5745e-05
2001-08-21 | 14:00 | 20 | 0 | 898.5 | 0 | 0 | 0.048789 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 9.0349e-06
2001-08-21 | 14:10 | 20 | 0 | 896 | 0 | 0 | 0.010407 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 1.9272e-06
2001-08-21 | 14:20 | 20 | 0 | 893.5 | 0 | 0.0059195 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 0.012864 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 14:40 | 20 | 0 | 886 | 0 | 0.015819 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 14:50 | 20 | 0 | 881 | 0 | 0.017076 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:00 | 20 | 0 | 876 | 0 | 0.017611 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:10 | 20 | 0 | 871 | 0 | 0.017839 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:20 | 20 | 0 | 866 | 0 | 0.017936 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:30 | 20 | 0 | 861 | 0 | 0.017977 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:40 | 20 | 0 | 851 | 0 | 0.017995 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 15:50 | 20 | 0 | 841 | 0 | 0.018002 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:00 | 20 | 0 | 831 | 0 | 0.018005 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:10 | 20 | 0 | 821 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:20 | 20 | 0 | 811 | 0 | 0.018007 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:30 | 20 | 0 | 801 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:40 | 20 | 0 | 780.6667 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 16:50 | 20 | 0 | 760.3333 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:00 | 20 | 0 | 740 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:10 | 20 | 0 | 719.6667 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:20 | 20 | 0 | 699.3333 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:30 | 20 | 0 | 679 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:40 | 20 | 0 | 626.5 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 17:50 | 20 | 0 | 574 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:00 | 20 | 0 | 521.5 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:10 | 20 | 0 | 469 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:20 | 20 | 0 | 416.5 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:30 | 20 | 0 | 364 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:40 | 20 | 0 | 304.1667 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 18:50 | 20 | 0 | 244.3333 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:00 | 20 | 0 | 184.5 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:10 | 20 | 0 | 124.6667 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0 | 0.018008 | 0 | 20 | 0 | 20 | 20 | 3.076 | 10.22 | 0 | 0
[9 empty] | Average for cooling hours |  |  | 3.076 | 10.22 |  | 903.09 | Total Load
[15 empty] | 36.8242 | max

## ASHRAE-ExtSolRad-East
ASHRAE 1052RP Toolkit Test ExtSolRad
Data taken from D:\ASHRAE 1052RP OUTPUTS
Time | ASHRAE 1052RP - Surface Inside Temperature | ASHRAE 1052RP - Surface Outside Temperature | H_in | H_out | ASHRAE 1052RP - Incident Solar | ASHRAE 1052RP - Zone Sensible Cooling Load | Flux_out | Load
6:10 | 20.0002 | 20.0003 | 3.076 | 10.22 | 0.01 | 0.0006 | 0.0006 | 0.0051
6:20 | 20.4156 | 20.7598 | 3.076 | 10.22 | 22.6083 | 1.2785 | 1.2785 | 11.5068
6:30 | 22.1545 | 23.9382 | 3.076 | 10.22 | 117.1904 | 6.6273 | 6.6273 | 59.6454
6:40 | 24.1774 | 27.636 | 3.076 | 10.22 | 227.2242 | 12.8498 | 12.8498 | 115.6485
6:50 | 25.9646 | 30.9027 | 3.076 | 10.22 | 324.4321 | 18.3471 | 18.3471 | 165.1236
7:00 | 27.4345 | 33.5896 | 3.076 | 10.22 | 404.3848 | 22.8685 | 22.8685 | 205.8165
7:10 | 28.6714 | 35.8506 | 3.076 | 10.22 | 471.6652 | 26.6733 | 26.6733 | 240.0596
7:20 | 29.6106 | 37.5673 | 3.076 | 10.22 | 522.7489 | 29.5621 | 29.5621 | 266.0592
7:30 | 30.387 | 38.9865 | 3.076 | 10.22 | 564.9797 | 31.9503 | 31.9503 | 287.5531
7:40 | 30.9898 | 40.0883 | 3.076 | 10.22 | 597.7665 | 33.8045 | 33.8045 | 304.2403
7:50 | 31.4279 | 40.8892 | 3.076 | 10.22 | 621.601 | 35.1524 | 35.1524 | 316.3712
8:00 | 31.7662 | 41.5075 | 3.076 | 10.22 | 639.9978 | 36.1927 | 36.1927 | 325.7345
8:10 | 31.9972 | 41.9298 | 3.076 | 10.22 | 652.5643 | 36.9034 | 36.9034 | 332.1304
8:20 | 32.1348 | 42.1813 | 3.076 | 10.22 | 660.0493 | 37.3267 | 37.3267 | 335.9399
8:30 | 32.1862 | 42.2752 | 3.076 | 10.22 | 662.8422 | 37.4846 | 37.4846 | 337.3614
8:40 | 32.1681 | 42.2423 | 3.076 | 10.22 | 661.8629 | 37.4292 | 37.4292 | 336.863
8:50 | 32.083 | 42.0867 | 3.076 | 10.22 | 657.2336 | 37.1674 | 37.1674 | 334.5069
9:00 | 31.9362 | 41.8183 | 3.076 | 10.22 | 649.2467 | 36.7158 | 36.7158 | 330.4418
9:10 | 31.7329 | 41.4467 | 3.076 | 10.22 | 638.1897 | 36.0905 | 36.0905 | 324.8142
9:20 | 31.4794 | 40.9834 | 3.076 | 10.22 | 624.4025 | 35.3108 | 35.3108 | 317.7971
9:30 | 31.1815 | 40.4387 | 3.076 | 10.22 | 608.1937 | 34.3942 | 34.3942 | 309.5474
9:40 | 30.8375 | 39.81 | 3.076 | 10.22 | 589.4849 | 33.3361 | 33.3361 | 300.0253
9:50 | 30.4502 | 39.102 | 3.076 | 10.22 | 568.4188 | 32.1448 | 32.1448 | 289.3035
10:00 | 30.0375 | 38.3476 | 3.076 | 10.22 | 545.97 | 30.8753 | 30.8753 | 277.8779
10:10 | 29.5658 | 37.4854 | 3.076 | 10.22 | 520.3117 | 29.4243 | 29.4243 | 264.8188
10:20 | 29.0923 | 36.62 | 3.076 | 10.22 | 494.5607 | 27.9681 | 27.9681 | 251.7125
10:30 | 28.5641 | 35.6544 | 3.076 | 10.22 | 465.8279 | 26.3432 | 26.3432 | 237.0886
10:40 | 28.0091 | 34.6399 | 3.076 | 10.22 | 435.6394 | 24.636 | 24.636 | 221.7238
10:50 | 27.4296 | 33.5807 | 3.076 | 10.22 | 404.1194 | 22.8535 | 22.8535 | 205.6814
11:00 | 26.848 | 32.5175 | 3.076 | 10.22 | 372.4826 | 21.0644 | 21.0644 | 189.5794
11:10 | 26.2135 | 31.3576 | 3.076 | 10.22 | 337.9689 | 19.1126 | 19.1126 | 172.0133
11:20 | 25.5824 | 30.2042 | 3.076 | 10.22 | 303.6449 | 17.1715 | 17.1715 | 154.5437
11:30 | 24.9297 | 29.0111 | 3.076 | 10.22 | 268.1439 | 15.1639 | 15.1639 | 136.475
11:40 | 24.2574 | 27.7822 | 3.076 | 10.22 | 231.5737 | 13.0958 | 13.0958 | 117.8622
11:50 | 23.5807 | 26.5452 | 3.076 | 10.22 | 194.7669 | 11.0143 | 11.0143 | 99.1289
12:00 | 22.8957 | 25.293 | 3.076 | 10.22 | 157.5048 | 8.9071 | 8.9071 | 80.1639
12:10 | 22.1919 | 24.0067 | 3.076 | 10.22 | 119.2269 | 6.7424 | 6.7424 | 60.6819
12:20 | 21.4849 | 22.7142 | 3.076 | 10.22 | 80.7666 | 4.5675 | 4.5675 | 41.1071
12:30 | 20.7676 | 21.403 | 3.076 | 10.22 | 41.7504 | 2.361 | 2.361 | 21.2494
12:40 | 20.054 | 20.0986 | 3.076 | 10.22 | 2.9352 | 0.166 | 0.166 | 1.4939
12:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
13:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
14:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
15:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
16:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
17:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:20 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:30 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:40 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
18:50 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:00 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
19:10 | 20 | 20 | 3.076 | 10.22 | 0 | 0 | 0 | 0
[5 empty] | Total Load | 931.0775
[5 empty] | max | 37.4846