## EPlus-SolRadGlazing-East
Date | Time | Environment:Site Outdoor Air Drybulb Temperature [C](TimeStep) | Environment:Site Diffuse Solar Radiation Rate per Area [W/m2](TimeStep) | Environment:Site Direct Solar Radiation Rate per Area [W/m2](TimeStep) | ZONE ONE:Zone Air System Sensible Heating Energy [J](TimeStep) | ZONE ONE:Zone Air System Sensible Cooling Energy [J](TimeStep) | ZONE ONE:Zone Mean Air Temperature [C](TimeStep) | ZONE ONE:Zone Windows Total Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | EnergyPlus - Incident Solar | ZONE SURFACE SOUTH:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Window Total Glazing Layers Absorbed Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Heat Gain Rate [W](TimeStep) | EnergyPlus - Window Heat Gain | ZONE ONE:Zone Transmitted Solar[W/m2](TimeStep) | ZONE SUBSURFACE 1:Window Heat Gain[W/m2](TimeStep)
2001-08-21 | 0:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:00 | 20 | 0 | 59 | 0 | 259910.899 | 20 | 425.4538 | 20.2837 | 20.2815 | 3.076 | 8.23 | 55.0181 | 0 | 30.6219 | 425.4538 | 433.3074 | 48.1316 | 47.2726 | 48.1453
2001-08-21 | 6:10 | 20 | 0 | 78.6667 | 0 | 349428.4925 | 20 | 571.6854 | 20.3903 | 20.3873 | 3.076 | 8.23 | 73.9094 | 0 | 41.0379 | 571.6854 | 582.4902 | 64.709 | 63.5206 | 64.7211
2001-08-21 | 6:20 | 20 | 0 | 98.3333 | 0 | 439370.044 | 20 | 718.7182 | 20.494 | 20.4902 | 3.076 | 8.23 | 92.9007 | 0 | 51.4866 | 718.7182 | 732.3931 | 81.3648 | 79.8576 | 81.377
2001-08-21 | 6:30 | 20 | 0 | 118 | 0 | 529274.0749 | 20 | 865.6994 | 20.5972 | 20.5927 | 3.076 | 8.23 | 111.8853 | 0 | 61.9295 | 865.6994 | 882.2328 | 98.0137 | 96.1888 | 98.0259
2001-08-21 | 6:40 | 20 | 0 | 190.8333 | 0 | 857706.8873 | 20 | 1402.5166 | 20.9785 | 20.9711 | 3.076 | 8.23 | 181.2543 | 0 | 100.2641 | 1402.5166 | 1429.6057 | 158.8346 | 155.8352 | 158.8451
2001-08-21 | 6:50 | 20 | 0 | 263.6667 | 0 | 1184888.7483 | 20 | 1937.4104 | 21.3567 | 21.3463 | 3.076 | 8.23 | 250.383 | 0 | 138.5137 | 1937.4104 | 1974.9663 | 219.4238 | 215.2678 | 219.4407
2001-08-21 | 7:00 | 20 | 0 | 336.5 | 0 | 1509017.9841 | 20 | 2467.2192 | 21.7325 | 21.7193 | 3.076 | 8.23 | 318.8766 | 0 | 176.5376 | 2467.2192 | 2515.1793 | 279.4478 | 274.1355 | 279.4644
2001-08-21 | 7:10 | 20 | 0 | 409.3333 | 0 | 1828149.218 | 20 | 2988.7985 | 22.1047 | 22.0886 | 3.076 | 8.23 | 386.3415 | 0 | 214.1866 | 2988.7985 | 3047.0614 | 338.5462 | 332.0887 | 338.5624
2001-08-21 | 7:20 | 20 | 0 | 482.1667 | 0 | 2140384.729 | 20 | 3499.0293 | 22.4716 | 22.4528 | 3.076 | 8.23 | 452.3872 | 0 | 251.2992 | 3499.0293 | 3567.4498 | 396.3675 | 388.781 | 396.3833
2001-08-21 | 7:30 | 20 | 0 | 555 | 0 | 2443840.6137 | 20 | 3994.8193 | 22.8316 | 22.81 | 3.076 | 8.23 | 516.627 | 0 | 287.7018 | 3994.8193 | 4073.2046 | 452.5631 | 443.8688 | 452.5783
2001-08-21 | 7:40 | 20 | 0 | 587.5 | 0 | 2560728.6413 | 20 | 4185.7324 | 22.9693 | 22.9467 | 3.076 | 8.23 | 541.5039 | 0 | 302.4514 | 4185.7324 | 4267.9289 | 474.209 | 465.0814 | 474.2143
2001-08-21 | 7:50 | 20 | 0 | 620 | 0 | 2669456.097 | 20 | 4363.1039 | 23.1079 | 23.0842 | 3.076 | 8.23 | 564.6982 | 0 | 316.4888 | 4363.1039 | 4449.1371 | 494.3437 | 484.7893 | 494.3486
2001-08-21 | 8:00 | 20 | 0 | 652.5 | 0 | 2769121.1599 | 20 | 4525.5542 | 23.2399 | 23.2152 | 3.076 | 8.23 | 586.0523 | 0 | 329.7489 | 4525.5542 | 4615.2409 | 512.8002 | 502.8394 | 512.8045
2001-08-21 | 8:10 | 20 | 0 | 685 | 0 | 2858856.8389 | 20 | 4671.6747 | 23.364 | 23.3383 | 3.076 | 8.23 | 605.4138 | 0 | 342.1869 | 4671.6747 | 4764.7954 | 529.4179 | 519.075 | 529.4217
2001-08-21 | 8:20 | 20 | 0 | 717.5 | 0 | 2937795.1013 | 20 | 4800.0296 | 23.4797 | 23.4532 | 3.076 | 8.23 | 622.6354 | 0 | 353.7773 | 4800.0296 | 4896.3539 | 544.0361 | 533.3366 | 544.0393
2001-08-21 | 8:30 | 20 | 0 | 750 | 0 | 3005068.8837 | 20 | 4909.1662 | 23.587 | 23.5596 | 3.076 | 8.23 | 637.5762 | 0 | 364.5071 | 4909.1662 | 5008.4591 | 556.4942 | 545.4629 | 556.4955
2001-08-21 | 8:40 | 20 | 0 | 764.1667 | 0 | 2988129.4959 | 20 | 4880.546 | 23.6 | 23.5725 | 3.076 | 8.23 | 634.8699 | 0 | 365.591 | 4880.546 | 4980.1988 | 553.3573 | 542.2829 | 553.3554
2001-08-21 | 8:50 | 20 | 0 | 778.3333 | 0 | 2961669.3377 | 20 | 4836.1966 | 23.6088 | 23.5813 | 3.076 | 8.23 | 630.3859 | 0 | 366.0633 | 4836.1966 | 4936.0939 | 548.4573 | 537.3552 | 548.4549
2001-08-21 | 9:00 | 20 | 0 | 792.5 | 0 | 2925346.3869 | 20 | 4775.5565 | 23.6123 | 23.5848 | 3.076 | 8.23 | 624.0884 | 0 | 365.8808 | 4775.5565 | 4875.5511 | 541.7308 | 530.6174 | 541.7279
2001-08-21 | 9:10 | 20 | 0 | 806.6667 | 0 | 2878854.1084 | 20 | 4698.1405 | 23.6095 | 23.582 | 3.076 | 8.23 | 615.9463 | 0 | 364.9507 | 4698.1405 | 4798.0565 | 533.1211 | 522.0156 | 533.1174
2001-08-21 | 9:20 | 20 | 0 | 820.8333 | 0 | 2821923.2897 | 20 | 4603.543 | 23.5991 | 23.5716 | 3.076 | 8.23 | 605.9332 | 0 | 363.1271 | 4603.543 | 4703.1698 | 522.5784 | 511.5048 | 522.5744
2001-08-21 | 9:30 | 20 | 0 | 835 | 0 | 2754330.3541 | 20 | 4491.4245 | 23.5795 | 23.5522 | 3.076 | 8.23 | 594.0279 | 0 | 360.2177 | 4491.4245 | 4590.5091 | 510.0612 | 499.0472 | 510.0566
2001-08-21 | 9:40 | 20 | 0 | 842.1667 | 0 | 2653535.9988 | 20 | 4325.5279 | 23.5005 | 23.4738 | 3.076 | 8.23 | 575.4308 | 0 | 353.0683 | 4325.5279 | 4422.4263 | 491.3956 | 480.6142 | 491.3807
2001-08-21 | 9:50 | 20 | 0 | 849.3333 | 0 | 2543840.229 | 20 | 4145.0781 | 23.4173 | 23.3912 | 3.076 | 8.23 | 555.3257 | 0 | 344.5851 | 4145.0781 | 4239.6729 | 471.0815 | 460.5642 | 471.0748
2001-08-21 | 10:00 | 20 | 0 | 856.5 | 0 | 2425182.6404 | 20 | 3949.9848 | 23.3207 | 23.2954 | 3.076 | 8.23 | 533.7328 | 0 | 334.6188 | 3949.9848 | 4041.9063 | 449.1079 | 438.8872 | 449.1007
2001-08-21 | 10:10 | 20 | 0 | 863.6667 | 0 | 2297383.9017 | 20 | 3740.0756 | 23.209 | 23.1845 | 3.076 | 8.23 | 510.6755 | 0 | 323.0938 | 3740.0756 | 3828.9045 | 425.4415 | 415.564 | 425.4338
2001-08-21 | 10:20 | 20 | 0 | 870.8333 | 0 | 2160294.8679 | 20 | 3515.1031 | 23.082 | 23.0585 | 3.076 | 8.23 | 486.1813 | 0 | 310.0306 | 3515.1031 | 3600.4188 | 400.0546 | 390.567 | 400.0465
2001-08-21 | 10:30 | 20 | 0 | 878 | 0 | 2013607.9443 | 20 | 3274.8048 | 22.9309 | 22.9085 | 3.076 | 8.23 | 460.2811 | 0 | 295.5509 | 3274.8048 | 3355.9365 | 372.8904 | 363.8672 | 372.8818
2001-08-21 | 10:40 | 20 | 0 | 881.6667 | 0 | 1850243.4748 | 20 | 3007.0931 | 22.7658 | 22.7447 | 3.076 | 8.23 | 431.2973 | 0 | 278.7509 | 3007.0931 | 3083.6549 | 342.6377 | 334.1215 | 342.6283
2001-08-21 | 10:50 | 20 | 0 | 885.3333 | 0 | 1678941.3411 | 20 | 2726.3926 | 22.5921 | 22.5724 | 3.076 | 8.23 | 401.2321 | 0 | 261.1232 | 2726.3926 | 2798.148 | 310.9151 | 302.9325 | 310.9053
2001-08-21 | 11:00 | 20 | 0 | 889 | 0 | 1500273.3255 | 20 | 2433.5901 | 22.4122 | 22.3938 | 3.076 | 8.23 | 370.136 | 0 | 242.8739 | 2433.5901 | 2500.365 | 277.8284 | 270.3989 | 277.8183
2001-08-21 | 11:10 | 20 | 0 | 892.6667 | 0 | 1315340.3806 | 20 | 2130.4961 | 22.2269 | 22.2099 | 3.076 | 8.23 | 338.0622 | 0 | 224.0845 | 2130.4961 | 2192.1409 | 243.5816 | 236.7218 | 243.5712
2001-08-21 | 11:20 | 20 | 0 | 896.3333 | 0 | 1125981.4066 | 20 | 1820.2054 | 22.0351 | 22.0196 | 3.076 | 8.23 | 305.0662 | 0 | 204.6333 | 1820.2054 | 1876.5411 | 208.5151 | 202.245 | 208.5046
2001-08-21 | 11:30 | 20 | 0 | 900 | 0 | 934970.2459 | 20 | 1507.4385 | 21.8333 | 21.8193 | 3.076 | 8.23 | 271.2058 | 0 | 184.1493 | 1507.4385 | 1558.1889 | 173.1426 | 167.4932 | 173.1321
2001-08-21 | 11:40 | 20 | 0 | 901.3333 | 0 | 744252.5756 | 20 | 1195.7048 | 21.6119 | 21.5996 | 3.076 | 8.23 | 235.9302 | 0 | 161.616 | 1195.7048 | 1240.327 | 137.8246 | 132.8561 | 137.8141
2001-08-21 | 11:50 | 20 | 0 | 902.6667 | 0 | 561732.7083 | 20 | 898.2356 | 21.3689 | 21.3585 | 3.076 | 8.23 | 200.0993 | 0 | 136.8846 | 898.2356 | 936.1319 | 104.0246 | 99.804 | 104.0147
2001-08-21 | 12:00 | 20 | 0 | 904 | 0 | 393474.4098 | 20 | 625.2664 | 21.0997 | 21.0913 | 3.076 | 8.23 | 163.7801 | 0 | 109.462 | 625.2664 | 655.7091 | 72.8656 | 69.474 | 72.8566
2001-08-21 | 12:10 | 20 | 0 | 905.3333 | 0 | 246393.1594 | 20 | 388.2896 | 20.8054 | 20.7992 | 3.076 | 8.23 | 127.0406 | 0 | 79.5107 | 388.2896 | 410.5846 | 45.6284 | 43.1433 | 45.6205
2001-08-21 | 12:20 | 20 | 0 | 906.6667 | 0 | 127697.3243 | 20 | 199.1797 | 20.4898 | 20.4861 | 3.076 | 8.23 | 89.95 | 0 | 48.5352 | 199.1797 | 212.7391 | 23.6477 | 22.1311 | 23.6377
2001-08-21 | 12:30 | 20 | 0 | 908 | 0 | 45017.3582 | 20 | 68.8747 | 20.2187 | 20.2171 | 3.076 | 8.23 | 52.5783 | 0 | 20.3066 | 68.8747 | 74.9298 | 8.3365 | 7.6527 | 8.3255
2001-08-21 | 12:40 | 20 | 0 | 907.6667 | 0 | 3933.881 | 20 | 5.5819 | 20.0324 | 20.0322 | 3.076 | 8.23 | 14.9687 | 0 | 2.025 | 5.5819 | 6.479 | 0.7285 | 0.62021 | 0.71989
2001-08-21 | 12:50 | 20 | 0 | 907.3333 | 0 | 314.4103 | 20 | 0 | 20.0162 | 20.0161 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.44837 | 0.058224 | 0 | 0.049819
2001-08-21 | 13:00 | 20 | 0 | 907 | 0 | 162.4389 | 20 | 0 | 20.0081 | 20.008 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.2239 | 0.030081 | 0 | 0.024878
2001-08-21 | 13:10 | 20 | 0 | 906.6667 | 0 | 84.3944 | 20 | 0 | 20.004 | 20.004 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.11166 | 0.015629 | 0 | 0.012407
2001-08-21 | 13:20 | 20 | 0 | 906.3333 | 0 | 44.0973 | 20 | 0 | 20.002 | 20.002 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.055543 | 0.0081662 | 0 | 0.0061715
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 23.1596 | 20 | 0 | 20.001 | 20.001 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.027484 | 0.0042888 | 0 | 0.0030538
2001-08-21 | 13:40 | 20 | 0 | 903.5 | 0 | 12.2021 | 20 | 0 | 20.0005 | 20.0005 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.013455 | 0.0022596 | 0 | 0.001495
2001-08-21 | 13:50 | 20 | 0 | 901 | 0 | 6.4208 | 20 | 0 | 20.0002 | 20.0002 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.0064399 | 0.001189 | 0 | 0.00071554
2001-08-21 | 14:00 | 20 | 0 | 898.5 | 0 | 3.3429 | 20 | 0 | 20.0001 | 20.0001 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.0029325 | 0.00061905 | 0 | 0.00032584
2001-08-21 | 14:10 | 20 | 0 | 896 | 0 | 1.6879 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.0011788 | 0.00031258 | 0 | 0.00013098
2001-08-21 | 14:20 | 20 | 0 | 893.5 | 0 | 0.78868 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0.00030201 | 0.00014605 | 0 | 3.3557e-05
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 0.2946 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 5.4556e-05 | 0 | 0
2001-08-21 | 14:40 | 20 | 0 | 886 | 0 | 0.020043 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 3.7117e-06 | 0 | 0
2001-08-21 | 14:50 | 20 | 0 | 881 | 0.13428 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:00 | 20 | 0 | 876 | 0.22198 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:10 | 20 | 0 | 871 | 0.27237 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:20 | 20 | 0 | 866 | 0.3016 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:30 | 20 | 0 | 861 | 0.31872 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:40 | 20 | 0 | 851 | 0.32883 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 15:50 | 20 | 0 | 841 | 0.33485 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:00 | 20 | 0 | 831 | 0.33845 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:10 | 20 | 0 | 821 | 0.34062 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:20 | 20 | 0 | 811 | 0.34193 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:30 | 20 | 0 | 801 | 0.34273 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:40 | 20 | 0 | 780.6667 | 0.34321 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 16:50 | 20 | 0 | 760.3333 | 0.34351 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:00 | 20 | 0 | 740 | 0.34369 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:10 | 20 | 0 | 719.6667 | 0.3438 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:20 | 20 | 0 | 699.3333 | 0.34387 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:30 | 20 | 0 | 679 | 0.34392 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:40 | 20 | 0 | 626.5 | 0.34394 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 17:50 | 20 | 0 | 574 | 0.34396 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:00 | 20 | 0 | 521.5 | 0.34397 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:10 | 20 | 0 | 469 | 0.34397 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:20 | 20 | 0 | 416.5 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:30 | 20 | 0 | 364 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:40 | 20 | 0 | 304.1667 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 18:50 | 20 | 0 | 244.3333 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:00 | 20 | 0 | 184.5 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:10 | 20 | 0 | 124.6667 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 64.8333 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 5 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 56634.5 | [8 empty] | 15825.6887 |  |  |  |  | 13017.7781 |  | 13017.7201
[8 empty] | Average during solar hours |  |  | 3.076 |  |  | 0 | [5 empty] | 556.4955

## ASHRAE-SolRadGlazing-East
ASHRAE 1052RP Toolkit Output
Data taken from D:\ASHRAE 1052RP OUTPUTS
Test SolRadGlazing-East
|  |  |  | Solar_flux | Flux_Tol
Time | Ts | H_in | H_out | ASHRAE 1052RP - Incident Solar | ASHRAE 1052RP - Window Heat Gain | Load
6:10 | 20 | 3.076 | 8.23 | 0.01 | 0.009 | 0.0808
6:20 | 20.0459 | 3.076 | 8.23 | 22.6083 | 20.3903 | 183.5128
6:30 | 20.2378 | 3.076 | 8.23 | 117.1904 | 105.6975 | 951.2771
6:40 | 20.4609 | 3.076 | 8.23 | 227.2242 | 204.9425 | 1844.4828
6:50 | 20.6583 | 3.076 | 8.23 | 324.4321 | 292.616 | 2633.5444
7:00 | 20.8214 | 3.076 | 8.23 | 404.3848 | 364.7158 | 3282.4423
7:10 | 20.96 | 3.076 | 8.23 | 471.6652 | 425.3684 | 3828.316
7:20 | 21.0666 | 3.076 | 8.23 | 522.7489 | 471.3951 | 4242.5555
7:30 | 21.1569 | 3.076 | 8.23 | 564.9797 | 509.404 | 4584.6356
7:40 | 21.2292 | 3.076 | 8.23 | 597.7665 | 538.8575 | 4849.7175
7:50 | 21.2843 | 3.076 | 8.23 | 621.601 | 560.1966 | 5041.7693
8:00 | 21.3299 | 3.076 | 8.23 | 639.9978 | 576.5614 | 5189.053
8:10 | 21.3648 | 3.076 | 8.23 | 652.5643 | 587.5892 | 5288.3029
8:20 | 21.3904 | 3.076 | 8.23 | 660.0493 | 593.9365 | 5345.4285
8:30 | 21.4067 | 3.076 | 8.23 | 662.8422 | 595.9553 | 5363.5975
8:40 | 21.4166 | 3.076 | 8.23 | 661.8629 | 594.4059 | 5349.6532
8:50 | 21.4194 | 3.076 | 8.23 | 657.2336 | 589.3907 | 5304.5161
9:00 | 21.4153 | 3.076 | 8.23 | 649.2467 | 581.169 | 5230.5214
9:10 | 21.4054 | 3.076 | 8.23 | 638.1897 | 569.9025 | 5129.1228
9:20 | 21.3894 | 3.076 | 8.23 | 624.4025 | 555.9248 | 5003.3235
9:30 | 21.3679 | 3.076 | 8.23 | 608.1937 | 539.449 | 4855.0409
9:40 | 21.3406 | 3.076 | 8.23 | 589.4849 | 520.3377 | 4683.0396
9:50 | 21.3075 | 3.076 | 8.23 | 568.4188 | 498.6646 | 4487.9813
10:00 | 21.2701 | 3.076 | 8.23 | 545.97 | 475.3793 | 4278.4139
10:10 | 21.2249 | 3.076 | 8.23 | 520.3117 | 448.4989 | 4036.4903
10:20 | 21.1772 | 3.076 | 8.23 | 494.5607 | 421.2571 | 3791.314
10:30 | 21.1217 | 3.076 | 8.23 | 465.8279 | 390.5303 | 3514.7728
10:40 | 21.0607 | 3.076 | 8.23 | 435.6394 | 357.9355 | 3221.4193
10:50 | 20.9946 | 3.076 | 8.23 | 404.1194 | 323.5954 | 2912.3585
11:00 | 20.9257 | 3.076 | 8.23 | 372.4826 | 288.9602 | 2600.6417
11:10 | 20.8478 | 3.076 | 8.23 | 337.9689 | 251.1275 | 2260.1475
11:20 | 20.7679 | 3.076 | 8.23 | 303.6449 | 213.7839 | 1924.0553
11:30 | 20.6828 | 3.076 | 8.23 | 268.1439 | 175.8818 | 1582.9364
11:40 | 20.5927 | 3.076 | 8.23 | 231.5737 | 138.2429 | 1244.1858
11:50 | 20.4999 | 3.076 | 8.23 | 194.7669 | 102.6745 | 924.0702
12:00 | 20.4041 | 3.076 | 8.23 | 157.5048 | 70.1191 | 631.0719
12:10 | 20.3041 | 3.076 | 8.23 | 119.2269 | 41.6488 | 374.8393
12:20 | 20.2025 | 3.076 | 8.23 | 80.7666 | 19.5663 | 176.0968
12:30 | 20.099 | 3.076 | 8.23 | 41.7504 | 5.2263 | 47.0371
12:40 | 20.0029 | 3.076 | 8.23 | 2.9352 | 0.0199 | 0.1792
12:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
13:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
14:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
15:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
16:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
|  |  |  | 16464.2914 | 14021.327
595.9553