## EPlus-SolRadGlazing
Date | Time | Environment:Site Outdoor Air Drybulb Temperature [C](TimeStep) | Environment:Site Diffuse Solar Radiation Rate per Area [W/m2](TimeStep) | Environment:Site Direct Solar Radiation Rate per Area [W/m2](TimeStep) | ZONE ONE:Zone Air System Sensible Heating Energy [J](TimeStep) | ZONE ONE:Zone Air System Sensible Cooling Energy [J](TimeStep) | ZONE ONE:Zone Mean Air Temperature [C](TimeStep) | ZONE ONE:Zone Windows Total Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Temperature [C](TimeStep) | ZONE SUBSURFACE 1:Surface Inside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | EnergyPlus - Incident Solar | ZONE SURFACE SOUTH:Surface Outside Face Convection Heat Transfer Coefficient [W/m2-K](TimeStep) | ZONE SUBSURFACE 1:Surface Window Total Glazing Layers Absorbed Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Transmitted Solar Radiation Rate [W](TimeStep) | ZONE SUBSURFACE 1:Surface Window Heat Gain Rate [W](TimeStep) | EnergyPlus - Zone Sensible Cooling Load | ZONE ONE:Zone Transmitted Solar[W/m2](TimeStep) | EnergyPlus - Window Heat Gain
2001-08-21 | 0:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 0:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 1:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 2:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 3:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 4:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 5:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:10 | 20 | 0 | 78.6667 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:20 | 20 | 0 | 98.3333 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:30 | 20 | 0 | 118 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:40 | 20 | 0 | 190.8333 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 6:50 | 20 | 0 | 263.6667 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:00 | 20 | 0 | 336.5 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:10 | 20 | 0 | 409.3333 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:20 | 20 | 0 | 482.1667 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:30 | 20 | 0 | 555 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:40 | 20 | 0 | 587.5 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 7:50 | 20 | 0 | 620 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 8:00 | 20 | 0 | 652.5 | 0 | 213.9316 | 20 | 0.43799 | 20.0008 | 20.0008 | 3.076 | 8.23 | 3.5603 | 8.23 | 0.16842 | 0.43799 | 0.46045 | 0.039617 | 0.048665 | 0.051161
2001-08-21 | 8:10 | 20 | 0 | 685 | 0 | 7358.8662 | 20 | 11.7956 | 20.0204 | 20.0202 | 3.076 | 8.23 | 18.8874 | 8.23 | 4.0415 | 11.7956 | 12.3594 | 1.3628 | 1.3106 | 1.3733
2001-08-21 | 8:20 | 20 | 0 | 717.5 | 0 | 25428.6402 | 20 | 39.4926 | 20.1075 | 20.1067 | 3.076 | 8.23 | 35.3712 | 8.23 | 12.1399 | 39.4926 | 42.4688 | 4.709 | 4.3881 | 4.7188
2001-08-21 | 8:30 | 20 | 0 | 750 | 0 | 54116.8128 | 20 | 84.308 | 20.2158 | 20.2142 | 3.076 | 8.23 | 52.9427 | 8.23 | 23.4043 | 84.308 | 90.2822 | 10.0216 | 9.3676 | 10.0314
2001-08-21 | 8:40 | 20 | 0 | 764.1667 | 0 | 91367.3365 | 20 | 143.0098 | 20.339 | 20.3364 | 3.076 | 8.23 | 69.8521 | 8.23 | 36.0812 | 143.0098 | 152.3935 | 16.9199 | 15.89 | 16.9326
2001-08-21 | 8:50 | 20 | 0 | 778.3333 | 0 | 137019.5336 | 20 | 215.4354 | 20.4722 | 20.4686 | 3.076 | 8.23 | 86.9521 | 8.23 | 49.7077 | 215.4354 | 228.5072 | 25.374 | 23.9373 | 25.3897
2001-08-21 | 9:00 | 20 | 0 | 792.5 | 0 | 190177.8026 | 20 | 300.1758 | 20.6101 | 20.6054 | 3.076 | 8.23 | 104.1905 | 8.23 | 63.7279 | 300.1758 | 317.0649 | 35.2181 | 33.3529 | 35.2294
2001-08-21 | 9:10 | 20 | 0 | 806.6667 | 0 | 249768.771 | 20 | 395.671 | 20.7486 | 20.7429 | 3.076 | 8.23 | 121.5133 | 8.23 | 77.7588 | 395.671 | 416.3959 | 46.2535 | 43.9634 | 46.2662
2001-08-21 | 9:20 | 20 | 0 | 820.8333 | 0 | 314797.7857 | 20 | 500.2826 | 20.8852 | 20.8785 | 3.076 | 8.23 | 138.8657 | 8.23 | 91.5506 | 500.2826 | 524.7885 | 58.2959 | 55.587 | 58.3098
2001-08-21 | 9:30 | 20 | 0 | 835 | 0 | 384243.0936 | 20 | 612.3529 | 21.0182 | 21.0104 | 3.076 | 8.23 | 156.1916 | 8.23 | 104.9522 | 612.3529 | 640.5395 | 71.1561 | 68.0392 | 71.1711
2001-08-21 | 9:40 | 20 | 0 | 842.1667 | 0 | 453395.0502 | 20 | 724.2309 | 21.1382 | 21.1295 | 3.076 | 8.23 | 172.0043 | 8.23 | 116.9114 | 724.2309 | 755.7405 | 83.962 | 80.4701 | 83.9712
2001-08-21 | 9:50 | 20 | 0 | 849.3333 | 0 | 523874.8669 | 20 | 838.5821 | 21.2508 | 21.2413 | 3.076 | 8.23 | 187.4452 | 8.23 | 128.1967 | 838.5821 | 873.2084 | 97.0139 | 93.1758 | 97.0232
2001-08-21 | 10:00 | 20 | 0 | 856.5 | 0 | 594848.4204 | 20 | 953.9382 | 21.3568 | 21.3464 | 3.076 | 8.23 | 202.4721 | 8.23 | 138.8248 | 953.9382 | 991.4982 | 110.1571 | 105.9931 | 110.1665
2001-08-21 | 10:10 | 20 | 0 | 863.6667 | 0 | 665524.4345 | 20 | 1068.9702 | 21.4565 | 21.4454 | 3.076 | 8.23 | 217.0426 | 8.23 | 148.8262 | 1068.9702 | 1109.2911 | 123.2453 | 118.7745 | 123.2546
2001-08-21 | 10:20 | 20 | 0 | 870.8333 | 0 | 735194.2627 | 20 | 1182.4876 | 21.5503 | 21.5385 | 3.076 | 8.23 | 231.1152 | 8.23 | 158.2362 | 1182.4876 | 1225.4062 | 136.1471 | 131.3875 | 136.1562
2001-08-21 | 10:30 | 20 | 0 | 878 | 0 | 803228.3381 | 20 | 1293.4319 | 21.6386 | 21.6261 | 3.076 | 8.23 | 244.6487 | 8.23 | 167.0885 | 1293.4319 | 1338.7942 | 148.746 | 143.7147 | 148.7549
2001-08-21 | 10:40 | 20 | 0 | 881.6667 | 0 | 865649.422 | 20 | 1395.3284 | 21.7156 | 21.7025 | 3.076 | 8.23 | 256.5841 | 8.23 | 174.7178 | 1395.3284 | 1442.8223 | 160.3054 | 155.0365 | 160.3136
2001-08-21 | 10:50 | 20 | 0 | 885.3333 | 0 | 924933.4813 | 20 | 1492.1721 | 21.7864 | 21.7728 | 3.076 | 8.23 | 267.8198 | 8.23 | 181.7888 | 1492.1721 | 1541.6251 | 171.284 | 165.7969 | 171.2917
2001-08-21 | 11:00 | 20 | 0 | 889 | 0 | 980551.7138 | 20 | 1583.3143 | 21.8424 | 21.8284 | 3.076 | 8.23 | 278.3266 | 8.23 | 188.3225 | 1583.3143 | 1634.3177 | 181.5837 | 175.9238 | 181.5909
2001-08-21 | 11:10 | 20 | 0 | 892.6667 | 0 | 1032458.6415 | 20 | 1668.2003 | 21.901 | 21.8865 | 3.076 | 8.23 | 288.0765 | 8.23 | 194.3323 | 1668.2003 | 1720.8244 | 191.196 | 185.3556 | 191.2027
2001-08-21 | 11:20 | 20 | 0 | 896.3333 | 0 | 1080274.65 | 20 | 1746.3562 | 21.9563 | 21.9414 | 3.076 | 8.23 | 297.0427 | 8.23 | 199.8256 | 1746.3562 | 1800.5126 | 200.0509 | 194.0396 | 200.057
2001-08-21 | 11:30 | 20 | 0 | 900 | 0 | 1123732.8766 | 20 | 1817.3765 | 22.0071 | 21.9917 | 3.076 | 8.23 | 305.1998 | 8.23 | 204.8044 | 1817.3765 | 1872.9374 | 208.0987 | 201.9307 | 208.1042
2001-08-21 | 11:40 | 20 | 0 | 901.3333 | 0 | 1159640.2245 | 20 | 1876.0568 | 22.0488 | 22.0332 | 3.076 | 8.23 | 311.717 | 8.23 | 208.7266 | 1876.0568 | 1932.7736 | 214.7482 | 208.4508 | 214.7526
2001-08-21 | 11:50 | 20 | 0 | 902.6667 | 0 | 1190624.2533 | 20 | 1926.7072 | 22.0843 | 22.0685 | 3.076 | 8.23 | 317.3521 | 8.23 | 212.1122 | 1926.7072 | 1984.4075 | 220.486 | 214.0786 | 220.4897
2001-08-21 | 12:00 | 20 | 0 | 904 | 0 | 1216416.1588 | 20 | 1969.1342 | 22.1043 | 22.0883 | 3.076 | 8.23 | 322.0912 | 8.23 | 214.9588 | 1969.1342 | 2027.3878 | 225.2623 | 218.7927 | 225.2653
2001-08-21 | 12:10 | 20 | 0 | 905.3333 | 0 | 1237380.5101 | 20 | 2003.1806 | 22.1364 | 22.1201 | 3.076 | 8.23 | 325.922 | 8.23 | 217.2635 | 2003.1806 | 2062.322 | 229.1445 | 222.5756 | 229.1469
2001-08-21 | 12:20 | 20 | 0 | 906.6667 | 0 | 1252934.0576 | 20 | 2028.72 | 22.1504 | 22.134 | 3.076 | 8.23 | 328.8343 | 8.23 | 219.0225 | 2028.72 | 2088.2499 | 232.0248 | 225.4133 | 232.0278
2001-08-21 | 12:30 | 20 | 0 | 908 | 0 | 1263316.1335 | 20 | 2045.6533 | 22.1634 | 22.1469 | 3.076 | 8.23 | 330.8191 | 8.23 | 220.2322 | 2045.6533 | 2105.5429 | 233.9474 | 227.2948 | 233.9492
2001-08-21 | 12:40 | 20 | 0 | 907.6667 | 0 | 1266146.505 | 20 | 2050.1411 | 22.1712 | 22.1546 | 3.076 | 8.23 | 331.2613 | 8.23 | 220.4845 | 2050.1411 | 2110.245 | 234.4716 | 227.7935 | 234.4717
2001-08-21 | 12:50 | 20 | 0 | 907.3333 | 0 | 1263654.9295 | 20 | 2045.9087 | 22.1736 | 22.157 | 3.076 | 8.23 | 330.7653 | 8.23 | 220.1822 | 2045.9087 | 2106.0785 | 234.0102 | 227.3232 | 234.0087
2001-08-21 | 13:00 | 20 | 0 | 907 | 0 | 1255848.5993 | 20 | 2032.9748 | 22.1705 | 22.154 | 3.076 | 8.23 | 329.3328 | 8.23 | 219.3263 | 2032.9748 | 2093.0605 | 232.5646 | 225.8861 | 232.5623
2001-08-21 | 13:10 | 20 | 0 | 906.6667 | 0 | 1242757.6578 | 20 | 2011.3807 | 22.162 | 22.1456 | 3.076 | 8.23 | 326.9674 | 8.23 | 217.9181 | 2011.3807 | 2071.2317 | 230.1403 | 223.4867 | 230.1369
2001-08-21 | 13:20 | 20 | 0 | 906.3333 | 0 | 1224411.1349 | 20 | 1981.192 | 22.1481 | 22.1317 | 3.076 | 8.23 | 323.6745 | 8.23 | 215.9593 | 1981.192 | 2040.6577 | 226.7428 | 220.1324 | 226.7397
2001-08-21 | 13:30 | 20 | 0 | 906 | 0 | 1200878.9941 | 20 | 1942.501 | 22.1288 | 22.1125 | 3.076 | 8.23 | 319.4609 | 8.23 | 213.4517 | 1942.501 | 2001.4312 | 222.385 | 215.8334 | 222.3812
2001-08-21 | 13:40 | 20 | 0 | 903.5 | 0 | 1169242.8259 | 20 | 1890.8962 | 22.0879 | 22.072 | 3.076 | 8.23 | 313.5836 | 8.23 | 209.8935 | 1890.8962 | 1948.6945 | 216.5264 | 210.0996 | 216.5216
2001-08-21 | 13:50 | 20 | 0 | 901 | 0 | 1132834.8229 | 20 | 1831.3319 | 22.0474 | 22.0318 | 3.076 | 8.23 | 306.8334 | 8.23 | 205.8055 | 1831.3319 | 1888.0086 | 209.7842 | 203.4813 | 209.7787
2001-08-21 | 14:00 | 20 | 0 | 898.5 | 0 | 1091742.908 | 20 | 1764.0669 | 22.003 | 21.9878 | 3.076 | 8.23 | 299.2289 | 8.23 | 201.1906 | 1764.0669 | 1819.5164 | 202.1746 | 196.0074 | 202.1685
2001-08-21 | 14:10 | 20 | 0 | 896 | 0 | 1046133.8067 | 20 | 1689.408 | 21.9538 | 21.9389 | 3.076 | 8.23 | 290.7904 | 8.23 | 196.0491 | 1689.408 | 1743.4958 | 193.7285 | 187.712 | 193.7218
2001-08-21 | 14:20 | 20 | 0 | 893.5 | 0 | 996221.1736 | 20 | 1607.7192 | 21.8995 | 21.885 | 3.076 | 8.23 | 281.5396 | 8.23 | 190.3775 | 1607.7192 | 1660.3029 | 184.4854 | 178.6355 | 184.4781
2001-08-21 | 14:30 | 20 | 0 | 891 | 0 | 942262.0747 | 20 | 1519.4327 | 21.8399 | 21.8259 | 3.076 | 8.23 | 271.4996 | 8.23 | 184.1676 | 1519.4327 | 1570.3662 | 174.493 | 168.8259 | 174.4851
2001-08-21 | 14:40 | 20 | 0 | 886 | 0 | 881906.0533 | 20 | 1421.0516 | 21.7597 | 21.7463 | 3.076 | 8.23 | 259.9617 | 8.23 | 176.9055 | 1421.0516 | 1469.7654 | 163.3159 | 157.8946 | 163.3073
2001-08-21 | 14:50 | 20 | 0 | 881 | 0 | 818630.9976 | 20 | 1317.7338 | 21.6823 | 21.6694 | 3.076 | 8.23 | 247.7462 | 8.23 | 169.1072 | 1317.7338 | 1364.3034 | 151.5983 | 146.4149 | 151.5893
2001-08-21 | 15:00 | 20 | 0 | 876 | 0 | 752775.9749 | 20 | 1210.2414 | 21.6003 | 21.5881 | 3.076 | 8.23 | 234.887 | 8.23 | 160.7482 | 1210.2414 | 1254.5421 | 139.403 | 134.4713 | 139.3936
2001-08-21 | 15:10 | 20 | 0 | 871 | 0 | 684848.407 | 20 | 1099.4529 | 21.5126 | 21.5011 | 3.076 | 8.23 | 221.4188 | 8.23 | 151.7965 | 1099.4529 | 1141.3272 | 126.8238 | 122.1614 | 126.8141
2001-08-21 | 15:20 | 20 | 0 | 866 | 0 | 615445.309 | 20 | 986.3768 | 21.4188 | 21.408 | 3.076 | 8.23 | 207.3773 | 8.23 | 142.2138 | 986.3768 | 1025.6538 | 113.9714 | 109.5974 | 113.9615
2001-08-21 | 15:30 | 20 | 0 | 861 | 0 | 545249.8085 | 20 | 872.1631 | 21.3184 | 21.3084 | 3.076 | 8.23 | 192.7991 | 8.23 | 131.9586 | 872.1631 | 908.6607 | 100.9722 | 96.907 | 100.9623
2001-08-21 | 15:40 | 20 | 0 | 851 | 0 | 472279.6155 | 20 | 753.6849 | 21.2049 | 21.1957 | 3.076 | 8.23 | 176.6833 | 8.23 | 120.2855 | 753.6849 | 787.0407 | 87.4592 | 83.7428 | 87.449
2001-08-21 | 15:50 | 20 | 0 | 841 | 0 | 400925.0809 | 20 | 638.0959 | 21.0845 | 21.0762 | 3.076 | 8.23 | 160.2763 | 8.23 | 108.0031 | 638.0959 | 668.1189 | 74.2454 | 70.8995 | 74.2354
2001-08-21 | 16:00 | 20 | 0 | 831 | 0 | 332179.3834 | 20 | 526.9713 | 20.9581 | 20.9508 | 3.076 | 8.23 | 143.6271 | 8.23 | 95.1248 | 526.9713 | 553.4949 | 61.5147 | 58.5524 | 61.4994
2001-08-21 | 16:10 | 20 | 0 | 821 | 0 | 266993.918 | 20 | 421.9858 | 20.8263 | 20.82 | 3.076 | 8.23 | 126.7844 | 8.23 | 81.7076 | 421.9858 | 444.8601 | 49.4433 | 46.8873 | 49.4289
2001-08-21 | 16:20 | 20 | 0 | 811 | 0 | 206468.2097 | 20 | 324.8867 | 20.6902 | 20.6849 | 3.076 | 8.23 | 109.7966 | 8.23 | 67.8755 | 324.8867 | 343.9937 | 38.2349 | 36.0985 | 38.2215
2001-08-21 | 16:30 | 20 | 0 | 801 | 0 | 151704.4913 | 20 | 237.4543 | 20.5519 | 20.5477 | 3.076 | 8.23 | 92.7119 | 8.23 | 53.8497 | 237.4543 | 252.7329 | 28.0934 | 26.3838 | 28.0814
2001-08-21 | 16:40 | 20 | 0 | 780.6667 | 0 | 102306.0746 | 20 | 159.3379 | 20.4001 | 20.397 | 3.076 | 8.23 | 74.5904 | 8.23 | 39.4632 | 159.3379 | 170.4138 | 18.9456 | 17.7042 | 18.9349
2001-08-21 | 16:50 | 20 | 0 | 760.3333 | 0 | 62209.7919 | 20 | 95.9237 | 20.2757 | 20.2736 | 3.076 | 8.23 | 56.8943 | 8.23 | 26.1073 | 95.9237 | 103.5573 | 11.5203 | 10.6582 | 11.5064
2001-08-21 | 17:00 | 20 | 0 | 740 | 0 | 31617.2771 | 20 | 48.176 | 20.1598 | 20.1586 | 3.076 | 8.23 | 39.6847 | 8.23 | 14.5003 | 48.176 | 52.6008 | 5.8551 | 5.3529 | 5.8445
2001-08-21 | 17:10 | 20 | 0 | 719.6667 | 0 | 11204.7572 | 20 | 16.6834 | 20.0683 | 20.0678 | 3.076 | 8.23 | 23.0198 | 8.23 | 5.5895 | 16.6834 | 18.574 | 2.075 | 1.8537 | 2.0638
2001-08-21 | 17:20 | 20 | 0 | 699.3333 | 0 | 1339.4759 | 20 | 1.5618 | 20.0214 | 20.0212 | 3.076 | 8.23 | 6.9556 | 8.23 | 0.58641 | 1.5618 | 2.1543 | 0.24805 | 0.17353 | 0.23937
2001-08-21 | 17:30 | 20 | 0 | 679 | 0 | 233.0103 | 20 | 0 | 20.0107 | 20.0106 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.29599 | 0.04315 | 0 | 0.032888
2001-08-21 | 17:40 | 20 | 0 | 626.5 | 0 | 122.9339 | 20 | 0 | 20.0053 | 20.0053 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.14771 | 0.022766 | 0 | 0.016412
2001-08-21 | 17:50 | 20 | 0 | 574 | 0 | 65.3817 | 20 | 0 | 20.0027 | 20.0026 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.073566 | 0.012108 | 0 | 0.008174
2001-08-21 | 18:00 | 20 | 0 | 521.5 | 0 | 35.049 | 20 | 0 | 20.0013 | 20.0013 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.036495 | 0.0064906 | 0 | 0.0040551
2001-08-21 | 18:10 | 20 | 0 | 469 | 0 | 18.919 | 20 | 0 | 20.0006 | 20.0006 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.01796 | 0.0035035 | 0 | 0.0019956
2001-08-21 | 18:20 | 20 | 0 | 416.5 | 0 | 10.2574 | 20 | 0 | 20.0003 | 20.0003 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.0086927 | 0.0018995 | 0 | 0.00096585
2001-08-21 | 18:30 | 20 | 0 | 364 | 0 | 5.5571 | 20 | 0 | 20.0001 | 20.0001 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.0040589 | 0.0010291 | 0 | 0.00045099
2001-08-21 | 18:40 | 20 | 0 | 304.1667 | 0 | 2.9783 | 20 | 0 | 20.0001 | 20.0001 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.001742 | 0.00055154 | 0 | 0.00019356
2001-08-21 | 18:50 | 20 | 0 | 244.3333 | 0 | 1.5473 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0.00058361 | 0.00028654 | 0 | 6.4845e-05
2001-08-21 | 19:00 | 20 | 0 | 184.5 | 0 | 0.74417 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 4.3956e-06 | 0.00013781 | 0 | 4.884e-07
2001-08-21 | 19:10 | 20 | 0 | 124.6667 | 0 | 0.28831 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 5.3392e-05 | 0 | 0
2001-08-21 | 19:20 | 20 | 0 | 0 | 0 | 0.026785 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 4.9601e-06 | 0 | 0
2001-08-21 | 19:30 | 20 | 0 | 0 | 0.12478 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:40 | 20 | 0 | 0 | 0.21345 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 19:50 | 20 | 0 | 0 | 0.26575 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:00 | 20 | 0 | 0 | 0.29684 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:10 | 20 | 0 | 0 | 0.31545 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:20 | 20 | 0 | 0 | 0.32664 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:30 | 20 | 0 | 0 | 0.33341 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:40 | 20 | 0 | 0 | 0.33752 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 20:50 | 20 | 0 | 0 | 0.34002 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:00 | 20 | 0 | 0 | 0.34155 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:10 | 20 | 0 | 0 | 0.34249 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:20 | 20 | 0 | 0 | 0.34306 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:30 | 20 | 0 | 0 | 0.34342 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:40 | 20 | 0 | 0 | 0.34363 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 21:50 | 20 | 0 | 0 | 0.34377 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:00 | 20 | 0 | 0 | 0.34385 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:10 | 20 | 0 | 0 | 0.3439 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:20 | 20 | 0 | 0 | 0.34393 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:30 | 20 | 0 | 0 | 0.34395 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:40 | 20 | 0 | 0 | 0.34396 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 22:50 | 20 | 0 | 0 | 0.34397 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:10 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:20 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:30 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:40 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 23:50 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
2001-08-21 | 24:00 | 20 | 0 | 0 | 0.34398 | 0 | 20 | 0 | 20 | 20 | 3.076 | 8.23 | 0 | 8.23 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 56505.6667 | [8 empty] | 11772.9923 |  |  |  |  | 7172.0716 |  | 7172.0436
[8 empty] | Average during solar hours |  |  | 3.076 |  |  | 8.23 | [5 empty] | 234.4717

## ASHRAE-SolRadGlazing
ASHRAE 1052RP Toolkit Output
Data taken from D:\ASHRAE 1052RP OUTPUTS
Test SolRadGlazing
|  |  |  | Solar_flux | Flux_Tol
Time | Ts | H_in | H_out | ASHRAE 1052RP - Incident Solar | ASHRAE 1052RP - Window Heat Gain | Load
6:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
6:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
7:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
8:00 | 20.0189 | 3.076 | 8.23 | 6.7023 | 0.1374 | 1.2369
8:10 | 20.1099 | 3.076 | 8.23 | 22.7881 | 1.7788 | 16.009
8:20 | 20.2174 | 3.076 | 8.23 | 39.2142 | 5.3091 | 47.7816
8:30 | 20.3373 | 3.076 | 8.23 | 56.8256 | 11.0072 | 99.065
8:40 | 20.4574 | 3.076 | 8.23 | 74.2398 | 18.3606 | 165.2452
8:50 | 20.5749 | 3.076 | 8.23 | 91.1987 | 26.9862 | 242.876
9:00 | 20.7041 | 3.076 | 8.23 | 109.8119 | 38.0209 | 342.1882
9:10 | 20.8186 | 3.076 | 8.23 | 126.365 | 48.9181 | 440.2633
9:20 | 20.9413 | 3.076 | 8.23 | 144.1547 | 61.7794 | 556.015
9:30 | 21.0548 | 3.076 | 8.23 | 160.6917 | 74.5723 | 671.1507
9:40 | 21.1651 | 3.076 | 8.23 | 176.854 | 87.7757 | 789.9811
9:50 | 21.2705 | 3.076 | 8.23 | 192.3992 | 101.0336 | 909.302
10:00 | 21.3715 | 3.076 | 8.23 | 207.3946 | 114.3057 | 1028.7513
10:10 | 21.4688 | 3.076 | 8.23 | 221.9318 | 127.5107 | 1147.5965
10:20 | 21.5615 | 3.076 | 8.23 | 235.8934 | 140.5442 | 1264.8978
10:30 | 21.6462 | 3.076 | 8.23 | 248.7289 | 152.6923 | 1374.2311
10:40 | 21.7315 | 3.076 | 8.23 | 261.7586 | 165.2658 | 1487.3923
10:50 | 21.8019 | 3.076 | 8.23 | 272.582 | 175.769 | 1581.9214
11:00 | 21.874 | 3.076 | 8.23 | 283.7557 | 186.796 | 1681.1643
11:10 | 21.9319 | 3.076 | 8.23 | 292.7578 | 195.662 | 1760.9577
11:20 | 21.9879 | 3.076 | 8.23 | 301.5324 | 204.4041 | 1839.6365
11:30 | 22.0388 | 3.076 | 8.23 | 309.5538 | 212.4388 | 1911.949
11:40 | 22.0821 | 3.076 | 8.23 | 316.4054 | 219.3161 | 1973.8447
11:50 | 22.1228 | 3.076 | 8.23 | 322.8687 | 225.8542 | 2032.6876
12:00 | 22.1504 | 3.076 | 8.23 | 327.2707 | 230.2774 | 2072.4963
12:10 | 22.1747 | 3.076 | 8.23 | 331.1653 | 234.2157 | 2107.9416
12:20 | 22.1915 | 3.076 | 8.23 | 333.8488 | 236.9269 | 2132.342
12:30 | 22.1998 | 3.076 | 8.23 | 335.1922 | 238.2704 | 2144.4336
12:40 | 22.207 | 3.076 | 8.23 | 336.341 | 239.4575 | 2155.1172
12:50 | 22.204 | 3.076 | 8.23 | 335.8698 | 238.9796 | 2150.8166
13:00 | 22.1913 | 3.076 | 8.23 | 333.82 | 236.8811 | 2131.9295
13:10 | 22.179 | 3.076 | 8.23 | 331.8597 | 234.9257 | 2114.3314
13:20 | 22.1514 | 3.076 | 8.23 | 327.4299 | 230.4101 | 2073.6906
13:30 | 22.1247 | 3.076 | 8.23 | 323.1753 | 226.1388 | 2035.2492
13:40 | 22.0884 | 3.076 | 8.23 | 317.3948 | 220.3096 | 1982.7863
13:50 | 22.0494 | 3.076 | 8.23 | 311.2319 | 214.1435 | 1927.2911
14:00 | 21.9995 | 3.076 | 8.23 | 303.3651 | 206.2608 | 1856.3468
14:10 | 21.9474 | 3.076 | 8.23 | 295.1848 | 198.1216 | 1783.094
14:20 | 21.8845 | 3.076 | 8.23 | 285.3836 | 188.3955 | 1695.5598
14:30 | 21.8205 | 3.076 | 8.23 | 275.4568 | 178.6486 | 1607.8377
14:40 | 21.7446 | 3.076 | 8.23 | 263.7741 | 167.2215 | 1504.9939
14:50 | 21.6679 | 3.076 | 8.23 | 252.0376 | 155.9108 | 1403.1975
15:00 | 21.5811 | 3.076 | 8.23 | 238.8589 | 143.3724 | 1290.3515
15:10 | 21.4938 | 3.076 | 8.23 | 225.6971 | 131.0849 | 1179.7643
15:20 | 21.3969 | 3.076 | 8.23 | 211.184 | 117.7832 | 1060.0489
15:30 | 21.2937 | 3.076 | 8.23 | 195.8312 | 104.1086 | 936.9777
15:40 | 21.1887 | 3.076 | 8.23 | 180.3196 | 90.7322 | 816.5902
15:50 | 21.0804 | 3.076 | 8.23 | 164.4282 | 77.6181 | 698.5631
16:00 | 20.9687 | 3.076 | 8.23 | 148.1302 | 64.839 | 583.5512
16:10 | 20.8482 | 3.076 | 8.23 | 130.6403 | 51.9955 | 467.9592
16:20 | 20.7265 | 3.076 | 8.23 | 113.0429 | 40.0965 | 360.8685
16:30 | 20.6065 | 3.076 | 8.23 | 95.7282 | 29.6003 | 266.4029
16:40 | 20.4813 | 3.076 | 8.23 | 77.685 | 20.0246 | 180.2217
16:50 | 20.3614 | 3.076 | 8.23 | 60.3242 | 12.3699 | 111.329
17:00 | 20.249 | 3.076 | 8.23 | 43.8586 | 6.6582 | 59.9237
17:10 | 20.1321 | 3.076 | 8.23 | 26.2627 | 2.3808 | 21.427
17:20 | 20.0354 | 3.076 | 8.23 | 10.0872 | 0.3276 | 2.9488
17:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
17:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:20 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:30 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:40 | 20 | 3.076 | 8.23 | 0 | 0 | 0
18:50 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:00 | 20 | 3.076 | 8.23 | 0 | 0 | 0
19:10 | 20 | 3.076 | 8.23 | 0 | 0 | 0
|  |  |  | 12018.288 | 7364.7251
239.4575