## ColoradoSprings-Heating
HERS - Colorado Springs Heating Results
Tier 1 Tests
From Standard 140 Annex B22 - Example
|  | Case 1 | Case 2 | Delta |  | L100AC | L110AC | Delta | L100AC | L120AC | Delta | L100AC | L130AC | Delta | L100AC | L140AC | Delta | L100AC | L150AC | Delta | L150AC | L155AC | Delta | L100AC | L160AC | Delta | L100AC | L170AC | Delta | L100AC | L200AC | Delta | L200AC | L202AC | Delta | L100AC | L302AC | Delta | L304AC | L302AC | Delta | L100AC | L322AC | Delta | L324AC | L322AC | Delta
| Ref 1 | 73 | 46 | 27 | BLAST | 61.94 | 85.95 | 24.01 | 61.94 | 50.27 | -11.67 | 61.94 | 46.35 | -15.59 | 61.94 | 49.15 | -12.79 | 61.94 | 54.93 | -7.01 | 54.93 | 57.39 | 2.46 | 61.94 | 62.9 | 0.96 | 61.94 | 73.06 | 11.12 | 61.94 | 133.97 | 72.03 | 133.97 | 137.47 | 3.5 | 61.94 | 70.5 | 8.56 | 60.05 | 70.5 | 10.45 | 61.94 | 91.65 | 29.71 | 64.91 | 91.65 | 26.74
| Ref 2 | 70 | 45 | 25 | DOE 2.1E | 58 | 81.39 | 23.39 | 58 | 45.1 | -12.9 | 58 | 45.84 | -12.16 | 58 | 47.25 | -10.75 | 58 | 49.48 | -8.52 | 49.48 | 52.3 | 2.82 | 58 | 58.29 | 0.29 | 58 | 71.65 | 13.65 | 58 | 136.12 | 78.12 | 136.12 | 142.06 | 5.94 | 58 | 67.44 | 9.44 | 56.64 | 67.44 | 10.8 | 58 | 88.26 | 30.26 | 61.11 | 88.26 | 27.15
| Ref 3 | 82 | 50 | 32 | SERIRES | 72.39 | 96.53 | 24.14 | 72.39 | 57.82 | -14.57 | 72.39 | 49.98 | -22.41 | 72.39 | 52.48 | -19.91 | 72.39 | 64.03 | -8.36 | 64.03 | 66.9 | 2.87 | 72.39 | 73.51 | 1.12 | 72.39 | 85.46 | 13.07 | 72.39 | 168.34 | 95.95 | 168.34 | 172.55 | 4.21 | 72.39 | 82.92 | 10.53 | 69.16 | 82.92 | 13.76 | 72.39 | 105.94 | 33.55 | 72.58 | 105.94 | 33.36
| Ref Max | 82 | 50 | 32 | Ref Max | 72.39 | 96.53 | 24.14 | 72.39 | 57.82 | -11.67 | 72.39 | 49.98 | -12.16 | 72.39 | 52.48 | -10.75 | 72.39 | 64.03 | -7.01 | 64.03 | 66.9 | 2.87 | 72.39 | 73.51 | 1.12 | 72.39 | 85.46 | 13.65 | 72.39 | 168.34 | 95.95 | 168.34 | 172.55 | 5.94 | 72.39 | 82.92 | 10.53 | 69.16 | 82.92 | 13.76 | 72.39 | 105.94 | 33.55 | 72.58 | 105.94 | 33.36
| Ref Min | 70 | 45 | 25 | Ref Min | 58 | 81.39 | 23.39 | 58 | 45.1 | -14.57 | 58 | 45.84 | -22.41 | 58 | 47.25 | -19.91 | 58 | 49.48 | -8.52 | 49.48 | 52.3 | 2.46 | 58 | 58.29 | 0.29 | 58 | 71.65 | 11.12 | 58 | 133.97 | 72.03 | 133.97 | 137.47 | 3.5 | 58 | 67.44 | 8.56 | 56.64 | 67.44 | 10.45 | 58 | 88.26 | 29.71 | 61.11 | 88.26 | 26.74
| Ref Mean | 75 | 47 | 28 | Ref Mean | 64.11 | 87.9567 | 23.8467 | 64.11 | 51.0633 | -13.0467 | 64.11 | 47.39 | -16.72 | 64.11 | 49.6267 | -14.4833 | 64.11 | 56.1467 | -7.9633 | 56.1467 | 58.8633 | 2.7167 | 64.11 | 64.9 | 0.79 | 64.11 | 76.7233 | 12.6133 | 64.11 | 146.1433 | 82.0333 | 146.1433 | 150.6933 | 4.55 | 64.11 | 73.62 | 9.51 | 61.95 | 73.62 | 11.67 | 64.11 | 95.2833 | 31.1733 | 66.2 | 95.2833 | 29.0833
| Ref StdDev | 6.245 | 2.6458 | 3.6056 | Ref StdDev | 7.4364 | 7.7669 | 0.40079 | 7.4364 | 6.397 | 1.4556 | 7.4364 | 2.2575 | 5.2176 | 7.4364 | 2.6474 | 4.809 | 7.4364 | 7.3509 | 0.82948 | 7.3509 | 7.4107 | 0.22368 | 7.4364 | 7.8046 | 0.44034 | 7.4364 | 7.5989 | 1.3254 | 7.4364 | 19.2529 | 12.4309 | 19.2529 | 19.0671 | 1.255 | 7.4364 | 8.1981 | 0.98686 | 6.4726 | 8.1981 | 1.8184 | 7.4364 | 9.3833 | 2.0765 | 5.8428 | 9.3833 | 3.7094
| Ref 90% Conf Max | 87.8944 | 52.4628 | 35.4446 | Ref 90% Conf Max | 79.4643 | 103.9934 | 24.6742 | 79.4643 | 64.2716 | -10.0413 | 79.4643 | 52.0511 | -5.947 | 79.4643 | 55.0929 | -4.5538 | 79.4643 | 71.3245 | -6.2507 | 71.3245 | 74.1645 | 3.1785 | 79.4643 | 81.0146 | 1.6992 | 79.4643 | 92.4133 | 15.3499 | 79.4643 | 185.8958 | 107.7001 | 185.8958 | 190.0621 | 7.1413 | 79.4643 | 90.547 | 11.5476 | 75.3144 | 90.547 | 15.4246 | 79.4643 | 114.6575 | 35.4609 | 78.2639 | 114.6575 | 36.7423
| Ref 90% Conf Min | 62.1056 | 41.5372 | 20.5554 | Ref 90% Conf Min | 48.7557 | 71.9199 | 23.0191 | 48.7557 | 37.8551 | -16.052 | 48.7557 | 42.7289 | -27.493 | 48.7557 | 44.1605 | -24.4128 | 48.7557 | 40.9689 | -9.676 | 40.9689 | 43.5621 | 2.2548 | 48.7557 | 48.7854 | -0.11919 | 48.7557 | 61.0334 | 9.8768 | 48.7557 | 106.3908 | 56.3666 | 106.3908 | 111.3246 | 1.9587 | 48.7557 | 56.693 | 7.4724 | 48.5856 | 56.693 | 7.9154 | 48.7557 | 75.9091 | 26.8858 | 54.1361 | 75.9091 | 21.4244
| Ref Max + 4 mil BTU | 86 | 54 | 36 | Ref Max + 4 mil BTU | 76.39 | 100.53 | 28.14 | 76.39 | 61.82 | -7.67 | 76.39 | 53.98 | -8.16 | 76.39 | 56.48 | -6.75 | 76.39 | 68.03 | -3.01 | 68.03 | 70.9 | 6.87 | 76.39 | 77.51 | 5.12 | 76.39 | 89.46 | 17.65 | 76.39 | 172.34 | 99.95 | 172.34 | 176.55 | 9.94 | 76.39 | 86.92 | 14.53 | 73.16 | 86.92 | 17.76 | 76.39 | 109.94 | 37.55 | 76.58 | 109.94 | 37.36
| Ref Min - 4mil BTU | 66 | 41 | 21 | Ref Min - 4mil BTU | 54 | 77.39 | 19.39 | 54 | 41.1 | -18.57 | 54 | 41.84 | -26.41 | 54 | 43.25 | -23.91 | 54 | 45.48 | -12.52 | 45.48 | 48.3 | -1.54 | 54 | 54.29 | -3.71 | 54 | 67.65 | 7.12 | 54 | 129.97 | 68.03 | 129.97 | 133.47 | -0.5 | 54 | 63.44 | 4.56 | 52.64 | 63.44 | 6.45 | 54 | 84.26 | 25.71 | 57.11 | 84.26 | 22.74
| Example Range Max | 87.8944 | 54 | 36 | Range Max | 79.4643 | 103.9934 | 28.14 | 79.4643 | 64.2716 | -7.67 | 79.4643 | 53.98 | -5.947 | 79.4643 | 56.48 | -4.5538 | 79.4643 | 71.3245 | -3.01 | 71.3245 | 74.1645 | 6.87 | 79.4643 | 81.0146 | 5.12 | 79.4643 | 92.4133 | 17.65 | 79.4643 | 185.8958 | 107.7001 | 185.8958 | 190.0621 | 9.94 | 79.4643 | 90.547 | 14.53 | 75.3144 | 90.547 | 17.76 | 79.4643 | 114.6575 | 37.55 | 78.2639 | 114.6575 | 37.36
| Example Range Min | 62.1056 | 41 | 20.5554 | Range Min | 48.7557 | 71.9199 | 19.39 | 48.7557 | 37.8551 | -18.57 | 48.7557 | 41.84 | -27.493 | 48.7557 | 43.25 | -24.4128 | 48.7557 | 40.9689 | -12.52 | 40.9689 | 43.5621 | -1.54 | 48.7557 | 48.7854 | -3.71 | 48.7557 | 61.0334 | 7.12 | 48.7557 | 106.3908 | 56.3666 | 106.3908 | 111.3246 | -0.5 | 48.7557 | 56.693 | 4.56 | 48.5856 | 56.693 | 6.45 | 48.7557 | 75.9091 | 25.71 | 54.1361 | 75.9091 | 21.4244
[5 empty] | EnergyPlus | 48.59 | 75.44 | 26.85 | 48.59 | 39.58 | -9.01 | 48.59 | 40.04 | -8.55 | 48.59 | 46.14 | -2.45 | 48.59 | 42.73 | -5.86 | 42.73 | 44.36 | 1.63 | 48.59 | 49.48 | 0.89 | 48.59 | 59.24 | 10.65 | 48.59 | 120.45 | 71.86 | 121.01 | 128.29 | 7.28 | 48.59 | 45.67 | -2.92 | 38.55 | 45.67 | 7.12 | 48.59 | 79.82 | 31.23 | 82.55 | 83.59 | 1.04
ASHRAE 90% Confidence Eqns
[5 empty] | Passes |  | YES | YES |  | YES | YES |  | NO | YES |  | YES | NO |  | YES | YES |  | YES | YES |  | YES | YES |  | NO | YES |  | YES | YES |  | YES | YES |  | NO | NO | NO | NO | YES | NO | YES | YES | NO | YES | NO
Max
Lmax =Mean X + (2.92 * Std Dev) / (N-1)**0.5
87.8944
| Min |  |  |  | Tier 2 Tests
Lmin =Mean X - (2.92 * Std Dev) / (N-1)**0.5
| 62.1056 |  |  |  |  | L160AC | L165AC | Delta | P100AC | P105AC | Delta | P100AC | P110AC | Delta | P100AC | P140AC | Delta | P100AC | P150AC | Delta
[5 empty] | BLAST | 62.9 | 66.84 | 3.94 | 12.31 | 14.6 | 2.29 | 12.31 | 22.37 | 10.06 | 12.31 | 29.42 | 17.11 | 12.31 | 25.1 | 12.79
[5 empty] | DOE 2.1E | 58.29 | 64.73 | 6.44 | 10.02 | 12.1 | 2.08 | 10.02 | 20.17 | 10.15 | 10.02 | 25.82 | 15.8 | 10.02 | 22.58 | 12.56
[5 empty] | SERIRES | 73.51 | 78.05 | 4.54 | 14.4 | 16.96 | 2.56 | 14.4 | 23.78 | 9.38 | 14.4 | 29.42 | 15.02 | 14.4 | 28.01 | 13.61
[6 empty] | 73.51 | 78.05 | 6.44 | 14.4 | 16.96 | 2.56 | 14.4 | 23.78 | 10.15 | 14.4 | 25.82 | -11.42 | 14.4 | 22.58 | -8.18
[6 empty] | 58.29 | 64.73 | 3.94 | 10.02 | 12.1 | 2.08 | 10.02 | 20.17 | 9.38 | 10.02 | 29.42 | -19.4 | 10.02 | 25.1 | -15.08
[6 empty] | 64.9 | 69.8733 | 4.9733 | 12.2433 | 14.5533 | 2.31 | 12.2433 | 22.1067 | 9.8633 | 12.2433 | 28.22 | -15.9767 | 12.2433 | 25.23 | -12.9867
[6 empty] | 7.8046 | 7.1594 | 1.3051 | 2.1908 | 2.4303 | 0.24062 | 2.1908 | 1.8193 | 0.42099 | 2.1908 | 2.0785 | 0.1123 | 2.1908 | 2.7173 | -0.52657
[6 empty] | 81.0146 | 84.6556 | 7.6681 | 16.7667 | 19.5714 | 2.8068 | 16.7667 | 25.8632 | 10.7326 | 16.7667 | 32.5115 | -15.7448 | 16.7667 | 30.8406 | -14.0739
[6 empty] | 48.7854 | 55.091 | 2.2786 | 7.72 | 9.5353 | 1.8132 | 7.72 | 18.3502 | 8.9941 | 7.72 | 23.9285 | -16.2085 | 7.72 | 19.6194 | -11.8994
[6 empty] | 77.51 | 82.05 | 10.44 | 18.4 | 20.96 | 6.56 | 18.4 | 27.78 | 14.15 | 18.4 | 29.82 | -7.42 | 18.4 | 26.58 | -4.18
[6 empty] | 54.29 | 60.73 | -0.06 | 6.02 | 8.1 | -1.92 | 6.02 | 16.17 | 5.38 | 6.02 | 25.42 | -23.4 | 6.02 | 21.1 | -19.08
[6 empty] | 81.0146 | 84.6556 | 10.44 | 18.4 | 20.96 | 6.56 | 18.4 | 27.78 | 14.15 | 18.4 | 32.5115 | -7.42 | 18.4 | 30.8406 | -4.18
[6 empty] | 48.7854 | 55.091 | -0.06 | 6.02 | 8.1 | -1.92 | 6.02 | 16.17 | 5.38 | 6.02 | 23.9285 | -16.2085 | 6.02 | 19.6194 | -11.8994
[5 empty] | EnergyPlus | 49.48 | 53.38 | 3.9 | 10.94 | 10.94 | 0 | 10.94 | 25.32 | 14.38 | 11.13 | 32.29 | 21.16 | 11.13 | 22.56 | 11.43
[5 empty] | Passes |  | NO | YES |  | YES | YES |  | YES | NO |  | YES | NO |  | YES | NO

## LasVegas-Cooling
HERS - Las Vegas Cooling Results
Tier 1 Tests
|  | L100AL | L110AL | Delta | L100AL | L120AL | Delta | L100AL | L130AL | Delta | L100AL | L140AL | Delta | L100AL | L150AL | Delta | L150AL | L155AL | Delta | L100AL | L160AL | Delta | L100AL | L170AL | Delta | L100AL | L200AL | Delta | L200AL | L202AL | Delta
| BLAST | 54.66 | 57.71 | 3.05 | 54.66 | 51.36 | -3.3 | 54.66 | 36.96 | -17.7 | 54.66 | 23.52 | -31.14 | 54.66 | 67.73 | 13.07 | 67.73 | 54.09 | -13.64 | 54.66 | 62.62 | 7.96 | 54.66 | 45.83 | -8.83 | 54.66 | 65.71 | 11.05 | 65.71 | 59.61 | -6.1
| DOE 2.1E | 60.08 | 63.82 | 3.74 | 60.08 | 56.14 | -3.94 | 60.08 | 41.25 | -18.83 | 60.08 | 26.54 | -33.54 | 60.08 | 77.35 | 17.27 | 77.35 | 59.06 | -18.29 | 60.08 | 68.69 | 8.61 | 60.08 | 49.08 | -11 | 60.08 | 73.1 | 13.02 | 73.1 | 62.24 | -10.86
| SERIRES | 59.32 | 63.18 | 3.86 | 59.32 | 55.01 | -4.31 | 59.32 | 38.93 | -20.39 | 59.32 | 24.64 | -34.68 | 59.32 | 72.03 | 12.71 | 72.03 | 57.51 | -14.52 | 59.32 | 67.62 | 8.3 | 59.32 | 49.3 | -10.02 | 59.32 | 76.71 | 17.39 | 76.71 | 70.57 | -6.14
|  | 60.08 | 63.82 | 3.86 | 60.08 | 56.14 | -3.3 | 60.08 | 41.25 | -17.7 | 60.08 | 26.54 | -31.14 | 60.08 | 77.35 | 17.27 | 77.35 | 59.06 | -13.64 | 60.08 | 68.69 | 8.61 | 60.08 | 49.3 | -8.83 | 60.08 | 76.71 | 17.39 | 76.71 | 70.57 | -6.1
|  | 54.66 | 57.71 | 3.05 | 54.66 | 51.36 | -4.31 | 54.66 | 36.96 | -20.39 | 54.66 | 23.52 | -34.68 | 54.66 | 67.73 | 12.71 | 67.73 | 54.09 | -18.29 | 54.66 | 62.62 | 7.96 | 54.66 | 45.83 | -11 | 54.66 | 65.71 | 11.05 | 65.71 | 59.61 | -10.86
|  | 58.02 | 61.57 | 3.55 | 58.02 | 54.17 | -3.85 | 58.02 | 39.0467 | -18.9733 | 58.02 | 24.9 | -33.12 | 58.02 | 72.37 | 14.35 | 72.37 | 56.8867 | -15.4833 | 58.02 | 66.31 | 8.29 | 58.02 | 48.07 | -9.95 | 58.02 | 71.84 | 13.82 | 71.84 | 64.14 | -7.7
|  | 2.9346 | 3.3581 | 0.43715 | 2.9346 | 2.4983 | 0.51098 | 2.9346 | 2.1474 | 1.3507 | 2.9346 | 1.5267 | 1.807 | 2.9346 | 4.819 | 2.5352 | 4.819 | 2.543 | 2.4701 | 2.9346 | 3.2401 | 0.32512 | 2.9346 | 1.943 | 1.0867 | 2.9346 | 5.6072 | 3.2448 | 5.6072 | 5.7217 | 2.7367
|  | 64.0791 | 68.5037 | 4.4526 | 64.0791 | 59.3283 | -2.795 | 64.0791 | 43.4805 | -16.1844 | 64.0791 | 28.0522 | -29.389 | 64.0791 | 82.32 | 19.5845 | 82.32 | 62.1372 | -10.3831 | 64.0791 | 73 | 8.9613 | 64.0791 | 52.0818 | -7.7063 | 64.0791 | 83.4175 | 20.5198 | 83.4175 | 75.9539 | -2.0494
|  | 51.9609 | 54.6363 | 2.6474 | 51.9609 | 49.0117 | -4.905 | 51.9609 | 34.6129 | -21.7622 | 51.9609 | 21.7478 | -36.851 | 51.9609 | 62.42 | 9.1155 | 62.42 | 51.6361 | -20.5836 | 51.9609 | 59.62 | 7.6187 | 51.9609 | 44.0582 | -12.1937 | 51.9609 | 60.2625 | 7.1202 | 60.2625 | 52.3261 | -13.3506
|  | 64.08 | 67.82 | 7.86 | 64.08 | 60.14 | 0.7 | 64.08 | 45.25 | -13.7 | 64.08 | 30.54 | -27.14 | 64.08 | 81.35 | 21.27 | 81.35 | 63.06 | -9.64 | 64.08 | 72.69 | 12.61 | 64.08 | 53.3 | -4.83 | 64.08 | 80.71 | 21.39 | 80.71 | 74.57 | -2.1
|  | 50.66 | 53.71 | -0.95 | 50.66 | 47.36 | -8.31 | 50.66 | 32.96 | -24.39 | 50.66 | 19.52 | -38.68 | 50.66 | 63.73 | 8.71 | 63.73 | 50.09 | -22.29 | 50.66 | 58.62 | 3.96 | 50.66 | 41.83 | -15 | 50.66 | 61.71 | 7.05 | 61.71 | 55.61 | -14.86
|  | 64.08 | 68.5037 | 7.86 | 64.08 | 60.14 | 0.7 | 64.08 | 45.25 | -13.7 | 64.08 | 30.54 | -27.14 | 64.08 | 82.32 | 21.27 | 82.32 | 63.06 | -9.64 | 64.08 | 73 | 12.61 | 64.08 | 53.3 | -4.83 | 64.08 | 83.4175 | 21.39 | 83.4175 | 75.9539 | -2.0494
|  | 50.66 | 53.71 | -0.95 | 50.66 | 47.36 | -8.31 | 50.66 | 32.96 | -24.39 | 50.66 | 19.52 | -38.68 | 50.66 | 62.42 | 8.71 | 62.42 | 50.09 | -22.29 | 50.66 | 58.62 | 3.96 | 50.66 | 41.83 | -15 | 50.66 | 60.2625 | 7.05 | 60.2625 | 52.3261 | -14.86
| EnergyPlus | 49.4 | 52.38 | 2.98 | 49.4 | 48.35 | -1.05 | 49.4 | 36.54 | -12.86 | 49.4 | 23.39 | -26.01 | 49.4 | 65.1 | 15.7 | 65.1 | 49.47 | -15.63 | 49.4 | 58.48 | 9.08 | 49.4 | 40.21 | -9.19 | 49.4 | 61.51 | 12.11 | 61.51 | 49.21 | -12.3
| Passes |  | NO | YES |  | YES | YES |  | YES | NO |  | YES | NO |  | YES | YES |  | NO | YES |  | NO | YES |  | NO | YES |  | YES | YES |  | NO | YES

## Tier 2-ColoradoSprings-Cooling
TIER 2 - Colorado Springs Cooling Results
Tier 2 Tests
|  | L160AL | L165AL | Delta | P100AC | P105AC | Delta | P100AC | P110AC | Delta | P100AC | P140AC | Delta | P100AC | P150AC | Delta
| BLAST | 62.62 | 54.77 | -7.85 | 18.11 | 11.94 | -6.17 | 18.11 | 30.19 | 12.08 | 18.11 | 1.68 | -16.43 | 18.11 | 12.43 | -5.68
| DOE 2.1E | 68.69 | 52.87 | -15.82 | 23.01 | 13.61 | -9.4 | 23.01 | 36.48 | 13.47 | 23.01 | 2.84 | -20.17 | 23.01 | 15.03 | -7.98
| SERIRES | 67.62 | 59.58 | -8.04 | 20.07 | 13.46 | -6.61 | 20.07 | 30.86 | 10.79 | 20.07 | 1.74 | -18.33 | 20.07 | 14.03 | -6.04
|  | 68.69 | 59.58 | -7.85 | 23.01 | 13.61 | -6.17 | 23.01 | 36.48 | 13.47 | 23.01 | 2.84 | -16.43 | 23.01 | 15.03 | -5.68
|  | 62.62 | 52.87 | -15.82 | 18.11 | 11.94 | -9.4 | 18.11 | 30.19 | 10.79 | 18.11 | 1.68 | -20.17 | 18.11 | 12.43 | -7.98
|  | 66.31 | 55.74 | -10.57 | 20.3967 | 13.0033 | -7.3933 | 20.3967 | 32.51 | 12.1133 | 20.3967 | 2.0867 | -18.31 | 20.3967 | 13.83 | -6.5667
|  | 3.2401 | 3.4586 | 4.5476 | 2.4663 | 0.92392 | 1.7517 | 2.4663 | 3.4544 | 1.3403 | 2.4663 | 0.6531 | 1.8701 | 2.4663 | 1.3115 | 1.2371
|  | 73 | 62.8811 | -1.1803 | 25.4889 | 14.911 | -3.7765 | 25.4889 | 39.6425 | 14.8807 | 25.4889 | 3.4351 | -14.4487 | 25.4889 | 16.5379 | -4.0123
|  | 59.62 | 48.5989 | -19.9597 | 15.3044 | 11.0957 | -11.0101 | 15.3044 | 25.3775 | 9.3459 | 15.3044 | 0.73819 | -22.1713 | 15.3044 | 11.1221 | -9.1211
|  | 72.69 | 63.58 | -3.85 | 27.01 | 17.61 | -2.17 | 27.01 | 40.48 | 17.47 | 27.01 | 6.84 | -12.43 | 27.01 | 19.03 | -1.68
|  | 58.62 | 48.87 | -19.82 | 14.11 | 7.94 | -13.4 | 14.11 | 26.19 | 6.79 | 14.11 | -2.32 | -24.17 | 14.11 | 8.43 | -11.98
|  | 73 | 63.58 | -1.1803 | 27.01 | 17.61 | -2.17 | 27.01 | 40.48 | 17.47 | 27.01 | 6.84 | -12.43 | 27.01 | 19.03 | -1.68
|  | 58.62 | 48.5989 | -19.9597 | 14.11 | 7.94 | -13.4 | 14.11 | 25.3775 | 6.79 | 14.11 | -2.32 | -24.17 | 14.11 | 8.43 | -11.98
| EnergyPlus | 58.48 | 47.4 | -11.08 | 18.27 | 13.09 | -5.18 | 18.27 | 26 | 7.73 | 18.27 | 1.74 | -16.53 | 18.27 | 11.86 | -6.41
| Passes |  | NO | YES |  | YES | YES |  | YES | YES |  | YES | YES |  | YES | YES

## ReportTable-ColoSprHeat-Tier1
HERS - Colorado Springs Heating Results | [21 empty] | HERS - Colorado Springs Heating Results
Tier 1 Tests
| Base case |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  | Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta
| L100AC | L110AC | L110AC -L100AC | L100AC | L120AC | L120AC -L100AC | L100AC | L130AC | L130AC -L100AC | L100AC | L140AC | L140AC -L100AC | L100AC | L150AC | L150AC -L100AC | L100AC | L160AC | L160AC -L100AC | L100AC | L170AC | L170AC -L100AC |  | L150AC | L155AC | L155AC -L150AC | L100AC | L200AC | L200AC -L100AC | L200AC | L202AC | L202AC -L200AC | L100AC | L302AC | L302AC -L100AC | L304AC | L302AC | L302AC -L304AC | L100AC | L322AC | L322AC -L100AC | L324AC | L322AC | L322AC -L324AC
BLAST | 61.94 | 85.95 | 24.01 | 61.94 | 50.27 | -11.67 | 61.94 | 46.35 | -15.59 | 61.94 | 49.15 | -12.79 | 61.94 | 54.93 | -7.01 | 61.94 | 62.9 | 0.96 | 61.94 | 73.06 | 11.12 | BLAST | 54.93 | 57.39 | 2.46 | 61.94 | 133.97 | 72.03 | 133.97 | 137.47 | 3.5 | 61.94 | 70.5 | 8.56 | 60.05 | 70.5 | 10.45 | 61.94 | 91.65 | 29.71 | 64.91 | 91.65 | 26.74
DOE 2.1E | 58 | 81.39 | 23.39 | 58 | 45.1 | -12.9 | 58 | 45.84 | -12.16 | 58 | 47.25 | -10.75 | 58 | 49.48 | -8.52 | 58 | 58.29 | 0.29 | 58 | 71.65 | 13.65 | DOE 2.1E | 49.48 | 52.3 | 2.82 | 58 | 136.12 | 78.12 | 136.12 | 142.06 | 5.94 | 58 | 67.44 | 9.44 | 56.64 | 67.44 | 10.8 | 58 | 88.26 | 30.26 | 61.11 | 88.26 | 27.15
SERIRES | 72.39 | 96.53 | 24.14 | 72.39 | 57.82 | -14.57 | 72.39 | 49.98 | -22.41 | 72.39 | 52.48 | -19.91 | 72.39 | 64.03 | -8.36 | 72.39 | 73.51 | 1.12 | 72.39 | 85.46 | 13.07 | SERIRES | 64.03 | 66.9 | 2.87 | 72.39 | 168.34 | 95.95 | 168.34 | 172.55 | 4.21 | 72.39 | 82.92 | 10.53 | 69.16 | 82.92 | 13.76 | 72.39 | 105.94 | 33.55 | 72.58 | 105.94 | 33.36
Ref Max | 72.39 | 96.53 | 24.14 | 72.39 | 57.82 | -11.67 | 72.39 | 49.98 | -12.16 | 72.39 | 52.48 | -10.75 | 72.39 | 64.03 | -7.01 | 72.39 | 73.51 | 1.12 | 72.39 | 85.46 | 13.65 | Ref Max | 64.03 | 66.9 | 2.87 | 72.39 | 168.34 | 95.95 | 168.34 | 172.55 | 5.94 | 72.39 | 82.92 | 10.53 | 69.16 | 82.92 | 13.76 | 72.39 | 105.94 | 33.55 | 72.58 | 105.94 | 33.36
Ref Min | 58 | 81.39 | 23.39 | 58 | 45.1 | -14.57 | 58 | 45.84 | -22.41 | 58 | 47.25 | -19.91 | 58 | 49.48 | -8.52 | 58 | 58.29 | 0.29 | 58 | 71.65 | 11.12 | Ref Min | 49.48 | 52.3 | 2.46 | 58 | 133.97 | 72.03 | 133.97 | 137.47 | 3.5 | 58 | 67.44 | 8.56 | 56.64 | 67.44 | 10.45 | 58 | 88.26 | 29.71 | 61.11 | 88.26 | 26.74
Ref Mean | 64.11 | 87.9567 | 23.8467 | 64.11 | 51.0633 | -13.0467 | 64.11 | 47.39 | -16.72 | 64.11 | 49.6267 | -14.4833 | 64.11 | 56.1467 | -7.9633 | 64.11 | 64.9 | 0.79 | 64.11 | 76.7233 | 12.6133 | Ref Mean | 56.1467 | 58.8633 | 2.7167 | 64.11 | 146.1433 | 82.0333 | 146.1433 | 150.6933 | 4.55 | 64.11 | 73.62 | 9.51 | 61.95 | 73.62 | 11.67 | 64.11 | 95.2833 | 31.1733 | 66.2 | 95.2833 | 29.0833
Ref StdDev | 7.4364 | 7.7669 | 0.40079 | 7.4364 | 6.397 | 1.4556 | 7.4364 | 2.2575 | 5.2176 | 7.4364 | 2.6474 | 4.809 | 7.4364 | 7.3509 | 0.82948 | 7.4364 | 7.8046 | 0.44034 | 7.4364 | 7.5989 | 1.3254 | Ref StdDev | 7.3509 | 7.4107 | 0.22368 | 7.4364 | 19.2529 | 12.4309 | 19.2529 | 19.0671 | 1.255 | 7.4364 | 8.1981 | 0.98686 | 6.4726 | 8.1981 | 1.8184 | 7.4364 | 9.3833 | 2.0765 | 5.8428 | 9.3833 | 3.7094
Ref 90% Conf Max | 79.4643 | 103.9934 | 24.6742 | 79.4643 | 64.2716 | -10.0413 | 79.4643 | 52.0511 | -5.947 | 79.4643 | 55.0929 | -4.5538 | 79.4643 | 71.3245 | -6.2507 | 79.4643 | 81.0146 | 1.6992 | 79.4643 | 92.4133 | 15.3499 | Ref 90% Conf Max | 71.3245 | 74.1645 | 3.1785 | 79.4643 | 185.8958 | 107.7001 | 185.8958 | 190.0621 | 7.1413 | 79.4643 | 90.547 | 11.5476 | 75.3144 | 90.547 | 15.4246 | 79.4643 | 114.6575 | 35.4609 | 78.2639 | 114.6575 | 36.7423
Ref 90% Conf Min | 48.7557 | 71.9199 | 23.0191 | 48.7557 | 37.8551 | -16.052 | 48.7557 | 42.7289 | -27.493 | 48.7557 | 44.1605 | -24.4128 | 48.7557 | 40.9689 | -9.676 | 48.7557 | 48.7854 | -0.11919 | 48.7557 | 61.0334 | 9.8768 | Ref 90% Conf Min | 40.9689 | 43.5621 | 2.2548 | 48.7557 | 106.3908 | 56.3666 | 106.3908 | 111.3246 | 1.9587 | 48.7557 | 56.693 | 7.4724 | 48.5856 | 56.693 | 7.9154 | 48.7557 | 75.9091 | 26.8858 | 54.1361 | 75.9091 | 21.4244
Ref Max + 4 mil BTU | 76.39 | 100.53 | 28.14 | 76.39 | 61.82 | -7.67 | 76.39 | 53.98 | -8.16 | 76.39 | 56.48 | -6.75 | 76.39 | 68.03 | -3.01 | 76.39 | 77.51 | 5.12 | 76.39 | 89.46 | 17.65 | Ref Max + 4 mil BTU | 68.03 | 70.9 | 6.87 | 76.39 | 172.34 | 99.95 | 172.34 | 176.55 | 9.94 | 76.39 | 86.92 | 14.53 | 73.16 | 86.92 | 17.76 | 76.39 | 109.94 | 37.55 | 76.58 | 109.94 | 37.36
Ref Min - 4mil BTU | 54 | 77.39 | 19.39 | 54 | 41.1 | -18.57 | 54 | 41.84 | -26.41 | 54 | 43.25 | -23.91 | 54 | 45.48 | -12.52 | 54 | 54.29 | -3.71 | 54 | 67.65 | 7.12 | Ref Min - 4mil BTU | 45.48 | 48.3 | -1.54 | 54 | 129.97 | 68.03 | 129.97 | 133.47 | -0.5 | 54 | 63.44 | 4.56 | 52.64 | 63.44 | 6.45 | 54 | 84.26 | 25.71 | 57.11 | 84.26 | 22.74
Range Max | 79.4643 | 103.9934 | 28.14 | 79.4643 | 64.2716 | -7.67 | 79.4643 | 53.98 | -5.947 | 79.4643 | 56.48 | -4.5538 | 79.4643 | 71.3245 | -3.01 | 79.4643 | 81.0146 | 5.12 | 79.4643 | 92.4133 | 17.65 | Range Max | 71.3245 | 74.1645 | 6.87 | 79.4643 | 185.8958 | 107.7001 | 185.8958 | 190.0621 | 9.94 | 79.4643 | 90.547 | 14.53 | 75.3144 | 90.547 | 17.76 | 79.4643 | 114.6575 | 37.55 | 78.2639 | 114.6575 | 37.36
Range Min | 48.7557 | 71.9199 | 19.39 | 48.7557 | 37.8551 | -18.57 | 48.7557 | 41.84 | -27.493 | 48.7557 | 43.25 | -24.4128 | 48.7557 | 40.9689 | -12.52 | 48.7557 | 48.7854 | -3.71 | 48.7557 | 61.0334 | 7.12 | Range Min | 40.9689 | 43.5621 | -1.54 | 48.7557 | 106.3908 | 56.3666 | 106.3908 | 111.3246 | -0.5 | 48.7557 | 56.693 | 4.56 | 48.5856 | 56.693 | 6.45 | 48.7557 | 75.9091 | 25.71 | 54.1361 | 75.9091 | 21.4244
EnergyPlus | 49.7968 | 75.1741 | 25.3772 | 48.59 | 40.7879 | -7.8021 | 48.59 | 40.5451 | -8.0449 | 48.59 | 46.8043 | -1.7857 | 48.59 | 43.6045 | -4.9855 | 48.59 | 50.7331 | 2.1431 | 48.59 | 60.5411 | 11.9511 | EnergyPlus | 43.6045 | 45.3522 | 1.7477 | 49.7968 | 122.1561 | 72.3593 | 122.1561 | 129.2015 | 7.0454 | 49.7968 | 47.2966 | -2.5003 | 39.4136 | 47.2966 | 7.883 | 49.7968 | 94.2476 | 44.4508 | 88.321 | 94.2476 | 5.9266
Passes | YES | YES | YES |  | YES | YES |  | NO | YES |  | YES | NO |  | YES | YES |  | YES | YES |  | NO | YES | Passes | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | NO | NO | NO | NO | YES | YES | YES | NO | NO | YES | NO

## ReportTable-ColoSprHeat-Tier2
HERS - Colorado Springs Heating Results
Tier 2 Tests
| Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta | Base Case |  | Delta
| L160AC | L165AC | L165AC -L160AC | P100AC | P105AC | P105AC -P100AC | P100AC | P110AC | P110AC -P100AC | P100AC | P140AC | P140AC -P100AC | P100AC | P150AC | P150AC -P100AC
BLAST | 62.9 | 66.84 | 3.94 | 12.31 | 14.6 | 2.29 | 12.31 | 22.37 | 10.06 | 12.31 | 29.42 | 17.11 | 12.31 | 25.1 | 12.79
DOE 2.1E | 58.29 | 64.73 | 6.44 | 10.02 | 12.1 | 2.08 | 10.02 | 20.17 | 10.15 | 10.02 | 25.82 | 15.8 | 10.02 | 22.58 | 12.56
SERIRES | 73.51 | 78.05 | 4.54 | 14.4 | 16.96 | 2.56 | 14.4 | 23.78 | 9.38 | 14.4 | 29.42 | 15.02 | 14.4 | 28.01 | 13.61
Ref Max | 73.51 | 78.05 | 6.44 | 14.4 | 16.96 | 2.56 | 14.4 | 23.78 | 10.15 | 14.4 | 25.82 | -11.42 | 14.4 | 22.58 | -8.18
Ref Min | 58.29 | 64.73 | 3.94 | 10.02 | 12.1 | 2.08 | 10.02 | 20.17 | 9.38 | 10.02 | 29.42 | -19.4 | 10.02 | 25.1 | -15.08
Ref Mean | 64.9 | 69.8733 | 4.9733 | 12.2433 | 14.5533 | 2.31 | 12.2433 | 22.1067 | 9.8633 | 12.2433 | 28.22 | -15.9767 | 12.2433 | 25.23 | -12.9867
Ref StdDev | 7.8046 | 7.1594 | 1.3051 | 2.1908 | 2.4303 | 0.24062 | 2.1908 | 1.8193 | 0.42099 | 2.1908 | 2.0785 | 0.1123 | 2.1908 | 2.7173 | -0.52657
Ref 90% Conf Max | 81.0146 | 84.6556 | 7.6681 | 16.7667 | 19.5714 | 2.8068 | 16.7667 | 25.8632 | 10.7326 | 16.7667 | 32.5115 | -15.7448 | 16.7667 | 30.8406 | -14.0739
Ref 90% Conf Min | 48.7854 | 55.091 | 2.2786 | 7.72 | 9.5353 | 1.8132 | 7.72 | 18.3502 | 8.9941 | 7.72 | 23.9285 | -16.2085 | 7.72 | 19.6194 | -11.8994
Ref Max + 4 mil BTU | 77.51 | 82.05 | 10.44 | 18.4 | 20.96 | 6.56 | 18.4 | 27.78 | 14.15 | 18.4 | 29.82 | -7.42 | 18.4 | 26.58 | -4.18
Ref Min - 4mil BTU | 54.29 | 60.73 | -0.06 | 6.02 | 8.1 | -1.92 | 6.02 | 16.17 | 5.38 | 6.02 | 25.42 | -23.4 | 6.02 | 21.1 | -19.08
Range Max | 81.0146 | 84.6556 | 10.44 | 18.4 | 20.96 | 6.56 | 18.4 | 27.78 | 14.15 | 18.4 | 32.5115 | -7.42 | 18.4 | 30.8406 | -4.18
Range Min | 48.7854 | 55.091 | -0.06 | 6.02 | 8.1 | -1.92 | 6.02 | 16.17 | 5.38 | 6.02 | 23.9285 | -16.2085 | 6.02 | 19.6194 | -11.8994
EnergyPlus | 50.7331 | 54.1061 | 3.373 | 11.2946 | 13.4997 | 2.2051 | 11.2946 | 25.6729 | 14.3783 | 11.2946 | 32.6476 | 21.353 | 11.2946 | 23.0769 | 11.7823
Passes | YES | NO | YES | YES | YES | YES | YES | YES | NO | YES | NO | NO | YES | YES | NO

## ReportTableLasVegasCool-Tier1
HERS - Las Vegas Cooling Results
Tier 1 Tests
| Base Case |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  |  | Delta |  |  |  | Delta |  |  | Delta |  |  | Delta
| L100AL | L110AL | L110AL -L100AL | L100AL | L120AL | L110AL -L100AL | L100AL | L130AL | L110AL -L100AL | L100AL | L140AL | L110AL -L100AL | L100AL | L150AL | L110AL -L100AL | L100AL | L160AL | L110AL -L100AL | L100AL | L170AL | L110AL -L100AL |  | L150AL | L155AL | L155AL -L150AL | L100AL | L200AL | L200AL -L100AL | L200AL | L202AL | L202AL -L100AL
BLAST | 54.66 | 57.71 | 3.05 | 54.66 | 51.36 | -3.3 | 54.66 | 36.96 | -17.7 | 54.66 | 23.52 | -31.14 | 54.66 | 67.73 | 13.07 | 54.66 | 62.62 | 7.96 | 54.66 | 45.83 | -8.83 | BLAST | 67.73 | 54.09 | -13.64 | 54.66 | 65.71 | 11.05 | 65.71 | 59.61 | -6.1
DOE 2.1E | 60.08 | 63.82 | 3.74 | 60.08 | 56.14 | -3.94 | 60.08 | 41.25 | -18.83 | 60.08 | 26.54 | -33.54 | 60.08 | 77.35 | 17.27 | 60.08 | 68.69 | 8.61 | 60.08 | 49.08 | -11 | DOE 2.1E | 77.35 | 59.06 | -18.29 | 60.08 | 73.1 | 13.02 | 73.1 | 62.24 | -10.86
SERIRES | 59.32 | 63.18 | 3.86 | 59.32 | 55.01 | -4.31 | 59.32 | 38.93 | -20.39 | 59.32 | 24.64 | -34.68 | 59.32 | 72.03 | 12.71 | 59.32 | 67.62 | 8.3 | 59.32 | 49.3 | -10.02 | SERIRES | 72.03 | 57.51 | -14.52 | 59.32 | 76.71 | 17.39 | 76.71 | 70.57 | -6.14
Ref Max | 60.08 | 63.82 | 3.86 | 60.08 | 56.14 | -3.3 | 60.08 | 41.25 | -17.7 | 60.08 | 26.54 | -31.14 | 60.08 | 77.35 | 17.27 | 60.08 | 68.69 | 8.61 | 60.08 | 49.3 | -8.83 | Ref Max | 77.35 | 59.06 | -13.64 | 60.08 | 76.71 | 17.39 | 76.71 | 70.57 | -6.1
Ref Min | 54.66 | 57.71 | 3.05 | 54.66 | 51.36 | -4.31 | 54.66 | 36.96 | -20.39 | 54.66 | 23.52 | -34.68 | 54.66 | 67.73 | 12.71 | 54.66 | 62.62 | 7.96 | 54.66 | 45.83 | -11 | Ref Min | 67.73 | 54.09 | -18.29 | 54.66 | 65.71 | 11.05 | 65.71 | 59.61 | -10.86
Ref Mean | 58.02 | 61.57 | 3.55 | 58.02 | 54.17 | -3.85 | 58.02 | 39.0467 | -18.9733 | 58.02 | 24.9 | -33.12 | 58.02 | 72.37 | 14.35 | 58.02 | 66.31 | 8.29 | 58.02 | 48.07 | -9.95 | Ref Mean | 72.37 | 56.8867 | -15.4833 | 58.02 | 71.84 | 13.82 | 71.84 | 64.14 | -7.7
Ref StdDev | 2.9346 | 3.3581 | 0.43715 | 2.9346 | 2.4983 | 0.51098 | 2.9346 | 2.1474 | 1.3507 | 2.9346 | 1.5267 | 1.807 | 2.9346 | 4.819 | 2.5352 | 2.9346 | 3.2401 | 0.32512 | 2.9346 | 1.943 | 1.0867 | Ref StdDev | 4.819 | 2.543 | 2.4701 | 2.9346 | 5.6072 | 3.2448 | 5.6072 | 5.7217 | 2.7367
Ref 90% Conf Max | 64.0791 | 68.5037 | 4.4526 | 64.0791 | 59.3283 | -2.795 | 64.0791 | 43.4805 | -16.1844 | 64.0791 | 28.0522 | -29.389 | 64.0791 | 82.32 | 19.5845 | 64.0791 | 73 | 8.9613 | 64.0791 | 52.0818 | -7.7063 | Ref 90% Conf Max | 82.32 | 62.1372 | -10.3831 | 64.0791 | 83.4175 | 20.5198 | 83.4175 | 75.9539 | -2.0494
Ref 90% Conf Min | 51.9609 | 54.6363 | 2.6474 | 51.9609 | 49.0117 | -4.905 | 51.9609 | 34.6129 | -21.7622 | 51.9609 | 21.7478 | -36.851 | 51.9609 | 62.42 | 9.1155 | 51.9609 | 59.62 | 7.6187 | 51.9609 | 44.0582 | -12.1937 | Ref 90% Conf Min | 62.42 | 51.6361 | -20.5836 | 51.9609 | 60.2625 | 7.1202 | 60.2625 | 52.3261 | -13.3506
Ref Max + 4 mil BTU | 64.08 | 67.82 | 7.86 | 64.08 | 60.14 | 0.7 | 64.08 | 45.25 | -13.7 | 64.08 | 30.54 | -27.14 | 64.08 | 81.35 | 21.27 | 64.08 | 72.69 | 12.61 | 64.08 | 53.3 | -4.83 | Ref Max + 4 mil BTU | 81.35 | 63.06 | -9.64 | 64.08 | 80.71 | 21.39 | 80.71 | 74.57 | -2.1
Ref Min - 4mil BTU | 50.66 | 53.71 | -0.95 | 50.66 | 47.36 | -8.31 | 50.66 | 32.96 | -24.39 | 50.66 | 19.52 | -38.68 | 50.66 | 63.73 | 8.71 | 50.66 | 58.62 | 3.96 | 50.66 | 41.83 | -15 | Ref Min - 4mil BTU | 63.73 | 50.09 | -22.29 | 50.66 | 61.71 | 7.05 | 61.71 | 55.61 | -14.86
Range Max | 64.08 | 68.5037 | 7.86 | 64.08 | 60.14 | 0.7 | 64.08 | 45.25 | -13.7 | 64.08 | 30.54 | -27.14 | 64.08 | 82.32 | 21.27 | 64.08 | 73 | 12.61 | 64.08 | 53.3 | -4.83 | Range Max | 82.32 | 63.06 | -9.64 | 64.08 | 83.4175 | 21.39 | 83.4175 | 75.9539 | -2.0494
Range Min | 50.66 | 53.71 | -0.95 | 50.66 | 47.36 | -8.31 | 50.66 | 32.96 | -24.39 | 50.66 | 19.52 | -38.68 | 50.66 | 62.42 | 8.71 | 50.66 | 58.62 | 3.96 | 50.66 | 41.83 | -15 | Range Min | 62.42 | 50.09 | -22.29 | 50.66 | 60.2625 | 7.05 | 60.2625 | 52.3261 | -14.86
EnergyPlus | 48.8531 | 51.888 | 3.0348 | 49.4 | 47.9607 | -1.4393 | 49.4 | 35.9281 | -13.4719 | 49.4 | 22.8629 | -26.5371 | 49.4 | 64.3294 | 14.9294 | 49.4 | 57.9039 | 8.5039 | 49.4 | 39.7141 | -9.6859 | EnergyPlus | 64.3294 | 48.8404 | -15.489 | 48.8531 | 60.5738 | 11.7206 | 60.5738 | 49.4234 | -11.1504
Passes | NO | NO | YES |  | YES | YES |  | YES | NO |  | YES | NO |  | YES | YES |  | NO | YES |  | NO | YES | Passes |  | NO | YES |  | YES | YES |  | NO | YES

## ReportTable-ColoSprCool-Tier2
TIER 2 - Colorado Springs Cooling Results
Tier 2 Tests
| Base Case |  | L165AL -L160AL | Base Case |  | L105AC -L100AC | Base Case |  | L110AC -L100AC | Base Case |  | L140AC -L100AC | Base Case |  | L150AC -L100AC
| L160AL | L165AL | Delta | P100AC | P105AC | Delta | P100AC | P110AC | Delta | P100AC | P140AC | Delta | P100AC | P150AC | Delta
BLAST | 62.62 | 54.77 | -7.85 | 18.11 | 11.94 | -6.17 | 18.11 | 30.19 | 12.08 | 18.11 | 1.68 | -16.43 | 18.11 | 12.43 | -5.68
DOE 2.1E | 68.69 | 52.87 | -15.82 | 23.01 | 13.61 | -9.4 | 23.01 | 36.48 | 13.47 | 23.01 | 2.84 | -20.17 | 23.01 | 15.03 | -7.98
SERIRES | 67.62 | 59.58 | -8.04 | 20.07 | 13.46 | -6.61 | 20.07 | 30.86 | 10.79 | 20.07 | 1.74 | -18.33 | 20.07 | 14.03 | -6.04
Ref Max | 68.69 | 59.58 | -7.85 | 23.01 | 13.61 | -6.17 | 23.01 | 36.48 | 13.47 | 23.01 | 2.84 | -16.43 | 23.01 | 15.03 | -5.68
Ref Min | 62.62 | 52.87 | -15.82 | 18.11 | 11.94 | -9.4 | 18.11 | 30.19 | 10.79 | 18.11 | 1.68 | -20.17 | 18.11 | 12.43 | -7.98
Ref Mean | 66.31 | 55.74 | -10.57 | 20.3967 | 13.0033 | -7.3933 | 20.3967 | 32.51 | 12.1133 | 20.3967 | 2.0867 | -18.31 | 20.3967 | 13.83 | -6.5667
Ref StdDev | 3.2401 | 3.4586 | 4.5476 | 2.4663 | 0.92392 | 1.7517 | 2.4663 | 3.4544 | 1.3403 | 2.4663 | 0.6531 | 1.8701 | 2.4663 | 1.3115 | 1.2371
Ref 90% Conf Max | 73 | 62.8811 | -1.1803 | 25.4889 | 14.911 | -3.7765 | 25.4889 | 39.6425 | 14.8807 | 25.4889 | 3.4351 | -14.4487 | 25.4889 | 16.5379 | -4.0123
Ref 90% Conf Min | 59.62 | 48.5989 | -19.9597 | 15.3044 | 11.0957 | -11.0101 | 15.3044 | 25.3775 | 9.3459 | 15.3044 | 0.73819 | -22.1713 | 15.3044 | 11.1221 | -9.1211
Ref Max + 4 mil BTU | 72.69 | 63.58 | -3.85 | 27.01 | 17.61 | -2.17 | 27.01 | 40.48 | 17.47 | 27.01 | 6.84 | -12.43 | 27.01 | 19.03 | -1.68
Ref Min - 4mil BTU | 58.62 | 48.87 | -19.82 | 14.11 | 7.94 | -13.4 | 14.11 | 26.19 | 6.79 | 14.11 | -2.32 | -24.17 | 14.11 | 8.43 | -11.98
Range Max | 73 | 63.58 | -1.1803 | 27.01 | 17.61 | -2.17 | 27.01 | 40.48 | 17.47 | 27.01 | 6.84 | -12.43 | 27.01 | 19.03 | -1.68
Range Min | 58.62 | 48.5989 | -19.9597 | 14.11 | 7.94 | -13.4 | 14.11 | 25.3775 | 6.79 | 14.11 | -2.32 | -24.17 | 14.11 | 8.43 | -11.98
EnergyPlus | 57.9039 | 48.3216 | -9.5824 | 17.71 | 11.193 | -6.517 | 17.71 | 25.4529 | 7.7429 | 17.71 | 1.6093 | -16.1007 | 17.71 | 11.5215 | -6.1885
Passes | NO | NO | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES | YES