## Data
Standard 140-2007 HVAC - Fuel Fired Furnace
EnergyPlus Ver {{ engine.config["EnergyPlusVersion"] }} |  |  |  |  | EnergyPlus Version Comparison
Energy Delivered to Space (GJ) |  |  |  |  | Energy Delivered to Space (GJ) | [29 empty] | 2.2 vs 2.1 | 3.0 vs 2.2 | 3.1 vs 3.0 | 4.0 vs 3.1 | 5.0 vs 4.0 | 6.0 vs 5.0 | 7.0 vs 6.0 | 7.1 vs 7.0 | 7.2 vs 7.1 | 8.0 vs 7.2 | 8.0.0.008 vs 8.0.0.007 | 8.1.0.009 v s 8.0.0.008 | {{ engine.config["EnergyPlusVersion"] }} vs 8.1.0.009
| Analytical/Semi-Analytical | EnergyPlus {{ engine.config["EnergyPlusVersion"] }} | ESP-r/HOT3000 | DOE-2.1E |  | Analytical/Semi-Analytical | EnergyPlus 1.0.2.008 | EnergyPlus 1.0.3.019 | EnergyPlus 1.1.0.020 | EnergyPlus 1.1.1.012 | EnergyPlus 1.2.0.029 | EnergyPlus 1.2.1.022 | EnergyPlus 1.2.2.030 | EnergyPlus 1.2.3.031 | EnergyPlus 1.3.0.013 | EnergyPlus 1.3.0.015 | EnergyPlus 1.3.0.018 thru 2.2.0.023 | EnergyPlus 1.4.0.025 | EnergyPlus 2.0.0.025 | EnergyPlus 2.1.0.023 | EnergyPlus 2.2.0.008 | EnergyPlus 2.2.0.023 | EnergyPlus 3.0.0.028 | EnergyPlus 3.1.0.027 thru {{ engine.config["EnergyPlusVersion"] }} | EnergyPlus 4.0.0.024 | EnergyPlus 5.0.0.031 | EnergyPlus 6.0.0.023 | EnergyPlus 7.0.0.034 | EnergyPlus 7.1.0.012 | EnergyPlus 7.2.0.006 | EnergyPlus 8.0.0.006 | EnergyPlus 8.0.0.008 | EnergyPlus 8.1.0.009 | EnergyPlus {{ engine.config["EnergyPlusVersion"] }} | Change
HE100 | 77.74 | 77.76 | 77.75 | 77.76 | HE100 | 77.74 | 77.7503 | 77.7503 | 77.7503 | 77.7503 | 77.7503 | 77.7503 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
HE110 | 77.74 | 77.76 | 77.94 | 77.76 | HE110 | 77.74 | 77.7503 | 77.7503 | 77.7503 | 77.7503 | 77.7503 | 77.7503 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 77.76 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
HE120 | 31.1 | 31.104 | 31.25 | 31.104 | HE120 | 31.1 | 31.1001 | 31.1001 | 31.1001 | 31.1001 | 31.1001 | 31.1001 | 31.104 | 31.104 | 31.1161 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 9.823e-13% | -5.715e-07% | 2.284e-14% | 0% | 0% | 0% | 6.658e-07% | 3.734e-11% | 0% | 0% | 0% | 0% | 0%
HE130 | 0 | 0 | 0 | 0 | HE130 | 0 | 3.1424e-14 | 0 | 2.6174e-14 | 2.6259e-14 | 0 | 0 | 6.9408e-07 | 6.9408e-07 | 0.012131 | 6.9408e-07 | 6.9408e-07 | 6.9408e-07 | 6.9408e-07 | 6.9408e-07 | 6.9408e-07 | 6.9408e-07 | 7.0269e-07 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.317e-05% | 1.24% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
HE140 | 31.1 | 31.104 | 31.26 | 31.104 | HE140 | 31.1 | 31.1001 | 31.1001 | 31.1001 | 31.1001 | 31.1001 | 31.1001 | 31.104 | 31.104 | 31.1161 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 31.104 | 2.17e-13% | -3.165e-08% | -5.42e-06% | 0% | 0% | 0% | 3.155e-11% | 0% | 0% | -4.112e-13% | 0% | 0% | 0%
HE150 | 29.65 | 29.5999 | 29.88 | 29.5999 | HE150 | 29.65 | 29.5824 | 29.5781 | 29.5823 | 29.5823 | 29.5853 | 29.5848 | 29.5799 | 29.5799 | 29.5916 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.6013 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 1.417e-07% | 0.07261% | -0.005002% | 0% | 0% | 0% | -2.4e-14% | 0% | 0% | 4.441e-13% | 0% | 0% | 0%
HE160 | 31.1 | 30.4913 | 31.26 | 30.4913 | HE160 | 31.1 | 30.4922 | 30.4921 | 30.497 | 30.497 | 30.4952 | 30.4901 | 30.4939 | 30.4939 | 30.5058 | 30.4939 | 30.4939 | 30.4939 | 30.4939 | 30.4939 | 30.4939 | 30.4939 | 30.4939 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | 30.4913 | -1.838e-09% | 2.908e-05% | -0.008631% | 0% | 0% | 0% | 3.142e-11% | -8.855e-13% | 0% | -1.631e-13% | 0% | 0% | 0%
HE170 | 29.65 | 29.5999 | 29.88 | 29.5999 | HE170 | 29.65 | 29.5824 | 29.5781 | 29.5823 | 29.5823 | 29.5853 | 29.5848 | 29.5799 | 29.5799 | 29.5916 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.5799 | 29.6013 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 29.5999 | 1.417e-07% | 0.07261% | -0.005002% | 0% | 0% | 0% | -2.4e-14% | 0% | 0% | 4.441e-13% | 0% | 0% | 0%
HE210 |  | 42.0456 | 41.36 | 42.0456 | HE210 |  | 42.0449 | 42.0449 | 42.0522 | 42.0522 | 42.0496 | 42.043 | 42.0485 | 42.0485 | 42.0604 | 42.0485 | 42.0485 | 42.0485 | 42.0485 | 42.0485 | 42.0485 | 42.0485 | 42.0491 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | 42.0456 | -1.234e-10% | 0.00139% | -0.008336% | 0% | 0% | 0% | 1.168e-09% | 6.76e-14% | 0% | 1.69e-14% | 0% | 0% | 0%
HE220 |  | 39.8259 | 39.41 | 39.8259 | HE220 |  | 39.8191 | 39.8673 | 39.8258 | 39.8251 | 39.8223 | 39.817 | 39.8279 | 39.8279 | 39.8397 | 39.8279 | 39.8279 | 39.8279 | 39.8279 | 39.8279 | 39.8279 | 39.8279 | 39.8299 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | 39.8259 | -4.286e-07% | 0.005091% | -0.01014% | 0% | 0% | 0% | 1.784e-14% | -4.911e-05% | 0% | 8.921e-13% | 0% | 0% | 0%
HE230 |  | 34.4954 | 34.32 | 34.4954 | HE230 |  | 34.3411 | 34.5924 | 34.3471 | 34.3453 | 34.3449 | 34.3409 | 34.2672 | 34.2672 | 34.2735 | 34.2672 | 34.2672 | 34.2672 | 34.2672 | 34.2672 | 34.2672 | 34.2672 | 34.4954 | 34.4952 | 34.4952 | 34.4952 | 34.4952 | 34.4952 | 34.4954 | 34.4954 | 34.4954 | 34.4954 | 34.4954 | 34.4954 | -3.217e-07% | 0.6659% | -0.0006646% | 0% | 1.078e-05% | 0% | 4.12e-14% | 0.0006502% | 0% | 8.651e-13% | 0% | 0% | 0%
Rate of Fuel Consumption (m3/s) |  |  |  |  | Rate of Fuel Consumption (m3/s)
| Analytical/Semi-Analytical | EnergyPlus {{ engine.config["EnergyPlusVersion"] }} | ESP-r/HOT3000 | DOE-2.1E |  | Analytical/Semi-Analytical | EnergyPlus 1.0.2.008 | EnergyPlus 1.0.3.019 | EnergyPlus 1.1.0.020 | EnergyPlus 1.1.1.012 | EnergyPlus 1.2.0.029 | EnergyPlus 1.2.1.022 | EnergyPlus 1.2.2.030 | EnergyPlus 1.2.3.031 | EnergyPlus 1.3.0.013 | EnergyPlus 1.3.0.015 | EnergyPlus 1.3.0.018 thru 2.2.0.023 | EnergyPlus 1.4.0.025 | EnergyPlus 2.0.0.025 | EnergyPlus 2.1.0.023 | EnergyPlus 2.2.0.008 | EnergyPlus 2.2.0.023 | EnergyPlus 3.0.0.028 | EnergyPlus 3.1.0.027 thru {{ engine.config["EnergyPlusVersion"] }} | EnergyPlus 4.0.0.024 | EnergyPlus 5.0.0.031 | EnergyPlus 6.0.0.023 | EnergyPlus 7.0.0.034 | EnergyPlus 7.1.0.012 | EnergyPlus 7.2.0.006 | EnergyPlus 8.0.0.006 | EnergyPlus 8.0.0.008 | EnergyPlus 8.1.0.009 | EnergyPlus {{ engine.config["EnergyPlusVersion"] }} | Change
HE100 | 0.000263 | 0.00026316 | 0.000263 | 0.000265 | HE100 | 0.000263 | 0.00026313 | 0.00026313 | 0.00026313 | 0.00026313 | 0.00026313 | 0.00026313 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0.00026316 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
HE110 | 0.000329 | 0.00032895 | 0.000328 | 0.000331 | HE110 | 0.000329 | 0.00032891 | 0.00032891 | 0.00032891 | 0.00032891 | 0.00032891 | 0.00032891 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0.00032895 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
HE120 | 0.0001295 | 0.00012954 | 0.00013 | 0.00013 | HE120 | 0.0001295 | 0.00012916 | 0.00012916 | 0.00012916 | 0.00012916 | 0.00012916 | 0.00012952 | 0.00012954 | 0.00012954 | 0.00012959 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 0.00012954 | 3.62e-12% | -5.887e-07% | 0% | 0% | 0% | 0% | 6.859e-07% | 3.856e-11% | 0% | 0% | 0% | 0% | 0%
HE130 | 0 | 0 | 0 | 4.9e-07 | HE130 | 0 | 1.899e-19 | 0 | 1.5818e-19 | 1.5869e-19 | 0 | 0 | 4.1945e-12 | 4.1945e-12 | 7.3312e-08 | 4.1945e-12 | 4.1945e-12 | 4.1945e-12 | 4.1945e-12 | 4.1945e-12 | 4.1945e-12 | 4.1945e-12 | 2.9726e-12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.317e-05% | -29.13% | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
HE140 | 0.000132 | 0.00013172 | 0.000132 | 0.000131 | HE140 | 0.000132 | 0.00013014 | 0.00013014 | 0.00013014 | 0.00013014 | 0.00013014 | 0.00013172 | 0.00013173 | 0.00013173 | 0.00013178 | 0.00013173 | 0.00013173 | 0.00013173 | 0.00013173 | 0.00013173 | 0.00013173 | 0.00013173 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 0.00013172 | 6.173e-13% | -0.009313% | -5.416e-06% | 0% | 0% | 0% | 3.109e-11% | 0% | 0% | -1.44e-12% | 0% | 0% | 0%
HE150 | 0.0001253 | 0.00012528 | 0.000126 | 0.000124 | HE150 | 0.0001253 | 0.00012374 | 0.00012372 | 0.00012374 | 0.00012374 | 0.00012375 | 0.00012523 | 0.00012521 | 0.00012521 | 0.00012526 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 1.322e-07% | 0.06042% | -0.004883% | 0% | 0% | 0% | -4.327e-14% | 0% | 0% | 9.953e-13% | 0% | 0% | 0%
HE160 | 0.0001289 | 0.00012905 | 0.000129 | 0.000128 | HE160 | 0.0001289 | 0.00012755 | 0.00012755 | 0.00012757 | 0.00012757 | 0.00012756 | 0.00012906 | 0.00012907 | 0.00012907 | 0.00012912 | 0.00012907 | 0.00012907 | 0.00012907 | 0.00012907 | 0.00012907 | 0.00012907 | 0.00012907 | 0.00012906 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | 0.00012905 | -2.045e-09% | -0.009859% | -0.008616% | 0% | 0% | 0% | 3.096e-11% | -2.1e-13% | 0% | -5.881e-13% | 0% | 0% | 0%
HE170 | 0.0001253 | 0.00012528 | 0.000126 | 0.000124 | HE170 | 0.0001253 | 0.00012374 | 0.00012372 | 0.00012374 | 0.00012374 | 0.00012375 | 0.00012523 | 0.00012521 | 0.00012521 | 0.00012526 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012521 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 0.00012528 | 1.322e-07% | 0.06042% | -0.004883% | 0% | 0% | 0% | -4.327e-14% | 0% | 0% | 9.953e-13% | 0% | 0% | 0%
HE210 |  | 0.00017762 | 0.000171 | 0.000177 | HE210 |  | 0.0001757 | 0.0001757 | 0.00017573 | 0.00017573 | 0.00017572 | 0.0001776 | 0.00017763 | 0.00017763 | 0.00017768 | 0.00017763 | 0.00017763 | 0.00017763 | 0.00017763 | 0.00017763 | 0.00017763 | 0.00017763 | 0.00017763 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | 0.00017762 | -1.355e-10% | 0.0009999% | -0.008506% | 0% | 0% | 0% | 1.171e-09% | -3.052e-14% | 0% | 1.373e-13% | 0% | 0% | 0%
HE220 |  | 0.00016795 | 0.000162 | 0.000167 | HE220 |  | 0.00016635 | 0.00016656 | 0.00016638 | 0.00016638 | 0.00016636 | 0.00016795 | 0.000168 | 0.000168 | 0.00016805 | 0.000168 | 0.000168 | 0.000168 | 0.000168 | 0.000168 | 0.000168 | 0.000168 | 0.00016797 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | 0.00016795 | -4.455e-07% | -0.01719% | -0.01033% | 0% | 0% | 0% | 3.228e-14% | -5.681e-05% | 0% | 5.971e-13% | 0% | 0% | 0%
HE230 |  | 0.0001464 | 0.00014 | 0.000146 | HE230 |  | 0.00014291 | 0.00014397 | 0.00014294 | 0.00014293 | 0.00014293 | 0.0001438 | 0.00014533 | 0.00014533 | 0.00014536 | 0.00014533 | 0.00014533 | 0.00014533 | 0.00014533 | 0.00014533 | 0.00014533 | 0.00014533 | 0.0001464 | 0.00014639 | 0.00014639 | 0.00014639 | 0.00014639 | 0.00014639 | 0.0001464 | 0.0001464 | 0.0001464 | 0.0001464 | 0.0001464 | 0.0001464 | -2.83e-07% | 0.7298% | -0.0006742% | 0% | 1.081e-05% | 0% | 0% | 0.0006495% | 0% | 8.147e-13% | 0% | 0% | 0%
Total Fan Power (kWh) |  |  |  |  | Total Fan Power (kWh)
| Analytical/Semi-Analytical | EnergyPlus {{ engine.config["EnergyPlusVersion"] }} | ESP-r/HOT3000 | DOE-2.1E |  | Analytical/Semi-Analytical | EnergyPlus 1.0.2.008 | EnergyPlus 1.0.3.019 | EnergyPlus 1.1.0.020 | EnergyPlus 1.1.1.012 | EnergyPlus 1.2.0.029 | EnergyPlus 1.2.1.022 | EnergyPlus 1.2.2.030 | EnergyPlus 1.2.3.031 | EnergyPlus 1.3.0.013 | EnergyPlus 1.3.0.015 | EnergyPlus 1.3.0.018 thru 2.2.0.023 | EnergyPlus 1.4.0.025 | EnergyPlus 2.0.0.025 | EnergyPlus 2.1.0.023 | EnergyPlus 2.2.0.008 | EnergyPlus 2.2.0.023 | EnergyPlus 3.0.0.028 | EnergyPlus 3.1.0.027 thru {{ engine.config["EnergyPlusVersion"] }} | EnergyPlus 4.0.0.024 | EnergyPlus 5.0.0.031 | EnergyPlus 6.0.0.023 | EnergyPlus 7.0.0.034 | EnergyPlus 7.1.0.012 | EnergyPlus 7.2.0.006 | EnergyPlus 8.0.0.006 | EnergyPlus 8.0.0.008 | EnergyPlus 8.1.0.009 | EnergyPlus {{ engine.config["EnergyPlusVersion"] }} | Change
HE150 | 432 | 432 | 432 | 432 | HE150 | 432 | 431.9756 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 432 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
HE160 | 172.76 | 170.3571 | 170.2 | 170.3571 | HE160 | 172.76 | 169.3551 | 169.3641 | 167.5343 | 167.5343 | 167.5244 | 169.49 | 169.5087 | 169.5087 | 169.5756 | 169.5087 | 169.5087 | 169.5087 | 169.5087 | 169.5087 | 169.5087 | 169.5087 | 169.492 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | 170.3571 | -2.046e-09% | -0.009859% | 0.5078% | 0% | 0% | 0% | 3.128e-11% | 0% | 0% | -2.836e-13% | 0% | 0% | 0%
HE170 | 473.18 | 473.1306 | 473.4 | 473.1306 | HE170 | 473.18 | 472.6026 | 472.6203 | 472.6269 | 472.6269 | 472.6309 | 473.1154 | 473.1078 | 473.1078 | 473.1243 | 473.1078 | 473.1078 | 473.1078 | 473.1078 | 473.1078 | 473.1078 | 473.1078 | 473.1326 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 473.1306 | 1.148e-08% | 0.00525% | -0.0004245% | 0% | 0% | 0% | -1.201e-14% | 0% | 0% | 1.562e-13% | 0% | 0% | 0%
HE210 |  | 292.7469 | 281.6 | 292.7469 | HE210 |  | 291.2007 | 291.2135 | 288.4801 | 288.4801 | 288.462 | 291.5553 | 291.5948 | 291.5948 | 291.68 | 291.5948 | 291.5948 | 291.5948 | 291.5948 | 291.5948 | 291.5948 | 291.5948 | 291.5977 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | 292.7469 | -1.354e-10% | 0.0009999% | 0.3926% | 0% | 0% | 0% | 1.165e-09% | 3.883e-14% | 0% | 1.748e-13% | 0% | 0% | 0%
HE220 |  | 277.0665 | 268.3 | 277.0665 | HE220 |  | 275.7664 | 276.1158 | 273.1243 | 273.1231 | 273.1036 | 275.7011 | 275.7851 | 275.7851 | 275.8689 | 275.7851 | 275.7851 | 275.7852 | 275.7852 | 275.7852 | 275.7852 | 275.7852 | 275.7377 | 277.0666 | 277.0666 | 277.0666 | 277.0666 | 277.0666 | 277.0665 | 277.0665 | 277.0665 | 277.0665 | 277.0665 | 277.0665 | -4.455e-07% | -0.01719% | 0.4796% | 0% | 0% | 0% | 2.052e-14% | -5.29e-05% | 0% | 5.745e-13% | 0% | 0% | 0%
HE230 |  | 480.7315 | 458.3 | 480.7315 | HE230 |  | 428.3354 | 431.4983 | 422.368 | 422.3478 | 422.3419 | 424.9071 | 477.1626 | 477.1626 | 477.2487 | 477.1626 | 477.1626 | 477.1626 | 477.1626 | 477.1626 | 477.1626 | 477.1626 | 480.645 | 480.7284 | 480.7284 | 480.7284 | 480.7284 | 480.7284 | 480.7315 | 480.7315 | 480.7315 | 480.7315 | 480.7315 | 480.7315 | -2.83e-07% | 0.7298% | 0.01735% | 0% | 1.09e-05% | 0% | -4.73e-14% | 0.0006456% | 0% | 7.095e-13% | 0% | 0% | 0%